## ABB
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
National Instruments多个产品cwui.ocx ActiveX控件路径遍历漏洞 | CVE-2013-5021 | ABB | National Instruments Corporation LabVIEW ; National Instruments Corporation LabWindows/CVI ; National Instruments Corporation National | Other | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2013-5021
Bash Command Injection Vulnerability (Supplement) | CVE-2014-6271 | ABB | ABB Tropos 3000, 4000, 6000, & 7000 series routers ¦ Indirectly affected: Ventyx NM EMS/SCADA on RHEL ¦ Ventyx. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-6271
ABB DataManagerPro Credential Management Vulnerability | CVE-2016-4526 | ABB | ABB versions of DataManagerPro: DataManagerPro ¦ all versions: 1.0.0 to 1.7.0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-4526
Abbott Laboratories' Accent/Anthem, Accent MRI, Assurity/Allure, and Assurity MRI Pacemaker Vulnerabilities | CVE-2017-12716 | ABB | The following pacemakers manufactured prior to August 28, 2017, are affected:Accent/Anthem ¦ Accent MRI ¦ Assurity ¦ Allure and Assurity MRI. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-12716
ABB Ellipse | CVE-2017-16731 | ABB | ABB reports that the vulnerability affects Ellipse 8.3 through Ellipse 8.9 released prior to December 2017 (including Ellipse Select). | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-16731
Hitachi ABB Power Grids FOX615 Multiservice-Multiplexer | CVE-2018-10933 | ABB | Hitachi ABB Power Grids reports a vulnerability exists in the libssh library included in the following products: FOX61x R1 using CESM1/CESM2: All versions prior to cesne_r1h07_12.esw FOX61x R2 using CESM1/CESM2: All versions prior to cesne_r2d14_03.esw. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-10933
ABB eSOMS (Update A) | CVE-2018-14805 | ABB | The following version of ABB eSOMS - electronic shift operations management system is affected: eSOMS Version 6.0.2. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-14805
ABB M2M ETHERNET | CVE-2018-17926 | ABB | The following versions of M2M ETHERNET - network analyzer are affected: M2M ETHERNET: FW Versions 2.22 and prior ¦ ETH-FW Versions 1.01 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-17926
ABB CMS-770 | CVE-2018-17928 | ABB | The following versions of CMS-770 from ABB and Busch-Jaeger brands are affected: CMS-770: Software Versions 1.7.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-17928
ABB GATE-E2 | CVE-2018-18997 | ABB | The following versions of the Gateway Ethernet devices used in Pluto Safety PLC systems are affected: GATE-E1 (EOL 2013) andGATE-E2 (EOL OCT 2018). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-18997
ABB Relion 630拒绝服务漏洞 | CVE-2018-20720 | ABB | ABB Relion 630 1.1，<1.1.0.C0; ABB Relion 630 1.2，<1.2.0.B3; ABB Relion 630 1.3，<1.3.0.A6 | DoS | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-20720
ABB CP651 HMI | CVE-2019-10995 | ABB | ABB CP651 HMI products affected: CP651, order code: 1SAP551100R0001, revision index B1 with BSP UN30 v1.76 and prior CP651-WEB, order code: 1SAP551200R0001, revision index A0 with BSP UN30 v1.76 and prior CP661, order code: 1SAP561100R0001, revision index B1 with BSP UN30 v1.76 and prior CP661-WEB, order code: 1SAP561200R0001, revision index A0 with BSP UN30 v1.76 and prior CP665, order code: 1SAP565100R0001, revision index B1 with BSP UN30 v1.76 and prior CP665-WEB, order code: 1SAP565200R0001, | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-10995
ABB Relion 650 and 670 Series | CVE-2019-18247 | ABB | Relion 650 series versions 1.3.0.5 and prior Relion 670 series versions 1.2.3.18 and prior Relion 670 series versions 2.0.0.11 and prior Relion 670 series versions 2.1.0.1 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18247
ABB Power Generation Information Manager (PGIM) and Plant Connect | CVE-2019-18250 | ABB | Power Generation Information Manager (PGIM): All versions Plant Connect: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18250
ABB Relion 670 Series | CVE-2019-18253 | ABB | Relion 670 series versions 1p1r26 and prior Relion 670 series versions 1.2.3.17 and prior Relion 670 series versions 2.0.0.10 and prior (RES670 2.0.0.4 and prior) Relion 670 series versions 2.1.0.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18253
Hitachi ABB Power Grids eSOMS Telerik | CVE-2019-18935 | ABB | Hitachi ABB Power Grids reports the vulnerabilities affect the following eSOMS products: eSOMS; all versions prior to 6.3 using a version of Telerik software. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18935
ABB Asset Suite | CVE-2019-18998 | ABB | The following versions of Asset Suite are affected: Asset Suite Versions 9.6 and prior; excluding 9.4.2.6 and 9.5.3.2. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18998
ABB eSOMS | CVE-2019-19092 | ABB | The following versions of eSOMS are affected: eSOMS 6.02 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-19092
ABB IRC5信任管理问题漏洞 | CVE-2020-10287 | ABB | ABB IRC5 | Authorization Issue | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10287
ABB IRC5 FTP server访问控制错误漏洞 | CVE-2020-10288 | ABB | ABB IRC5 | Authorization Issue | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10288
vBulletin PHP Module Remote Code Execution Vulnerability | CVE-2020-17496 | ABB | vBulletin - vBulletin |  | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-17496
Hitachi ABB Power Grids TropOS | CVE-2020-26142 | ABB | Hitachi ABB Power Grids reports these vulnerabilities affect the following products: TropOS: Firmware Version 8.9.4.8 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-26142
ABB System 800xA Base | CVE-2020-8474 | ABB | The following versions of System 800xA Base are affected: System 800xA Base: Versions 6.0 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8474
ABB System 800xA Information Manager | CVE-2020-8477 | ABB | The following versions of System 800xA Information Manager are affected: Versions prior to 5.1 Rev E/5.1 FP4 Rev E TC6 Versions prior to 6.0.3.3 RU1 Versions prior to 6.1 RU1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8477
ABB Device Library Wizard | CVE-2020-8482 | ABB | The following products of Device Library Wizard are affected: Device Library Wizard: Versions 6.0.X; 6.0.3.1; and 6.0.3.2. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8482
Hitachi ABB Power Grids AFS Series | CVE-2020-9307 | ABB | Hitachi ABB Power Grids reports the vulnerability affects the following products in the AFS Series: AFS660/AFS665 Version 7.0.07; including the following variants: AFS660-SR AFS665-SR. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2020-9307
ABB SPIET800 and PNI800 | CVE-2021-22286 | ABB | The following versions of Symphony Plus network interface modules are affected:SPIET800: Firmware Version A_B or prior PNI800: Firmware Version A_B or prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22286
Hitachi ABB Power Grids eSOMS | CVE-2021-26845 | ABB | Hitachi ABB Power Grids reports this vulnerability affects the following eSOMS products: eSOMS Version 6.0 prior to 6.0.4.2.2 eSOMS Version 6.1 prior to 6.1.4 eSOMS versions prior to 6.3. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-26845
Hitachi ABB Power Grids Ellipse EAM | CVE-2021-27414 | ABB | Hitachi ABB Power Grids reports these vulnerabilities affect the following Ellipse Enterprise Asset Management (EAM) products: Ellipse EAM versions prior to and including 9.0.25. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-27414
Hitachi ABB Power Grids Ellipse APM | CVE-2021-27887 | ABB | Hitachi ABB Power Grids reports the vulnerability affects the following Ellipse APM products: Ellipse APM Versions 5.3.0.1 and earlier Ellipse APM Versions 5.2.0.3 and earlier Ellipse APM Versions 5.1.0.6 and earlier. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-27887
Hitachi ABB Power Grids System Data Manager | CVE-2021-35526 | ABB | The following versions of System Data Manager are affected: SDM600: All versions prior to 1.2 FP2 HF6 (Build Nr. 1.2.14002.257). | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-35526
Hitachi ABB Power Grids Retail Operations and CSB Products | CVE-2021-35529 | ABB | Hitachi ABB Power Grids reports this vulnerability affects the following utility usage and billing software products: Retail Operations: All Versions 5.7.2 and prior Counterparty Settlement and Billing (CSB): All Versions 5.7.2 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-35529
ABB Pulsar Plus Controller | CVE-2022-1607 | ABB | The following versions of ABB Pulsar Plus Controller, are affected: ABB Infinity DC Power Plant - H5692448 G104 G842 G224L G630-4 G451C(2) G461(2) - comcode 150047415 ABB Pulsar Plus System Controller - NE843_S - comcode 150042936. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-1607
Zabbix Frontend Authentication Bypass Vulnerability | CVE-2022-23131 | ABB | Zabbix - Frontend |  | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-23131
ABB RMC-100 | CVE-2022-24999 | ABB | ABB reports that the following products are affected when the REST interface is enabled: RMC-100: Versions 2105457-036 to 2105457-044 RMC-100 LITE: Versions 2106229-010 to 2106229-016. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-24999
Improper Authentication vulnerability in ABB Symphony Plus S+ Operations.This issue affects Symphony Plus S+ Operations: from 2.X through 2.1 SP2, 2.2, from 3.X through 3.3 SP1, 3.3 SP2. | CVE-2023-0228 | ABB | symphony_plus_s\+_operations | 身份认证/权限类漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-0228
Insecure Storage of Sensitive Information vulnerability in ABB My Control System (on-premise) allows an attacker who successfully exploited this vulnerability to gain access to the secure application | CVE-2023-0580 | ABB | my_control_system | 身份认证/权限类漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-0580
JavaScript pre-processing can be used by the attacker to gain access to the file system (read-only access on behalf of user "zabbix") on the Zabbix Server or Zabbix Proxy, potentially leading to unaut | CVE-2023-29450 | ABB | zabbix | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29450
Specially crafted string can cause a buffer overrun in the JSON parser library leading to a crash of the Zabbix Server or a Zabbix Proxy. | CVE-2023-29451 | ABB | zabbix | 其他 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29451
Templates do not properly consider backticks (`) as Javascript string delimiters, and do not escape them as expected. Backticks are used, since ES6, for JS template literals. If a template contains a | CVE-2023-29453 | ABB | zabbix-agent2 | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29453
Duktape is an 3rd-party embeddable JavaScript engine, with a focus on portability and compact footprint. When adding too many values in valstack JavaScript will crash. This issue occurs due to bug in | CVE-2023-29458 | ABB | zabbix | 其他 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29458
Memory pointer is in a property of the Ducktape object. This leads to multiple vulnerabilities related to direct memory access and manipulation. | CVE-2023-32724 | ABB | zabbix | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32724
The vulnerability is caused by improper check for check if RDLENGTH does not overflow the buffer in response from DNS server. | CVE-2023-32726 | ABB | zabbix-agent | 其他 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32726
An attacker who has the privilege to configure Zabbix items can use function icmpping() with additional malicious command inside it to execute arbitrary code on the current Zabbix server. | CVE-2023-32727 | ABB | zabbix_server | 其他 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32727
User enumeration is found in in PHP Jabbers Time Slots Booking Calendar v3.3. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the use | CVE-2023-33562 | ABB | time_slots_booking_calendar | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-33562
In PHP Jabbers Time Slots Booking Calendar 3.3 , lack of verification when changing an email address and/or password (on the Profile Page) allows remote attackers to take over accounts. | CVE-2023-33563 | ABB | time_slots_booking_calendar | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-33563
An issue was discovered in the C AMQP client library (aka rabbitmq-c) through 0.13.0 for RabbitMQ. Credentials can only be entered on the command line (e.g., for amqp-publish or amqp-consume) and are | CVE-2023-35789 | ABB | rabbitmq-c | 身份认证/权限类漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-35789
User enumeration is found in in PHPJabbers Appointment Scheduler 3.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is val | CVE-2023-36127 | ABB | appointment_scheduler | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36127
PHPJabbers Availability Booking Calendar 5.0 is vulnerable to Incorrect Access Control due to improper input validation of password parameter. | CVE-2023-36131 | ABB | availability_booking_calendar | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36131
PHPJabbers Availability Booking Calendar 5.0 is vulnerable to User Account Takeover through username/password change. | CVE-2023-36133 | ABB | availability_booking_calendar | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36133
In PHP Jabbers Class Scheduling System 1.0, lack of verification when changing an email address and/or password (on the Profile Page) allows remote attackers to take over accounts. | CVE-2023-36134 | ABB | class_scheduling_system | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36134
User enumeration is found in in PHPJabbers Class Scheduling System v1.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is | CVE-2023-36135 | ABB | class_scheduling_system | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36135
In PHPJabbers Cleaning Business Software 1.0, lack of verification when changing an email address and/or password (on the Profile Page) allows remote attackers to take over accounts. | CVE-2023-36139 | ABB | cleaning_business_software | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36139
In PHPJabbers Cleaning Business Software 1.0, there is no encryption on user passwords allowing an attacker to gain access to all user accounts. | CVE-2023-36140 | ABB | cleaning_business_software | 身份认证/权限类漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36140
User enumeration is found in in PHPJabbers Cleaning Business Software 1.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user i | CVE-2023-36141 | ABB | cleaning_business_software | 工业协议漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36141
An information leak in PHPJabbers Yacht Listing Script v1.0 allows attackers to export clients' credit card numbers from the Reservations module. | CVE-2023-38830 | ABB | yacht_listing_script | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-38830
In PHPJabbers Car Rental Script 3.0, lack of verification when changing an email address and/or password (on the Profile Page) allows remote attackers to take over accounts. | CVE-2023-40754 | ABB | car_rental_script | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40754
User enumeration is found in PHPJabbers Callback Widget v1.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid or no | CVE-2023-40756 | ABB | callback_widget | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40756
User enumeration is found in PHPJabbers Food Delivery Script v3.1. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid | CVE-2023-40757 | ABB | food_delivery_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40757
User enumeration is found in PHPJabbers Document Creator v1.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid or n | CVE-2023-40758 | ABB | document_creator | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40758
User enumeration is found in PHP Jabbers Restaurant Booking Script v3.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is | CVE-2023-40759 | ABB | restaurant_booking_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40759
User enumeration is found in PHP Jabbers Hotel Booking System v4.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid | CVE-2023-40760 | ABB | hotel_booking_system | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40760
User enumeration is found in PHPJabbers Yacht Listing Script v2.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid | CVE-2023-40761 | ABB | yacht_listing_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40761
User enumeration is found in PHPJabbers Fundraising Script v1.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid or | CVE-2023-40762 | ABB | fundraising_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40762
User enumeration is found in PHPJabbers Taxi Booking Script v2.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid o | CVE-2023-40763 | ABB | taxi_booking_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40763
User enumeration is found in PHP Jabbers Car Rental Script v3.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is valid or | CVE-2023-40764 | ABB | car_rental_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40764
User enumeration is found in PHPJabbers Event Booking Calendar v4.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is vali | CVE-2023-40765 | ABB | event_booking_calendar | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40765
User enumeration is found in in PHPJabbers Ticket Support Script v3.2. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is va | CVE-2023-40766 | ABB | ticket_support_script | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40766
User enumeration is found in in PHPJabbers Make an Offer Widget v1.0. This issue occurs during password recovery, where a difference in messages could allow an attacker to determine if the user is val | CVE-2023-40767 | ABB | make_an_offer_widget | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40767
ABB B&R PCs | CVE-2023-45229 | ABB | APC4100 <1.09, APC910 <=1.25, C80 <1.14, MPC3100 <1.24, PPC1200 <1.14, PPC900 <2.16, APC2200 <1.35, PPC2200 <1.35, APC3100 <1.45, PPC3100 <1.45 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-45229
Availability Booking Calendar 5.0 allows CSV injection via the unique ID field in the Reservations list component. | CVE-2023-48207 | ABB | availability_booking_calendar | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48207
Time Slots Booking Calendar 4.0 is vulnerable to CSV Injection via the unique ID field of the Reservations List. | CVE-2023-48826 | ABB | time_slots_booking_calendar | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48826
Shuttle Booking Software 2.0 is vulnerable to CSV Injection in the Languages section via an export. | CVE-2023-48830 | ABB | shuttle_booking_software | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48830
A lack of rate limiting in pjActionAJaxSend in Availability Booking Calendar 5.0 allows attackers to cause resource exhaustion. | CVE-2023-48831 | ABB | availability_booking_calendar | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48831
A lack of rate limiting in pjActionAJaxSend in Time Slots Booking Calendar 4.0 allows attackers to cause resource exhaustion. | CVE-2023-48833 | ABB | time_slots_booking_calendar | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48833
A lack of rate limiting in pjActionAjaxSend in Car Rental v3.0 allows attackers to cause resource exhaustion. | CVE-2023-48834 | ABB | car_rental_script | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48834
Car Rental Script v3.0 is vulnerable to CSV Injection via a Language > Labels > Export action. | CVE-2023-48835 | ABB | car_rental_script | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48835
A lack of rate limiting in pjActionAjaxSend in Appointment Scheduler 3.0 allows attackers to cause resource exhaustion. | CVE-2023-48840 | ABB | appointment_scheduler | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48840
Appointment Scheduler 3.0 is vulnerable to CSV Injection via a Language > Labels > Export action. | CVE-2023-48841 | ABB | appointment_scheduler | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48841
ABB B&R Automation Studio | CVE-2023-7104 | ABB | B&R Automation Studio <6.5 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-7104
ABB ASPECT-Enterprise, NEXUS, and MATRIX Series Products | CVE-2024-11316 | ABB | ABB reports the following products are affected: ABB NEXUS Series: NEXUS-3-x <=3.08.02 (CVE-2024-6515, CVE-2024-6516, CVE-2024-6784, CVE-2024-48843, CVE-2024-48844, CVE-2024-48846, CVE-2024-48839, CVE-2024-48840, CVE-2024-51541, CVE-2024-51542, CVE-2024-51543, CVE-2024-51544, CVE-2024-51545, CVE-2024-51546, CVE-2024-51548, CVE-2024-51549, CVE-2024-51550, CVE-2024-51554, CVE-2024-11316, CVE-2024-11317) ABB NEXUS Series: NEX-2x <=3.07.02 (CVE-2024-48845, CVE-2024-51551, CVE-2024-51555) ABB NEXUS S | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-11316
ABB 800xA Base (Update A) | CVE-2024-3036 | ABB | 800xA Base <=6.1.1-2 , 6.1.1-3 , 6.2.0-0, 6.0.3-10, <=6.0.3-9 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-3036
ABB Automation Builder Gateway for Windows | CVE-2024-41975 | ABB | ABB Automation Builder <2.9.0 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-41975
ABB FLXEON Controllers | CVE-2024-48841 | ABB | ABB reports that the following products are affected: FLXEON Controllers FBXi: Version 9.3.4 and prior, FLXEON Controllers FBVi: Version 9.3.4 and prior, FLXEON Controllers FBTi: Version 9.3.4 and prior, FLXEON Controllers CBXi: Version 9.3.4 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-48841
ABB Terra AC Wallbox | CVE-2025-10504 | ABB | ABB Terra AC wallbox (JP) <=1.8.33 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-10504
ABB Edgenius Management Portal | CVE-2025-10571 | ABB | ABB Edgenius Management Portal: 3.2.0.0¦3.2.1.1 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-10571
ABB B&R Automation Runtime | CVE-2025-11044 | ABB | Automation Runtime <6.5, ABB Automation Runtime <R4.93 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-11044
ABB AC500 V3 Stack buffer overflow in Cryptographic Message Syntax | CVE-2025-15467 | ABB | ABB AC500 V3 PM5xxx Firmware Version 3.9.0 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-15467
ABB B&R Automation Runtime DoS Vulnerability in System Diagnostics Manager | CVE-2025-3450 | ABB | Automation Runtime <6.3, Automation Runtime <Q4.93 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-3450
ABB CoreSense HM and CoreSense M10 | CVE-2025-3465 | ABB | CoreSense HM <=2.3.1, 2.3.4 ¦ CoreSense M10 <=1.4.1.12, 1.4.1.31 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-3465
ABB System 800xA, Symphony Plus IEC 61850 | CVE-2025-3756 | ABB | AC800M Product line (System 800xA) CI868 Symphony Plus SD Series CI850 Symphony Plus MR (Melody Rack) PM 877 S+ Operations Firmware <=6.0.0303.0, <=6.1.0031.0 , <=6.1.1004.0 , <=6.1.1202.0 , <=6.2.0006.0 , 6.1.1-3, 7.0, A_0, A_1, A_2.003, A_3.005, A_4.001, B_0.005, C_0, >=3.10¦<=3.52, 3.53, 3.3, 2.3, 2.2, 2.1, 3.4 () | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-3756
ABB AC500 V3 Multiple Vulnerabilities | CVE-2025-41691 | ABB | ABB AC500 V3 <3.9.0 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-41691
ABB Cylon Aspect BMS/BAS | CVE-2025-53187 | ABB | ABB reports that the following products are affected: ABB ASPECT-Enterprise ASP-ENT-x: Versions prior to 3.08.04-s01 ABB NEXUS Series NEX-2x: Versions prior to 3.08.04-s01 ABB NEXUS Series NEXUS-3-x: Versions prior to 3.08.04-s01 ABB MATRIX Series MAT-x: Versions prior to 3.08.04-s01. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-53187
ABB Terra AC | CVE-2025-5517 | ABB | Terra AC wallbox (UL40/80A) <=1.8.32, 1.8.33 ¦ Terra AC wallbox (UL32A) <=1.8.2, 1.8.34 ¦ Terra AC wallbox (MID/ CE) <=1.8.32, 1.8.34 ¦ Terra AC wallbox (JP) <=1.8.2, 1.8.34 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-5517
ABB RMC-100 (Update A) | CVE-2025-6074 | ABB | RMC-100 Version (>=2105457-043¦<=2105457-045) , RMC-100 LITE Version (>=2106229-015¦<=2106229-016) | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-6074
ABB Freelance Security Lock | CVE-2025-7064 | ABB | ABB System Version (<=Freelance 2013) installed with ABB Freelance Security Lock(All versions) ¦ ABB System Version (Freelance 2013 SP1) installed with ABB Freelance Security Lock(All versions) ¦ ABB System Version (Freelance 2016) installed with ABB Freelance Security Lock(All versions) ¦ ABB System Version (Freelance 2016 SP1) installed with ABB Freelance Security Lock(All versions) ¦ ABB System Version (Freelance 2019) installed with ABB Freelance Security Lock(All versions) ¦ ABB System Vers | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-7064
ABB AC500 V2 | CVE-2025-7745 | ABB | AC500 V2 <=2.5.2, 2.5.3 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-7745
ABB LVS MConfig | CVE-2025-9970 | ABB | MConfig Version <=1.4.9.21 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-9970
ABB B&R PVI | CVE-2026-0936 | ABB | PVI <6.5.0 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2026-0936
ABB Robot Communications Runtime Buffer Overflow | CVE-2012-0245 | ABB | ABB Interlink Module: Versions 4.6 through 4.9 IRC5 OPC Server: Versions up to and including 5.14.01PC SDK: Versions up to and including 5.14.01 PickMaster 3: Versions up to and including 3.3 PickMaster 5: Versions up to and including 5.13 Robot Communications Runtime: Versions up to and including 5.14.01 RobotStudio: Versions supporting IRC5 up to and including 5.14.01 RobView 5: Works together with other products listed here. WebWare SDK: Versions 4.6 through 4.9 WebWare Server: Versions 4.6 t | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2012-0245
ABB Multiple Components Buffer Overflow (UPDATE) | CVE-2012-1801 | ABB | WebWare Server: All versions of Data Collector and Interlink WebWare SDK: All versionsABB Interlink Module: All versionsS4 OPC Server: All versions QuickTeach: All versionsRobotStudio S4: All versionsRobotStudio Lite: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2012-1801
ABB RobotStudio and Test Signal Viewer DLL Hijack Vulnerability | CVE-2014-5430 | ABB | RobotStudio Version 5.60 up to and including 5.61.01.01, and Test Signal Viewer Version 1.5. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-5430
ABB Panel Builder 800 DLL Hijacking Vulnerability (Update A) | CVE-2016-2281 | ABB | ABB product affected: Panel Builder 800 Version 5.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-2281
ABB PCM600 Vulnerabilities | CVE-2016-4524 | ABB | ABB affected products: PCM600 up to and including Version 2.6. | 工控系统漏洞 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2016-4524
ABB Panel Builder 800 | CVE-2018-10616 | ABB | The following versions of Panel Builder 800 - engineering tool for the process panels included in the product suite Panel 800 are affected: Panel Builder 800 ¦ all versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-10616
ABB CP400 Panel Builder TextEditor 2.0 | CVE-2018-19008 | ABB | ABB CP400PB - Panel Builder for CP405 and CP408 versions affected: Versions 2.0.7.05 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-19008
ABB PB610 Panel Builder 600 HMIStudio组件输入验证错误漏洞 | CVE-2019-18994 | ABB | ABB CP635 HMI ; ABB PB610 Panel Builder 600 <=2.8.0.424; ABB CP651 ; ABB CP661 ; ABB CP665 ; ABB CP676 ; ABB CP651-WEB ; ABB CP661-WEB ; ABB CP665-WEB ; ABB CP676-WEB | DoS | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18994
ABB PB610 Panel Builder 600 PB610 HMISimulator组件拒绝服务漏洞 | CVE-2019-18995 | ABB | ABB PB610 Panel Builder 600 | DoS | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18995
ABB PB610 Panel Builder 600 PB610 HMIStudio DLL解析漏洞 | CVE-2019-18996 | ABB | ABB PB610 Panel Builder 600 | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18996
ABB PB610 Panel Builder 600 PB610 HMISimulator未授权访问漏洞 | CVE-2019-18997 | ABB | ABB PB610 Panel Builder 600 <=2.8.0.424 | Authorization Issue | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18997
ABB MicroSCADA Pro SYS600访问控制错误漏洞 | CVE-2019-5620 | ABB | ABB MicroSCADA Pro SYS600 9.3 | Authorization Issue | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-5620
ABB PB610 Panel Builder 600 | CVE-2019-7225 | ABB | PB610 Panel Builder 600 - engineering tool for designing HMI applications and the runtime for control panels - used for the operations of automation systems affected: PB610 Panel Builder 600 - order code: 1SAP500900R0101, Versions 1.91 "Â¦ 2.8.0.367 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-7225
ABB HMI Missing认证绕过漏洞 | CVE-2019-7229 | ABB | ABB CP635 HMI | Authentication Bypass | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-7229
ABB System 800xA | CVE-2020-8473 | ABB | The following products of System 800xA are affected: OPC Server for AC 800M: Versions 6.0 and prior Control Builder M Professional: Versions 6.1 and prior MMS Server for AC 800M: Versions 6.1 and prior Base Software for SoftControl: Versions 6.1 and prior ABB System 800xA Base: Versions 6.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8473
ABB Multiple System 800xA Products | CVE-2020-8478 | ABB | The following products of System 800xA are affected: OPC Server for AC 800M: all versions MMS Server for AC 800M: all versions Base Software for SoftControl: all versions ABB System 800xA Base: all versions 800xA for DCI: all versions 800xA for MOD 300: all versions 800xA RNRP: all versions 800xA Batch Management: all versions 800xA Information Management: all versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8478
ABB Central Licensing System | CVE-2020-8481 | ABB | The following ABB CLS products and versions are affected: ABB Ability System 800xA and related system extensions: Versions 5.1; 6.0; 6.1 Compact HMI: Versions 5.1; 6.0 Control Builder Safe: Versions 1.0; 1.1; 2.0 ABB Ability Symphony Plus - S+ Operations: Versions 3.0 to 3.2 ABB Ability Symphony Plus - S+ Engineering: Versions 1.1 to 2.2 Composer Harmony: Versions 5.1; 6.0; 6.1 Composer Melody (incl. SPE for Melody 1.0 SPx): Versions 5.3; 6.1; 6.2; 6.3 Harmony OPC Server (HAOPC): Standalone Vers | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8481
ABB OPC Server for AC 800M | CVE-2021-22284 | ABB | The following versions of OPC Server, a run-time data reader, are affected: 800xA, Control Software for AC 800M: OPC Server for AC 800M: Versions 5.1.0-x, 5.1.1-x, 6.0.0-1 to 6.0.0-3 Control Builder Safe, 1.x and 2.0 including: OPC Server for AC 800M: Versions 5.1.1-1 and 6.0.0-1 Compact Product Suite - Control and I/O: OPC Server for AC 800M: Versions 5.1.0-x, 5.1.1-x, 6.0.0-x. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22284
Insertion of Sensitive Information into Log File vulnerability in ABB QCS 800xA, ABB QCS AC450, ABB Platform Engineering Tools. An attacker, who already has local access to the QCS nodes, could succ | CVE-2022-0010 | ABB | platform_engineering_tools | 身份认证/权限类漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-0010
ABB e-Design | CVE-2022-28702 | ABB | The following versions of e-Design engineering software are affected: e-Design: All versions prior to 1.12.2.0006. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-28702
ABB Drive Composer, Automation Builder, Mint Workbench | CVE-2022-31216 | ABB | The following ABB products are affected: ABB Drive Composer Entry: Versions 2.0 to 2.7 ABB Drive Composer Pro: Versions 2.0 to 2.7 ABB Automation Builder: Versions 1.1.0 to 2.5.0 Mint Workbench: Builds 5866 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-31216
ABB Low Voltage DC Drives and Power Controllers CODESYS RTS | CVE-2022-4046 | ABB | ABB reports that the following low-voltage DC drive and power controller products contain a vulnerable version of the CODESYS Runtime: DCT880 memory unit incl. ABB Drive Application Builder license (IEC 61131-3): All versions DCT880 memory unit incl. Power Optimizer: All versions DCS880 memory unit incl. ABB Drive Application Builder license (IEC 61131-3): All versions DCS880 memory unit incl. DEMag: All versions DCS880 memory unit incl. DCC: All versions. | DCS | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-4046
Use of Default Password vulnerability in ABB RCCMD on Windows, Linux, MacOS allows Try Common or Default Usernames and Passwords.This issue affects RCCMD: before 4.40 230207. | CVE-2022-4126 | ABB | rccmd | 身份认证/权限类漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-4126
A vulnerability was found in AO-OPC server versions mentioned above. As the directory information for the service entry is not enclosed in quotation marks, potential attackers could possibly call up a | CVE-2023-2685 | ABB | ao-opc | 工业协议漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-2685
The zabbix/src/libs/zbxjson module is vulnerable to a buffer overflow when parsing JSON files via zbx_json_open. | CVE-2023-32722 | ABB | zabbix | 上位机组态软件漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32722
A vulnerability exists by allowing low-privileged users to read and update the data in various directories used by the Zenon system. An attacker could exploit the vulnerability by using specially craf | CVE-2023-3321 | ABB | zenon | 其他 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-3321
PHPJabbers Class Scheduling System 1.0 lacks encryption on the password when editing a user account (update user page) allowing an attacker to capture all user names and passwords in clear text. | CVE-2023-36136 | ABB | class_scheduling_system | 身份认证/权限类漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36136
ABB Ability Symphony Plus Engineering | CVE-2023-39417 | ABB | ABB Ability Symphony Plus S+ Engineering 2.2, ABB Ability Symphony Plus S+ Engineering 2.3, ABB Ability Symphony Plus S+ Engineering 2.3 RU1, ABB Ability Symphony Plus S+ Engineering 2.3 RU2, ABB Ability Symphony Plus S+ Engineering 2.3 RU3, ABB Ability Symphony Plus S+ Engineering 2.4, ABB Ability Symphony Plus S+ Engineering 2.4 SP1, ABB Ability Symphony Plus S+ Engineering 2.4 SP2 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-39417
A File Upload vulnerability in PHPJabbers Ticket Support Script v3.2 allows attackers to execute arbitrary code via uploading a crafted file. | CVE-2023-39776 | ABB | ticket_support_script | 上位机组态软件漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-39776
ABB Ability OPTIMAX | CVE-2025-14510 | ABB | ABB ABB Ability OPTIMAX 6.1: vers:all/*, ABB ABB Ability OPTIMAX 6.2: vers:all/*, ABB ABB Ability OPTIMAX 6.3: <6.3.1-251120, ABB ABB Ability OPTIMAX 6.4: <6.4.1-251120 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-14510
ABB Automation Builder (Update A) | CVE-2025-3394 | ABB | All ABB Automation Builder <= 2.8.0 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-3394
ABB WebPro SNMP Card PowerValue | CVE-2025-4675 | ABB | ABB WebPro SNMP Card PowerValue <=1.1.8.k | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-4675
ABB Ability Zenon Remote Transport Vulnerability (Update A) | CVE-2025-8754 | ABB | ABB Ability Zenon >=7.50¦<=14 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-8754
ABB Fox515T embedded Web服务器本地文件包含漏洞 | CVE-2017-15583 | ABB | ABB FOX515T 1.0 | File Inclusion | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-15583
ABB netCADOPS Web Application | CVE-2018-5477 | ABB | The following versions of netCADOPS Web Application - web interface are affected: netCADOPS Web Application Version 3.4 and prior ¦ NetCADOPS Web Application Version 7.1 and prior ¦ NetCADOPS Web Application Version 7.2x and prior ¦ netCADOPS Web Application Version 8.0 and prior and netCADOPS Web Application Version 8.1 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-5477
An issue has been discovered in GitLab CE/EE affecting all versions starting from 15.4 before 15.5.7, all versions starting from 15.6 before 15.6.4, all versions starting from 15.7 before 15.7.2. Due | CVE-2022-3573 | ABB | drive_composer; gitlab | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-3573
JavaScript preprocessing, webhooks and global scripts can cause uncontrolled CPU, memory, and disk I/O utilization. Preprocessing/webhook/global script configuration and testing are only available to | CVE-2023-29449 | ABB | zabbix | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29449
Stored or persistent cross-site scripting (XSS) is a type of XSS where the attacker first sends the payload to the web application, then the application saves the payload (e.g., in a database or serve | CVE-2023-29454 | ABB | frontend | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29454
Reflected XSS attacks, also known as non-persistent attacks, occur when a malicious script is reflected off a web application to the victim's browser. The script is activated through a link, which sen | CVE-2023-29455 | ABB | frontend | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29455
URL validation scheme receives input from a user and then parses it to identify its various components. The validation scheme can ensure that all URL components comply with internet standards. | CVE-2023-29456 | ABB | frontend | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29456
Reflected XSS attacks, occur when a malicious script is reflected off a web application to the victim's browser. The script can be activated through Action form fields, which can be sent as request to | CVE-2023-29457 | ABB | frontend | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29457
A security defect was identified in Foundry Frontend that enabled users to potentially conduct DOM XSS attacks if Foundry's CSP were to be bypassed. This defect was resolved with the release of Found | CVE-2023-30958 | ABB | frontend | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-30958
A stored XSS has been found in the Zabbix web application in the Maps element if a URL field is set with spaces before URL. | CVE-2023-32721 | ABB | zabbix | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32721
The website configured in the URL widget will receive a session cookie when testing or executing scheduled reports. The received session cookie can then be used to access the frontend as the particula | CVE-2023-32725 | ABB | frontend; zabbix_server | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32725
The Zabbix Agent 2 item key smart.disk.get does not sanitize its parameters before passing them to a shell command resulting possible vulnerability for remote code execution. | CVE-2023-32728 | ABB | zabbix-agent2 | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32728
There is a Cross Site Scripting (XSS) vulnerability in "cid" parameter of preview.php in PHPJabbers Time Slots Booking Calendar v3.3. | CVE-2023-33560 | ABB | time_slots_booking_calendar | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-33560
Improper input validation of password parameter in PHP Jabbers Time Slots Booking Calendar v 3.3 results in insecure passwords. | CVE-2023-33561 | ABB | time_slots_booking_calendar | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-33561
PHPJabbers Catering System v1.0 was discovered to contain a cross-site scripting (XSS) vulnerability via the component /index.php?controller=pjAdmin&action=pjActionForgot. | CVE-2023-34869 | ABB | catering_system | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-34869
There is a Cross Site Scripting (XSS) vulnerability in the "theme" parameter of preview.php in PHPJabbers Appointment Scheduler v3.0 | CVE-2023-36126 | ABB | appointment_scheduler | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36126
There is a Cross Site Scripting (XSS) vulnerability in the "theme" parameter of preview.php in PHPJabbers Class Scheduling System 1.0. | CVE-2023-36137 | ABB | class_scheduling_system | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36137
PHPJabbers Cleaning Business Software 1.0 is vulnerable to Cross Site Scripting (XSS) via the theme parameter of preview.php. | CVE-2023-36138 | ABB | cleaning_business_software | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36138
There is a Cross Site Scripting (XSS) vulnerability in the "action" parameter of index.php in PHPJabbers Document Creator v1.0. | CVE-2023-36309 | ABB | document_creator | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36309
There is a SQL injection (SQLi) vulnerability in the "column" parameter of index.php in PHPJabbers Document Creator v1.0. | CVE-2023-36311 | ABB | document_creator | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36311
There is a Cross Site Scripting (XSS) vulnerability in the value-enum-o_bf_include_timezone parameter of index.php in PHPJabbers Callback Widget v1.0. | CVE-2023-36312 | ABB | callback_widget | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36312
PHPJabbers Document Creator v1.0 is vulnerable to Cross Site Scripting (XSS) via all post parameters of "Export Requests" aside from "request_feed". | CVE-2023-36313 | ABB | document_creator | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36313
There is a Cross Site Scripting (XSS) vulnerability in the value-text-o_sms_email_request_message parameters of index.php in PHPJabbers Callback Widget v1.0. | CVE-2023-36314 | ABB | callback_widget | 工业协议漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36314
There is a Cross Site Scripting (XSS) vulnerability in the "action" parameter of index.php in PHPJabbers Callback Widget v1.0. | CVE-2023-36315 | ABB | callback_widget | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36315
PHPJabbers Food Delivery Script 3.0 has a SQL injection (SQLi) vulnerability in the "q" parameter of index.php. | CVE-2023-40748 | ABB | food_delivery_script | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40748
PHPJabbers Food Delivery Script v3.0 is vulnerable to SQL Injection in the "column" parameter of index.php. | CVE-2023-40749 | ABB | food_delivery_script | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40749
There is a Cross Site Scripting (XSS) vulnerability in the "action" parameter of index.php in PHPJabbers Yacht Listing Script v1.0. | CVE-2023-40750 | ABB | yacht_listing_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40750
PHPJabbers Fundraising Script v1.0 is vulnerable to Cross Site Scripting (XSS) via the "action" parameter of index.php. | CVE-2023-40751 | ABB | fundraising_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40751
There is a Cross Site Scripting (XSS) vulnerability in the "action" parameter of index.php in PHPJabbers Make an Offer Widget v1.0. | CVE-2023-40752 | ABB | make_an_offer_widget | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40752
There is a Cross Site Scripting (XSS) vulnerability in the message parameter of index.php in PHPJabbers Ticket Support Script v3.2. | CVE-2023-40753 | ABB | ticket_support_script | 工业协议漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40753
There is a Cross Site Scripting (XSS) vulnerability in the "theme" parameter of preview.php in PHPJabbers Callback Widget v1.0. | CVE-2023-40755 | ABB | callback_widget | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40755
A vulnerability has been found in PHP Jabbers Availability Booking Calendar 5.0 and classified as problematic. Affected by this vulnerability is an unknown functionality of the file /index.php. The ma | CVE-2023-4110 | ABB | availability_booking_calendar | 工控Web管理界面漏洞 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4110
A vulnerability was found in PHP Jabbers Bus Reservation System 1.1 and classified as problematic. Affected by this issue is some unknown functionality of the file /index.php. The manipulation of the | CVE-2023-4111 | ABB | bus_reservation_system | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4111
A vulnerability was found in PHP Jabbers Shuttle Booking Software 1.0. It has been classified as problematic. This affects an unknown part of the file /index.php. The manipulation leads to cross site | CVE-2023-4112 | ABB | shuttle_booking_software | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4112
A vulnerability was found in PHP Jabbers Service Booking Script 1.0. It has been declared as problematic. This vulnerability affects unknown code of the file /index.php. The manipulation of the argume | CVE-2023-4113 | ABB | service_booking_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4113
A vulnerability was found in PHP Jabbers Night Club Booking Software 1.0. It has been rated as problematic. This issue affects some unknown processing of the file /index.php. The manipulation of the a | CVE-2023-4114 | ABB | night_club_booking_software | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4114
A vulnerability classified as problematic has been found in PHP Jabbers Cleaning Business 1.0. Affected is an unknown function of the file /index.php. The manipulation of the argument index leads to c | CVE-2023-4115 | ABB | cleaning_business_software | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4115
A vulnerability classified as problematic was found in PHP Jabbers Taxi Booking 2.0. Affected by this vulnerability is an unknown functionality of the file /index.php. The manipulation of the argument | CVE-2023-4116 | ABB | taxi_booking_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4116
A vulnerability, which was classified as problematic, has been found in PHP Jabbers Rental Property Booking 2.0. Affected by this issue is some unknown functionality of the file /index.php. The manipu | CVE-2023-4117 | ABB | rental_property_booking_calendar | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4117
phpjabbers Business Directory Script 3.2 is vulnerable to Cross Site Scripting (XSS) via the keyword parameter. | CVE-2023-41537 | ABB | business_directory_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-41537
phpjabbers PHP Forum Script 3.0 is vulnerable to Cross Site Scripting (XSS) via the keyword parameter. | CVE-2023-41538 | ABB | php_forum_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-41538
phpjabbers Business Directory Script 3.2 is vulnerable to SQL Injection via the column parameter. | CVE-2023-41539 | ABB | business_directory_script | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-41539
PHPJabbers Limo Booking Software 1.0 is vulnerable to Cross Site Request Forgery (CSRF) to add an admin user via the Add Users Function, aka an index.php?controller=pjAdminUsers&action=pjActionCreate | CVE-2023-43147 | ABB | limo_booking_software | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-43147
Phpjabbers PHP Shopping Cart 4.2 is vulnerable to SQL Injection via the id parameter. | CVE-2023-43274 | ABB | php_shopping_cart | 工控Web管理界面漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-43274
URL Redirection to Untrusted Site ('Open Redirect') vulnerability in SoftLab Integrate Google Drive – Browse, Upload, Download, Embed, Play, Share, Gallery, and Manage Your Google Drive Files Into You | CVE-2023-47548 | ABB | integrate_google_drive | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-47548
A Cross Site Scripting (XSS) vulnerability in Shuttle Booking Software 2.0 allows a remote attacker to inject JavaScript via the name, description, title, or address parameter to index.php. | CVE-2023-48172 | ABB | shuttle_booking_software | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48172
A Cross Site Scripting vulnerability in Availability Booking Calendar 5.0 allows an attacker to inject JavaScript via the name, plugin_sms_api_key, plugin_sms_country_code, uuid, title, or country nam | CVE-2023-48208 | ABB | availability_booking_calendar | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48208
Availability Booking Calendar 5.0 is vulnerable to Multiple HTML Injection issues via SMS API Key or Default Country Code. | CVE-2023-48825 | ABB | availability_booking_calendar | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48825
Time Slots Booking Calendar 4.0 is vulnerable to Multiple HTML Injection issues via the name, plugin_sms_api_key, plugin_sms_country_code, calendar_id, title, country name, or customer_name parameter. | CVE-2023-48827 | ABB | time_slots_booking_calendar | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48827
Time Slots Booking Calendar 4.0 is vulnerable to Multiple Stored Cross-Site Scripting (XSS) issues via the name, plugin_sms_api_key, plugin_sms_country_code, calendar_id, title, country name, or custo | CVE-2023-48828 | ABB | time_slots_booking_calendar | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48828
Car Rental Script 3.0 is vulnerable to Multiple Stored Cross-Site Scripting (XSS) issues via the name, plugin_sms_api_key, plugin_sms_country_code, calendar_id, title, country name, or customer_name p | CVE-2023-48836 | ABB | car_rental_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48836
Car Rental Script 3.0 is vulnerable to Multiple HTML Injection issues via SMS API Key or Default Country Code. | CVE-2023-48837 | ABB | car_rental_script | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48837
Appointment Scheduler 3.0 is vulnerable to Multiple HTML Injection issues via the SMS API Key or Default Country Code. | CVE-2023-48838 | ABB | appointment_scheduler | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48838
Appointment Scheduler 3.0 is vulnerable to Multiple Stored Cross-Site Scripting (XSS) issues via the name, plugin_sms_api_key, plugin_sms_country_code, calendar_id, title, country name, or customer_na | CVE-2023-48839 | ABB | appointment_scheduler | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-48839
Cross-Site Request Forgery (CSRF) vulnerability in SoftLab Integrate Google Drive.This issue affects Integrate Google Drive: from n/a through 1.3.4. | CVE-2023-49769 | ABB | integrate_google_drive | 工控Web管理界面漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-49769
ABB M2M Gateway | CVE-1999-0524 | ABB | ABB reports that the following products are affected: M2M Gateway ARM600: Versions 4.1.2 up to and including 5.0.3 M2M Gateway SW: Versions 5.0.1 up to and including 5.0.3. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-1999-0524
ABB FOX515T | CVE-2017-14025 | ABB | The following versions of FOX515T - communication interface are affected: FOX515T release 1.0. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-14025
ABB VSN300 WiFi Logger Card | CVE-2017-7916 | ABB | The following versions of VSN300 WiFi Logger Card - device for solar system monitoring are affected: VSN300 WiFi Logger Card versions 1.8.15 and prior. VSN300 WiFi Logger Card for React versions 2.1.3 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7916
ABB IP Gateway | CVE-2017-7933 | ABB | The following versions of IP Gateway - building management system are affected. The IP Gateway is available under two brands; ABB and Busch-Jaeger. Busch-Jaeger Elektro GmbH is part of the ABB Group. IP Gateway Versions 3.39 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7933
ABB Telephone Gateway TG/S和Busch-Jaeger Telefon-Gateway授权问题漏洞 | CVE-2019-19104 | ABB | ABB Busch-Jaeger 6186/11 Telefon-Gateway ; ABB Telephone Gateway TG/S 3.2 | Authorization Issue | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-19104
ABB Telephone Gateway TG/S和Busch-Jaeger Telefon-Gateway未受保护凭据存储漏洞 | CVE-2019-19105 | ABB | ABB Busch-Jaeger 6186/11 Telefon-Gateway ; ABB Telephone Gateway TG/S 3.2 | Misconfiguration | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-19105
ABB Telephone Gateway TG/S和Busch-Jaeger Telefon-Gateway权限许可和访问控制问题漏洞 | CVE-2019-19106 | ABB | ABB Busch-Jaeger 6186/11 Telefon-Gateway ; ABB Telephone Gateway TG/S 3.2 | Privilege Escalation | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-19106
ABB Telephone Gateway TG/S和Busch-Jaeger 6186/11 Telefon-Gateway信息泄露漏洞 | CVE-2019-19107 | ABB | ABB Busch-Jaeger 6186/11 Telefon-Gateway ; ABB Telephone Gateway TG/S 3.2 | Privilege Escalation | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-19107
Currently, geomap configuration (Administration -> General -> Geographical maps) allows using HTML in the field “Attribution text” when selected “Other” Tile provider. | CVE-2023-29452 | ABB | zabbix | 其他 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29452
Request to LDAP is sent before user permissions are checked. | CVE-2023-32723 | ABB | zabbix | 身份认证/权限类漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-32723
ABB Arctic Wireless Gateways | CVE-2023-47610 | ABB | ABB reports there are vulnerabilities in the Telit PL62-W wireless modem module used in the following products: Arctic ARP600, ARC600, ARR600: Firmware versions 3.4.10, 3.4.11, 3.4.12, 3.4.13 (CVE-2024-6387) Arctic Wireless Gateways ARG600, ARC600, ARR600: All versions with Telit PLS62-W wireless modem module (CVE-2023-47610, CVE-2023-47611, CVE-2023-47612, CVE-2023-47613, CVE-2023-47614, CVE-2023-47615, CVE-2023-47616). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-47610
ABB AWIN Gateways | CVE-2025-13777 | ABB | ABB ABB AWIN Firmware (2.0-0) installed on ABB AWIN GW100 rev.2: 2.0-0, ABB ABB AWIN Firmware (2.0-1) installed on ABB AWIN GW100 rev.2: 2.0-1, ABB ABB AWIN Firmware (1.2-0) installed on ABB AWIN GW120: 1.2-0, ABB ABB AWIN Firmware (1.2-1) installed on ABB AWIN GW120: 1.2-1 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13777
ABB Busch-Welcome 2 Wire Door Opener Actuator | CVE-2025-7705 | ABB | Switch Actuator 4 DU vers:all/* ¦ Switch actuator, door/light 4 DU vers:all/* | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-7705
ABB EIBPORT | CVE-2021-22291 | ABB | EIBPORT V3 KNX (2CLA963710W1001) <3.9.2 ¦ EIBPORT V3 KNX (2CSM256242R2001) <3.9.2 ¦ EIBPORT V3 KNX GSM (2CLA963720W1001) <3.9.2 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22291
Zabbix Frontend Improper Access Control Vulnerability | CVE-2022-23134 | ABB | Zabbix - Frontend |  | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-23134
PHP Jabbers Availability Booking Calendar 5.0 is vulnerable to Incorrect Access Control. | CVE-2023-36132 | ABB | availability_booking_calendar | 身份认证/权限类漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-36132
ABB Ability Camera Connect | CVE-2024-46461 | ABB | Ability Camera Connect vers:intdot/<=1.5.0.14, 1.5.0.15 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-46461
ABB PCM600 Vulnerabilities | CVE-2016-4511 | ABB | ABB affected products: PCM600 up to and including Version 2.6. |  | Low | https://nvd.nist.gov/vuln/detail/CVE-2016-4511
Abbott Laboratories Defibrillator | CVE-2017-12712 | Abbott | The following ICDs and CRT-Ds manufactured and distributed prior to April 19, 2018 are affected: Fortify ¦ Fortify Assura ¦ Quadra Assura ¦ Quadra Assura MP ¦ Unify ¦ Unify Assura ¦ Unify Quadra ¦ Pro |  | High | https://nvd.nist.gov/vuln/detail/CVE-2017-12712
Abbott Laboratories' Accent/Anthem, Accent MRI, Assurity/Allure, and Assurity MRI Pacemaker Vulnerabilities | CVE-2017-12712 | Abbott | The following pacemakers manufactured prior to August 28, 2017, are affected:Accent/Anthem ¦ Accent MRI ¦ Assurity ¦ Allure and Assurity MRI. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2017-12712
ABB TropOS (Update A) | CVE-2017-13077 | ABB | ABB reports that the key reinstallation attacks (KRACK) potentially affect all TropOS broadband mesh routers and bridges operating on Mesh OS release 8.5.2 or prior. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2017-13077
ABB VSN300 WiFi Logger Card | CVE-2017-7920 | ABB | The following versions of VSN300 WiFi Logger Card - device for solar system monitoring are affected: VSN300 WiFi Logger Card versions 1.8.15 and prior. VSN300 WiFi Logger Card for React versions 2.1.3 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2017-7920
ABB IP Gateway | CVE-2017-7931 | ABB | The following versions of IP Gateway - building management system are affected. The IP Gateway is available under two brands; ABB and Busch-Jaeger. Busch-Jaeger Elektro GmbH is part of the ABB Group. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2017-7931
ABB GATE-E2 | CVE-2018-18995 | ABB | The following versions of the Gateway Ethernet devices used in Pluto Safety PLC systems are affected: GATE-E1 (EOL 2013) andGATE-E2 (EOL OCT 2018). |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2018-18995
ABB eSOMS | CVE-2019-19000 | ABB | The following versions of eSOMS are affected: eSOMS 6.02 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2019-19000
ABB Central Licensing System | CVE-2020-8471 | ABB | The following ABB CLS products and versions are affected: ABB Ability System 800xA and related system extensions: Versions 5.1; 6.0; 6.1 Compact HMI: Versions 5.1; 6.0 Control Builder Safe: Versions 1 |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2020-8471
ABB System 800xA | CVE-2020-8472 | ABB | The following products of System 800xA are affected: OPC Server for AC 800M: Versions 6.0 and prior Control Builder M Professional: Versions 6.1 and prior MMS Server for AC 800M: Versions 6.1 and prio |  | High | https://nvd.nist.gov/vuln/detail/CVE-2020-8472
ABB Ability Symphony Plus Engineering | CVE-2023-5869 | ABB | ABB Ability Symphony Plus S+ Engineering 2.2, ABB Ability Symphony Plus S+ Engineering 2.3, ABB Ability Symphony Plus S+ Engineering 2.3 RU1, ABB Ability Symphony Plus S+ Engineering 2.3 RU2, ABB Abil |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-5869
ABB Drive Composer | CVE-2024-48510 | ABB | ABB reports that the following Drive Composer products are affected: Drive Composer entry: Version 2.9.0.1 and prior Drive Composer pro: Version 2.9.0.1 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2024-48510
ABB FLXeon Controllers | CVE-2024-48842 | ABB | The following ABB FLXeon products are affected: FBXi-8R8-X96 (2CQG201028R1011): Versions 9.3.5 and prior FBXi-8R8-H-X96 (2CQG201029R1011): Versions 9.3.5 and prior FBXi-X256 (2CQG201014R1021): Version |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-48842
ABB B&R Automation Studio | CVE-2025-11043 | ABB | Automation Studio <6.5 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-11043
ABB AC500 V3 Multiple Vulnerabilities | CVE-2025-2595 | ABB | ABB AC500 V3 <3.9.0 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-2595
ABB B&R Automation Runtime | CVE-2025-3449 | ABB | Automation Runtime <6.4 |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2025-3449
ABB Automation Builder存在关键资源权限分配不当、敏感信息明文存储漏洞。影响版本：2.8.0及以下。 | CVE-2025-3395 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-3395
ABB ANC、ABB ANC-L、ABB ANC-mini存在假设不可变数据修改（MAID）漏洞。影响版本：ANC 1.1.4及以下；ANC-L 1.1.4及以下；ANC-mini 1.1.4及以下。 | CVE-2024-9876 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2024-9876
ABB ANC、ABB ANC-L、ABB ANC-mini存在使用GET请求方法携带敏感查询字符串漏洞。影响版本：ANC 1.1.4及以下；ANC-L 1.1.4及以下；ANC-mini 1.1.4及以下。 | CVE-2024-9877 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2024-9877
Rockwell Automation FactoryTalk View SE存在漏洞，攻击者可利用该漏洞获取敏感信息。影响FactoryTalk View SE版本。 | CVE-2025-4407 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-4407
Weintek EasyBuilder Pro存在漏洞，攻击者可利用该漏洞读取敏感信息。影响EasyBuilder Pro版本。 | CVE-2025-6071 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-6071
Weintek EasyBuilder Pro存在漏洞，攻击者可利用该漏洞执行任意代码。影响EasyBuilder Pro版本。 | CVE-2025-6072 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-6072
Weintek EasyBuilder Pro存在漏洞，攻击者可利用该漏洞执行任意代码。影响EasyBuilder Pro版本。 | CVE-2025-6073 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-6073
ABB Ability存在远程代码执行漏洞，攻击者可执行任意系统命令。影响Ability版本。 | CVE-2025-10205 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-10205
Siemens SIMATIC WinCC存在漏洞，攻击者可利用该漏洞获取敏感信息。影响WinCC版本。 | CVE-2024-48851 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2024-48851
ABB Ability存在漏洞，攻击者可利用该漏洞获取敏感信息。影响Ability版本。 | CVE-2025-10207 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-10207
Rockwell Automation FactoryTalk存在跨站脚本漏洞，攻击者可注入恶意脚本。影响FactoryTalk版本。 | CVE-2025-12142 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-12142
Rockwell Automation FactoryTalk存在跨站脚本漏洞，攻击者可注入恶意脚本。影响FactoryTalk版本。 | CVE-2025-12143 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-12143
ABB Ability存在远程代码执行漏洞，攻击者可执行任意代码。影响Ability版本。 | CVE-2025-4676 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-4676
ABB Ability存在漏洞，攻击者可利用该漏洞获取敏感信息。影响Ability版本。 | CVE-2025-4677 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-4677
Rockwell Automation FactoryTalk存在漏洞，攻击者可利用该漏洞获取敏感信息。影响FactoryTalk版本。 | CVE-2025-13778 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-13778
Rockwell Automation FactoryTalk存在漏洞，攻击者可利用该漏洞执行任意代码。影响FactoryTalk版本。 | CVE-2025-13779 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-13779
ABB Ability存在严重远程代码执行漏洞，攻击者可完全控制系统。影响Ability版本。 | CVE-2025-14771 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-14771
ABB Ability存在远程代码执行漏洞，攻击者可执行任意代码。影响Ability版本。 | CVE-2025-14772 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-14772
ABB Ability存在漏洞，攻击者可利用该漏洞执行任意代码。影响Ability版本。 | CVE-2025-14773 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-14773
ABB Ability存在漏洞，攻击者可利用该漏洞获取敏感信息。影响Ability版本。 | CVE-2025-14774 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-14774
Rockwell Automation FactoryTalk存在漏洞，攻击者可利用该漏洞获取敏感信息。影响FactoryTalk版本。 | CVE-2025-13162 | ABB |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-13162
A vulnerability exists by allowing low-privileged users to read and update the data in various directories used by the Zenon system. An attacker could exploit the vulnerability by using specially craf | CVE-2023-3322 | abb |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2023-3322
A vulnerability exists by allowing low-privileged users to read and update the data in various directories used by the Zenon system. An attacker could exploit the vulnerability by using specially craf | CVE-2023-3323 | abb |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2023-3323
A vulnerability exists by allowing low-privileged users to read and update the data in various directories used by the Zenon system. An attacker could exploit the vulnerability by using specially craf | CVE-2023-3324 | abb |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2023-3324