## Beckhoff
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
IniNet Solutions SCADA Web Server Vulnerabilities | CVE-2015-1002 | Beckhoff | SCADA Web Server versions affected: IniNet Solutions GmbH's SCADA Web Server and versions prior to Version 2.02. IniNet Solutions GmbH's SCADA Web Server a third-party softwareare that used in industrial control system devices. The IniNet Solutions GmbH's SCADA Web Server - known to be compatible with Beckhoff: Beckhoff Embedded PC ¦ series CX1010 ¦Beckhoff Embedded PC ¦ series CX1020 ¦Beckhoff Embedded PC ¦ series CX1030 ¦Beckhoff Embedded PC ¦ series CX2000 ¦Beckhoff Embedded PC ¦ series CX510 | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-1002
Beckhoff Automation TwinCAT Package Manager | CVE-2024-8934 | Beckhoff | The following Beckhoff Automation products are affected: TwinCAT Package Manager: Versions prior to 1.0.603.0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8934
Beckhoff TwinCAT 代码问题漏洞 | CVE-2025-41701 | Beckhoff | beckhoff twincat |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-41701