## Eaton
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Eaton's Cooper Power Series Form 6 Control and Idea/IdeaPlus Relays with Ethernet Vulnerability | CVE-2014-9196 | Eaton | Eaton's Cooper Power Systems versions affected: All versions of Eaton's Cooper Power Series Form 6 control ¦ Idea/IdeaPLUS relays with Ethernet with Pro View 4.0 through Pro View 5.0 software. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-9196
Eaton's Cooper Devices Improper Ethernet Frame Padding Vulnerability | CVE-2015-6471 | Eaton | Eaton's Cooper Power Systems versions affected: Previous versions of Eaton's Cooper Power Series Form 6 control ¦ Idea/IdeaPLUS relays with Ethernet using Pro View 4.0 through Pro View 5.0 firmware versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2015-6471
Eaton ELCSoft | CVE-2018-7511 | Eaton | ELCSoft is programming software for all Eaton ELC programmable logic controllers. The ELC programmable logic controllers are not affected by this vulnerability. The following versions of ELCSoft are affected: ELCSoft Versions 2.04.02 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7511
Eaton Lighting Systems EG2 Web Control Authentication Bypass Vulnerabilities | CVE-2016-2272 | Eaton | Eaton Lighting Systems versions: EG2 Web Control V4.04P and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-2272
Eaton ELCSoft Programming Software Memory Vulnerabilities | CVE-2016-4509 | Eaton | ELCSoft programming software versions affected: ELCSoft Version 2.4.01 and earlier. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2016-4509
Eaton HMiSoft VU3 | CVE-2020-10637 | Eaton | The following versions of HMiSoft VU3 - a HMI Operator Interface are affected: HMiSoft VU3 Version 3.00.23 and prior; however; the HMIVU runtimes are not impacted by these issues. | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10637
Eaton EASYsoft (Update A) | CVE-2020-6655 | Eaton | Versions 7.20 and prior of EASYsoft are affected. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2020-6655
Eaton X303 安全漏洞 | CVE-2024-57811 | Eaton | Eaton X303 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2024-57811
Eaton Foreseer Reporting Software 安全漏洞 | CVE-2025-22491 | Eaton | Eaton Foreseer Reporting Software |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-22491
Eaton Network-M2 安全漏洞 | CVE-2025-22495 | Eaton | Eaton Network-M2 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-22495
Eaton Rack PDU G4 安全漏洞 | CVE-2025-48393 | Eaton | Eaton Rack PDU G4 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-48393
Eaton NMC G2 安全漏洞 | CVE-2025-48395 | Eaton | Eaton NMC G2 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-48395
Eaton Brightlayer Software Suite 安全漏洞 | CVE-2025-48396 | Eaton | Eaton Brightlayer Software Suite |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-48396
Eaton xComfort ECI 安全漏洞 | CVE-2025-59886 | Eaton | xcomfort ethernet communication interface |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-59886
Eaton UPS Companion 安全漏洞 | CVE-2025-59887 | Eaton | ups companion |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-59887
Eaton IPP 安全漏洞 | CVE-2025-59889 | Eaton | eaton ipp |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-59889
Eaton Galileo 安全漏洞 | CVE-2025-59890 | Eaton | Eaton Galileo |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-59890
Eaton xComfort Ethernet Communication Interface | CVE-2016-9368 | Eaton | The following versions of xComfort Ethernet Communication Interface (ECI) - building automation system are affected: xComfort ECI Versions 1.07 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-9368
Eaton Intelligent Power Manager | CVE-2021-23276 | Eaton | Eaton reports these vulnerabilities affect the following Intelligent Power Manager products: Eaton Intelligent Power Manager (IPM) - All versions prior to 1.69 Eaton Intelligent Power Manager Virtual |  | High | https://nvd.nist.gov/vuln/detail/CVE-2021-23276
Eaton Intelligent Power Manager | CVE-2021-23282 | Eaton | The following versions of Eaton IPM, a power management platform, are affected: Eaton Intelligent Power Manager (IPM) v1: All versions prior to v1.70. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2021-23282