## Festo
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
FESTO Hardware Controller, Hardware Servo Press Kit | CVE-2022-30308 |  | FESTO reports the following products are affected: Festo Firmware installed on Festo Hardware Controller CECC-X-M1: Version 4.0.14 Festo Firmware installed on Festo Hardware Controller CECC-X-M1: Versions 3.8.14 and prior Festo Firmware installed on Festo Hardware Controller CECC-X-M1-MV: Versions 3.8.14 and prior Festo Firmware installed on Festo Hardware Controller CECC-X-M1-MV: Version 4.0.14 Festo Firmware installed on Festo Hardware Controller CECC-X-M1-MV-S1: Version 4.0.14 Festo Firmware | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30308
Festo Didactic SE MES PC | CVE-2023-25690 |  | Festo Didactic SE MES PC shipped with Windows 10 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-25690
Festo CPX-CEC-C1 and CPX-CMXX | CVE-2022-3079 |  | Festo reports that the following products are affected: Festo Firmware installed on Festo Hardware Control block CPX-CEC-C1: Versions 2.0.12 and prior Festo Firmware installed on Festo Hardware Control block CPX-CMXX: Versions 1.2.34 rev.404 and prior Festo Firmware installed on Festo Hardware Control block-SET CPX-CEC-C1: Versions 1.2.34 rev.404 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-3079
Festo Firmware | CVE-2022-3270 |  | Bus module CPX-E-EP: All versions, Bus module CPX-E-PN: All versions, Bus node CPX-FB32: All versions, Bus node CPX-FB33: All versions, Bus node CPX-FB36: All versions, Bus node CPX-FB37: All versions, Bus node CPX-FB39: All versions, Bus node CPX-FB40: All versions, Bus node CPX-FB43: All versions, Bus node CPX-M-FB34: All versions, Bus node CPX-M-FB35: All versions, Bus node CPX-M-FB44: All versions, Bus node CPX-M-FB45: All versions, Bus node CTEU-EP: All versions, Bus node CTEU-PN: All versi | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-3270
Festo LX Appliance | CVE-2021-23414 |  | Festo reports that the following products are affected: Festo Software LX Appliance: Versions prior to June 2023. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-23414
Festo MSE6-C2M/D2M/E2M | CVE-2023-3634 |  | Festo reports the following products are affected: MSE6-C2M-5000-FB36-D-M-RG-BAR-M12L4-AGD: All versions MSE6-C2M-5000-FB36-D-M-RG-BAR-M12L5-AGD: All versions MSE6-C2M-5000-FB43-D-M-RG-BAR-M12L4-MQ1-AGD: All versions MSE6-C2M-5000-FB43-D-M-RG-BAR-M12L5-MQ1-AGD: All versions MSE6-C2M-5000-FB44-D-M-RG-BAR-AMI-AGD: All versions MSE6-C2M-5000-FB44-D-RG-BAR-AMI-AGD: All versions MSE6-D2M-5000-CBUS-S-RG-BAR-VCB-AGD: All versions MSE6-E2M-5000-FB13-AGD: All versions MSE6-E2M-5000-FB36-AGD: All versions | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-3634
FESTO Automation Suite, FluidDraw, and Festo Didactic Products | CVE-2023-3935 |  | FESTO, FESTO Didactic reports that the following products are affected: FESTO Didactic CIROS Studio / Education: 6.0.0 - 6.4.6 FESTO Didactic CIROS Studio / Education: 7.0.0 - 7.1.7 FESTO Festo Automation Suite: <= 2.6.0.481 FESTO FluidDraw: P6 <= 6.2k FESTO FluidDraw: 365 <= 7.0a FESTO Didactic FluidSIM: 5 all versions FESTO Didactic FluidSIM: 6 <= 6.1c FESTO Didactic MES-PC: shipped before December 2023. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-3935
Festo Controller CECC-S,-LK,-D Family Firmware (Update A) | CVE-2010-5250 | Festo | Festo reports that the following products are affected: Festo Firmware (R05 (17.06.2016) = 2.3.8.0) installed on Festo Hardware Controller CECC-D (All versions): All versions Festo Firmware (R06 (11.1 |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2010-5250
Festo Didactic SE MES PC | CVE-2019-11036 | Festo | Festo Didactic SE MES PC shipped with Windows 10 |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2019-11036