## Omron
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Omron SYSMAC CS-CJ-CP Series and NJ-NX Series (Update A) | CVE-2022-31204 | Omron | "Â¯The following versions of the Omron SYSMAC CS/CJ/CP Series and NJ/NX Series, a programmable logic controller, are affected: --------- Begin Update A part 1 of 4 --------- SYSMAC CS1H/CJ1G: Versions prior to 4.1 SYSMAC CS1D-CPU H/P/HA: Versions prior to 1.4 SYSMAC CS1D-CPU S/SA: Versions prior to 2.1 --------- End Update A part 1 of 4 --------- SYSMAC CJ2M: Versions prior to 2.1 SYSMAC CJ2H: Versions prior to 1.5 SYSMAC CP1E/CP1H: Versions prior to 1.30 --------- Begin Update A part 2 of 4 --- | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-31204
Omron NJNX-series | CVE-2022-34151 | Omron | The following versions of NJ/NX-series, a machine automation controller, are affected: NX7-series Machine Automation Controller (All Models): Versions 1.28 and prior NX1-series Machine Automation Controller (All Models): Versions 1.48 and prior NJ-series Machine Automation Controller (All Models): Versions 1.48 and prior Automation Software Sysmac Studio (All Models): Versions 1.49 and prior NA-series Programable Terminal (NA5-15W, NA5-12W, NA5-9W, NA5-7W): Runtime versions 1.15 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-34151
Omron CJ/CS/CP Series | CVE-2022-45790 | Omron | The following versions of Omron CJ/CS/CP series, programmable logic controllers, are affected:Smart Security Manager: Versions 1.4 and prior to 1.31Smart Security Manager: Versions 1.5 and prior CJ2H-CPU ** (-EIP): version 1.4 and prior CJ2M-CPU ** : version 2.0 and prior CS1H/G-CPU ** CJ1G-CPU ** P: version 4.0 and prior CS1D-CPU ** H / -CPU ** P: version 1.3 and prior CS1D-CPU ** S: version 2.0 and prior CP1E-E / -N: version 1.2 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-45790
Omron CSCJ Series | CVE-2022-45794 | Omron | The following versions of Omron CS/CJ series, programmable logic controllers, are affected: SYSMAC CJ2H-CPU6 -EIP: all versions SYSMAC CJ2H-CPU6 : all versions SYSMAC CJ2M-CPU : all versions SYSMAC CJ1G-CPU P: all versions SYSMAC CS1H-CPU H: all versions SYSMAC CS1G-CPU H: all versions SYSMAC CS1D-CPU HA: all versions SYSMAC CS1D-CPU H: all versions SYSMAC CS1D-CPU SA: all versions SYSMAC CS1D-CPU S: all versions SYSMAC CS1D-CPU P: all versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-45794
Omron CJ1m PLC | CVE-2023-0811 | Omron | The following components of Omron CJ1M, a programmable logic controller, are affected: SYSMAC CJ-series CJ2H-CPU6 -EIP: All versions CJ2H-CPU6 : All versions CJ2M-CPU : All versions CJ1G-CPU P: All versions SYSMAC CS-series CS1H-CPU H: All versions CS1G-CPU H: All versions CS1D-CPU HA: All versions CS1D-CPU H: All versions CS1D-CPU SA: All versions CS1D-CPU S: All versions CS1D-CPU P: All versions SYSMAC CP-series CP2E-E D - : All versions CP2E-S D - All versions CP2E-N D - : All versions CP1H-X | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-0811
Omron NJ/NX-series Machine Automation Controllers 路径遍历漏洞 | CVE-2024-12083 | Omron | Omron NJ/NX-series Machine Automation Controllers |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2024-12083
Omron NB-Designer 代码问题漏洞 | CVE-2024-12298 | Omron | Omron NB-Designer |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2024-12298
Omron Sysmac Studio和Omron NJ/NX-series Machine Automation Controllers 安全漏洞 | CVE-2025-1384 | Omron | omron nj/nx-series machine automation controllers |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-1384
OMRON Uninterruptible Power Supply management application 安全漏洞 | CVE-2025-9818 | Omron | OMRON Uninterruptible Power Supply management application |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-9818
Omron CX-Supervisor | CVE-2010-3128 | Omron | Full Development and Runtime Only packages of Omron's SCADA and HMI package CX-Supervisor versions affected: CX-Supervisor Versions 3.5 (12) and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2010-3128
Omron Engineering Software Zip-Slip | CVE-2018-1002205 | Omron | The following versions of Omron engineering software are affected:Sysmac Studio: version 1.54 and priorNX-IO Configurator: version 1.22 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-1002205
Omron Engineering Software | CVE-2022-45793 | Omron | The following versions of Omron engineering software are affected: Sysmac Studio: version 1.54 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-45793
Omron CX-Programmer 缓冲区错误漏洞 | CVE-2025-0591 | Omron | Omron CX-Programmer |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-0591
Omron Network Configurator for DeviceNet (Update A) | CVE-2019-10971 | Omron | Network Configurator for DeviceNet Safety 3.41 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-10971
Omron CX-Programmer | CVE-2022-2979 | Omron | The following Omron product, part of a software automation suite, is affected: Omron CX-Programmer: All versions prior to v9.78. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2022-2979
Omron CX-Programmer | CVE-2022-43509 | Omron | The following versions of CX-Programmer, part of a software automation suite, are affected: CX-Programmer: Versions 9.78 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2022-43509