## Yokogawa
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Yokogawa STARDOM Controllers (Update A) | CVE-2018-10592 | Yokogawa | Yokogawa reports the vulnerability affects the following STARDOM Controller products: FCJ (R4.02 and prior) ¦ FCN-100 (R4.02 and prior) ¦ FCN-RTU (R4.02 and prior) ¦ FCN-500 (R4.02 and prior) ¦ FCJ (R4.10 and prior) ¦ FCN-100 (R4.10 and prior) ¦ FCN-RTU (R4.10 and prior) and FCN-500 (R4.10 and prior). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-10592
Yokogawa STARDOM | CVE-2022-30997 | Yokogawa | The following versions of STARDOM, a network control system, are affected: STARDOM FCN/FCJ: Versions R1.01 through R4.31 STARDOM FCN/FCJ: Versions R4.10 through R4.31, dual CPU modules only; only affected by CVE-2022-30997. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30997
Yokogawa FAST/TOOLS XML External Entity | CVE-2014-7251 | Yokogawa | FAST/TOOLS Versions R9.01 though R9.05 SP1. | 工控系统漏洞 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2014-7251
Yokogawa Multiple Products Buffer Overflow Vulnerabilities | CVE-2015-5628 | Yokogawa | Yokogawa versions affected: CENTUM series: CENTUM CS 1000 (R3.08.70 or earlier) ¦CENTUM CS 3000 (R3.09.50 or earlier) ¦CENTUM CS 3000 Entry (R3.09.50 or earlier) ¦CENTUM VP (R5.04.20 or earlier) ¦CENTUM VP Entry (R5.04.20 or earlier) ¦ProSafe-RS (R3.02.10 or earlier) ¦Exaopc (R3.72.00 or earlier) ¦Exaquantum (R2.85.00 or earlier) ¦Exaquantum/Batch (R2.50.30 or earlier) ¦Exapilot (R3.96.10 or earlier) ¦Exaplog (R3.40.00 or earlier) ¦Exasmoc (R4.03.20 or earlier) ¦Exarqe (R4.03.20 or earlier) ¦Fie | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-5628
Yokogawa iDefine, STARDOM, ASTPLANNER, and TriFellows | CVE-2018-0651 | Yokogawa | According to Yokogawa the following products are affected: ASTPLANNER: R15.01 and prior ¦ iDefine for ProSafe-RS: R1.16.3 and prior ¦ STARDOM: VDS R7.50 and prior and FCN/FCJ Simulator R4.20 and prior and TriFellows: Version 5.04 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-0651
Yokogawa Vnet/IP Open Communication Driver | CVE-2018-16196 | Yokogawa | Equipment and versions utilizing Yokogawa Vnt/IP Open communications driver affected: CENTUM CS 3000 (R3.05.00 - R3.09.50); CENTUM CS 3000 Entry Class (R3.05.00 - R3.09.50); CENTUM VP (R4.01.00 - R6.03.10); CENTUM VP Entry Class (R4.01.00 - R6.03.10); Exaopc (R3.10.00 - R3.75.00); PRM (R2.06.00 - R3.31.00); ProSafe-RS (R1.02.00 - R4.02.00); FAST/TOOLS (R9.02.00 - R10.02.00); and B/M9000 VP (R6.03.01 - R8.01.90). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-16196
Yokogawa CENTUM and Exaopc | CVE-2018-8838 | Yokogawa | The following versions of Yokogawa products are affected: CENTUM seriesCENTUM CS 1000 all versions ¦ CENTUM CS 3000 versions R3.09.50 and prior ¦ CENTUM CS 3000 Small versions R3.09.50 and prior ¦ CENTUM VP versions R6.03.10 and prior ¦ CENTUM VP Small versions R6.03.10 and prior ¦ CENTUM VP Basic versions R6.03.10 and prior.Exaopc versions R3.75.00 and prior ¦B/M9000 CS all versions andB/M9000 VP versions R8.01.01 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-8838
Yokogawa License Manager Service | CVE-2019-5909 | Yokogawa | Equipment and versions utilizing Yokogawa License Manager Services affected: CENTUM VP (R5.01.00 - R6.06.00); CENTUM VP Entry Class (R5.01.00 - R6.06.00); ProSafe-RS (R3.01.00 - R4.04.00); PRM (R4.01.00 - R4.02.00); andB/M9000 VP (R7.01.01 - R8.02.03). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-5909
Yokogawa Products | CVE-2019-6008 | Yokogawa | Exaopc (R1.01.00 - R3.77.00) Exaplog (R1.10.00 - R3.40.00) Exaquantum (R1.10.00 - R3.02.00) Exaquantum/Batch (R1.01.00 - R2.50.40) Exasmoc (All Revisions) Exarqe (All Revisions) GA10 (R1.01.01 - R3.05.01) InsightSuiteAE (R1.01.00 - R1.06.00). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6008
Yokogawa WideField3 | CVE-2020-16232 | Yokogawa | Yokogawa reports that the vulnerability affects the tool for programming FA-M3 PLCs: WideField3 R1.01 - R4.03. | 工控系统漏洞 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2020-16232
Yokogawa CENTUM (Update A) | CVE-2020-5608 | Yokogawa | Yokogawa reports that the vulnerability affects the following CENTUM distributed control system products: Exaopc (R3.72.00 - R3.78.00); CENTUM CS 3000 versions R3.08.10 - R3.09.50 (Including CENTUM CS 3000 Entry Class) CENTUM VP versions R4.01.00 - R6.07.00 (Including CENTUM VP Entry Class) B/M9000CS versions R5.04.01 - R5.05.01 B/M9000 VP versions R6.01.01 - R8.03.01. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-5608
Yokogawa CENTUM and ProSafe-RS | CVE-2022-27188 | Yokogawa | The following versions of CENTUM (a Distributed Control System) and ProSafe-RS (Safety Instrumented System), are affected: CVE-2022-27188: CENTUM VP series: CENTUM VP (Including CENTUM VP Entry Class): R4.01.00 through R4.03.00 (if VP6E5150 is installed) B/M9000 VP: R6.01.01 through R6.03.02 CVE-2022-26034: CENTUM VP (Including CENTUM VP Entry Class): R6.01.10 through R6.09.00 (if VP6E5000 is installed) B/M9000 VP R8.01.01 through R8.03.01 Prosafe-RS: R4.01.00 through R4.07.00 - if RS4E5000 is i | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-27188
Yokogawa CAMS for HIS | CVE-2022-30707 | Yokogawa | The following products that use CAMS for HIS, are affected: CENTUM CS 3000 (including CENTUM CS 3000 Entry Class): Versions R3.08.10 through R3.09.00. These vulnerabilities affect this product if LHS4800 (CAMS for HIS) is installed. CENTUM VP (including CENTUM VP Entry Class): Versions R4.01.00 through R4.03.00 (these product versions are affected only if CAMS function is used), Versions R5.01.00 through R5.04.20, and R6.01.00 through R6.09.00 (these product versions are affected regardless of w | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30707
Yokogawa CENTUM Controller FCS | CVE-2022-33939 | Yokogawa | Yokogawa reports this vulnerability affects the following CENTUM VP/CS 3000 Controller FCS products: CENTUM VP/CS 3000 controller FCS CP31, CP33, CP345 CP401, CP451. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-33939
Yokogawa FAST/TOOLS and CI Server | CVE-2024-4105 | Yokogawa | The following versions of Yokogawa FAST/TOOLS and CI Server, SCADA software environments, are affected: FAST/TOOLS RVSVRN Package: Versions R9.01 through R10.04 FAST/TOOLS UNSVRN Package: Versions R9.01 through R10.04 FAST/TOOLS HMIWEB Package: Versions R9.01 through R10.04 FAST/TOOLS FTEES Package: Versions R9.01 through R10.04 FAST/TOOLS HMIMOB Package: Versions R9.01 through R10.04 CI Server: Versions R1.01.00 through R1.03.00. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-4105
Yokogawa CENTUM | CVE-2024-5650 | Yokogawa | The following versions of Yokogawa CENTUM, a distributed control system (DCS), are affected: CENTUM CS 3000 (Including CENTUM CS 3000 Entry Class): Version R3.08.10 to R3.09.50 CENTUM VP (Including CENTUM VP Entry Class): Version R4.01.00 to R4.03.00 CENTUM VP (Including CENTUM VP Entry Class): Version R5.01.00 to R5.04.20 CENTUM VP (Including CENTUM VP Entry Class): Version R6.01.00 to R6.11.10. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-5650
Yokogawa Dual-redundant Platform for Computer (PC2CKM) | CVE-2024-8110 | Yokogawa | The following versions of Yokogawa PC2CKM, a dual-redundant platform computer, are affected: Dual-redundant Platform for Computer (PC2CKM): R1.01.00 to R2.03.00. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8110
Yokogawa Recorder Products | CVE-2025-1863 | Yokogawa | The following versions of Yokogawa recorder products are affected: GX10 / GX20 / GP10 / GP20 Paperless Recorders: Versions R5.04.01 and earlier GM Data Acquisition System: Versions R5.05.01 and earlier DX1000 / DX2000 / DX1000N Paperless Recorders: Versions R4.21 and earlier FX1000 Paperless Recorders: Versions R1.31 and earlier μR10000 / μR20000 Chart Recorders: Versions R1.51 and earlier MW100 Data Acquisition Units: All versions DX1000T / DX2000T Paperless Recorders: All versions CX1000 / CX2 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-1863
Yokogawa FAST/TOOLS | CVE-2025-66594 | Yokogawa | Yokogawa FAST/TOOLS: >=R9.01¦<=R10.04 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-66594
Yokogawa CENTUM VP | CVE-2025-7741 | Yokogawa | Yokogawa CENTUM VP: >=R5.01.00¦<R5.04.20, Yokogawa CENTUM VP: >=R6.01.00¦<R6.12.00, Yokogawa CENTUM VP: vR7.01.00 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-7741
Yokogawa Wide Area Communication Router | CVE-2022-32284 | Yokogawa | Yokogawa reports this vulnerability affects the communication module for the following WAC Router: Wide Area Communication Router (for AW810D) VI461: Vnet/IP firmware (F) R12 or earlier. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-32284
Yokogawa Multiple Products Buffer Overflow Vulnerabilities | CVE-2015-5626 | Yokogawa | Yokogawa versions affected: CENTUM series: CENTUM CS 1000 (R3.08.70 or earlier) ¦CENTUM CS 3000 (R3.09.50 or earlier) ¦CENTUM CS 3000 Entry (R3.09.50 or earlier) ¦CENTUM VP (R5.04.20 or earlier) ¦CENT |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2015-5626
Yokogawa CENTUM and Exaopc | CVE-2022-21194 | Yokogawa | Yokogawa reports these vulnerabilities affect the following distributed control system and software products: CENTUM CS 3000 (Including CENTUM CS 3000 Entry Class): R3.08.10 - R3.09.00 CENTUM VP (Incl |  | High | https://nvd.nist.gov/vuln/detail/CVE-2022-21194
Yokogawa STARDOM | CVE-2022-2951 | Yokogawa | The following versions of STARDOM, a network control system, are affected: STARDOM FCN/FCJ: Versions R1.01 through R4.31 STARDOM FCN/FCJ: Versions R4.10 through R4.31, dual CPU modules only; only affe |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2022-2951
Yokogawa STARDOM | CVE-2023-5915 | Yokogawa | The following versions of Yokogawa STARDOM FCN/FCJ, a network control system, are affected: STARDOM FCN/FCJ: versions R1.01 through R4.31 |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2023-5915
Yokogawa FAST/TOOLS and CI Server | CVE-2026-11833 | Yokogawa | FAST/TOOLS >=R9.01¦<=R10.04 ¦ Collaborative Information Server (CI Server) >=R1.01¦<=R1.04 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2026-11833