## Baxter
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Baxter Welch Allyn Configuration Tool | CVE-2024-5176 |  | The following Baxter (formerly Hillrom and Welch Allyn) products, are affected: Welch Allyn Product Configuration Tool: Versions 1.9.4.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-5176
Baxter Connex Health Portal | CVE-2024-6795 |  | The following Baxter (formerly Hillrom and Welch Allyn) products are affected: Baxter Connex Health Portal: all versions prior to 8/30/2024. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-6795
Baxter SIGMA Spectrum Infusion System Vulnerabilities | CVE-2014-5431 |  | SIGMA Spectrum Infusion System versions affected: SIGMA Spectrum Infusion System ¦ Version 6.05 (model 35700BAX) with wireless battery module (WBM) ¦ Version 16. The WBM a st ¦-alone component that provides network connectivity to the pump. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-5431
Baxter Sigma Spectrum Infusion Pumps (Update B) | CVE-2020-12039 |  | The following versions of Sigma Spectrum Infusion systems, are affected: Sigma Spectrum v6.x model 35700BAX Baxter Spectrum v8.x model 35700BAX2 --------- Begin Update B Part 1 of 6 --------- Baxter Spectrum v9.x model 35700BAX3 Sigma Spectrum LVP v6.x with Wireless Battery Modules v9, v11, v13, v14, v15, v16, v16D38, v17, v17D19, v20D29 to v20D32, and v22D24 to v22D28 Baxter Spectrum LVP v8.x with Wireless Battery Modules v17, v17D19, v20D29 to v20D32, and v22D24 to v22D28 Baxter Spectrum LVP v | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-12039
Baxter Sigma Spectrum Infusion Pump (Update A) | CVE-2022-26390 |  | The following versions of Sigma Spectrum Infusion systems are affected: Sigma Spectrum v6.x model 35700BAX Sigma Spectrum v8.x model 35700BAX2 Baxter Spectrum IQ (v9.x) model 35700BAX3 Sigma Spectrum LVP v6.x Wireless Battery Modules v16, v16D38, v17, v17D19, v20D29 to v20D32, and v22D24 to v22D28 Sigma Spectrum LVP v8.x Wireless Battery Modules v17, v17D19, v20D29 to v20D32, and v22D24 to v22D28 Baxter Spectrum IQ LVP (v9.x) with Wireless Battery Modules v22D19 to v22D28. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-26390
Baxter ExactaMix (Update A) | CVE-2020-12020 |  | The following versions of Baxter ExactaMix Systems are affected: ExactaMix EM2400 Versions 1.10; 1.11; 1.13; 1.14; ExactaMix EM1200 Versions 1.1; 1.2; 1.4; 1.5. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-12020
Baxter PrismaFlex and PrisMax (Update B) | CVE-2020-12036 |  | The following models and versions of Baxter medical systems are affected: PrismaFlex all versions PrisMax all versions prior to 3.x. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-12036
Baxter Phoenix Hemodialysis Delivery System (Update A) | CVE-2020-12048 |  | The following versions of the Phoenix Hemodialysis Delivery System are affected: Phoenix Hemodialysis Delivery System SW 3.36 and 3.40. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-12048
Baxter Life2000 Ventilation System | CVE-2020-8004 |  | The following Baxter (formerly Hillrom) products are affected: Life2000 Ventilation System: Version 06.08.00.00 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-8004
Baxter Welch Allyn Connex Spot Monitor | CVE-2024-1275 |  | The following Baxter (formerly manufactured by Hillrom) medical devices are affected: Welch Allyn Connex Spot Monitor (CSM): Versions 1.52 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-1275
Baxter ExactaMix (Update A) | CVE-2020-12008 | Baxter | The following versions of Baxter ExactaMix Systems are affected: ExactaMix EM2400 Versions 1.10; 1.11; 1.13; 1.14; ExactaMix EM1200 Versions 1.1; 1.2; 1.4; 1.5. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2020-12008
Baxter PrismaFlex and PrisMax (Update B) | CVE-2020-12035 | Baxter | The following models and versions of Baxter medical systems are affected: PrismaFlex all versions PrisMax all versions prior to 3.x. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2020-12035