## Horner
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Horner Automation Remote Compact Controller | CVE-2022-2640 |  | The following version of Remote Compact Controller (RCC) 972, an all-in-one I/O controller, is affected: RCC 972: Firmware Version 15.40. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-2640
Horner Automation Cscape and XL4, XL7 PLC | CVE-2026-6284 |  | Horner Automation Cscape: v10.0, Horner Automation XL7 PLC: v15.60, Horner Automation XL4 PLC: v16.32.0 | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-6284
Horner Automation Cscape | CVE-2019-13541 |  | Cscape 9.90 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-13541
Horner Automation Cscape EnvisionRV | CVE-2021-44462 |  | Horner Automation reports this vulnerability affects the following Cscape industrial remote viewing software products: Cscape EnvisionRV v4.50.3.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-44462
Horner Automation Cscape | CVE-2018-19005 | Horner | The following versions of Cscape - Control System Application programming software are affected: Cscape Version 9.80.75.3 SP3 and prior. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2018-19005
Horner Automation Cscape | CVE-2019-6555 | Horner | Horner Automation Cscap - control system application programming software versions affected: Cscape 9.80 SP4 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2019-6555
Horner Automation Cscape | CVE-2021-22663 | Horner | The following versions of Cscape - control system application programming software are affected: Cscape: All versions prior to 9.90 SP3.5. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2021-22663
Horner Automation Cscape | CVE-2021-22678 | Horner | The following versions of Cscape - control system application programming software are affected: Cscape: All versions prior to 9.90 SP4. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2021-22678
Horner Automation Cscape | CVE-2021-32975 | Horner | The following versions of Cscape, a control system application programming software, are affected: Cscape: All Versions prior to 9.90 SP5. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2021-32975
Horner Automation Cscape | CVE-2022-3379 | Horner | The following versions of Cscape, a PLC control software, are affected: Cscape Version 9.90 SP 6 and prior Cscape Version 9.90 SP 7 and prior (CVE-2022-3379 and CVE-2022-3378 only). |  | High | https://nvd.nist.gov/vuln/detail/CVE-2022-3379
Horner Automation Cscape | CVE-2023-29503 | Horner | The following versions of Horner Automation's Cscape are affected: Cscape: v9.90 SP8 Cscape EnvisionRV: v4.70. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-29503
Horner Automation Cscape | CVE-2023-7206 | Horner | The following Horner Automation products are affected: Cscape: Versions 9.90 SP10 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-7206
Horner Automation Cscape | CVE-2024-12212 | Horner | The following Horner Automation products are affected: Cscape: Versions 10.0.363.1 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-12212
Horner Automation Cscape | CVE-2025-4098 | Horner | The following versions of Horner Automation Cscape, a control system application programming software, are affected: Cscape: Version 10.0 (10.0.415.2) SP1. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-4098
Horner Automation Cscape | CVE-2026-12897 | Horner | Cscape <10.2_SP3 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2026-12897