## Inductive
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Inductive Automation Ignition Vulnerabilities | CVE-2015-0976 |  | Inductive Automation product versions affected: Inductive Automation Ignition 7.7.2. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2015-0976
Inductive Automation Ignition | CVE-2020-10641 |  | The following versions of Ignition 8 Gateway are affected if running the Perspective Module: Ignition 8 Gateway versions prior to 8.0.10. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10641
Inductive Automation Ignition (Update B) | CVE-2020-10644 |  | The following versions of Inductive Automation Ignition are affected: Inductive Automation Ignition 7 Gateway versions prior to 7.9.14 Inductive Automation Ignition 8 Gateway versions prior to 8.0.10. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10644
Inductive Automation Ignition 8 | CVE-2020-14520 |  | The following versions of Inductive Automation Ignition are affected: Inductive Automation Ignition 8: All versions prior to 8.0.13. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-14520
Inductive Automation Ignition (Update A) | CVE-2022-1704 |  | The following versions of Inductive Automation Ignition software are affected: -------- Begin Update A Part 1 of 1 --------- Inductive Automation Ignition: All versions from 8.1 to those prior to v8.1.8 Inductive Automation Ignition: All 7.9 versions prior to v7.9.21 --------- End Update A Part 1 of 1 --------- | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-1704
Inductive Automation Ignition Software | CVE-2025-13913 |  | Inductive Automation Ignition Software: <8.3.0 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13913
Inductive Automation Ignition | CVE-2022-1264 | Inductive | The following versions of Inductive Automation Ignition software are affected:Inductive Automation Ignition: All 8.0 versions after 8.0.4 Inductive Automation Ignition: All 8.1 versions prior to 8.1.1 |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2022-1264
Inductive Automation Ignition | CVE-2025-13911 | Inductive | Inductive Automation Ignition: 8.1.x¦8.3.x |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2025-13911