## Jtekt
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
JTEKT Kostac PLC | CVE-2023-22419 |  | The following versions of JTEKT ELECTRONICS Kostac PLC Programming Software are affected: JTEKT ELECTRONICS Kostac PLC Programing Software: Versions 1.6.9.0 and earlier. | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-22419
JTEKT Screen Creator Advance 2 | CVE-2023-22345 |  | The following versions of JTEKT ELECTRONICS Screen Creator Advance 2, a software program, are affected: JTEKT ELECTRONICS Screen Creator Advance 2: Ver0.1.1.4 Build01. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-22345
JTEKT TOYOPUC Products | CVE-2021-33011 | JTEKT | The following versions of these TOYOPUC products are affected: TOYOPUC-PC10 Series: PC10G-CPU TCC-6353: All versions PC10GE TCC-6464: All versions PC10P TCC-6372: All versions PC10P-DP TCC-6726: All v |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2021-33011