## Microdicom
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
MicroDicom DICOM Viewer | CVE-2024-28877 | MicroDicom | The following versions of MicroDicom DICOM Viewer, a medical image viewer, are affected: DICOM Viewer: Versions prior to 2024.2. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-28877
MicroDicom DICOM Viewer | CVE-2025-1002 | MicroDicom | The following MicroDicom DICOM Viewer are affected: MicroDicom DICOM Viewer: Version 2024.03. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2025-1002
MicroDicom DICOM Viewer | CVE-2025-35975 | MicroDicom | The following MicroDicom products are affected: DICOM Viewer: Versions 2025.1 (Build 3321) and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-35975
MicroDicom DICOM Viewer | CVE-2025-5943 | MicroDicom | The following MicroDicom products are affected: DICOM Viewer: Versions 2025.2 (Build 8154) and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-5943