## Westermo
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Westermo MRD-305-DIN, MRD-315, MRD-355, and MRD-455 | CVE-2017-12709 |  | The following Westermo router models and firmware versions are affected: MRD-305-DIN versions older than 1.7.5.0 and MRD-315 ¦ MRD-355 ¦ MRD-455 versions older than 1.7.5.0 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-12709
Westermo Lynx 206-F2G | CVE-2023-38579 |  | The following versions of Lynx 206-F2G, a layer three industrial Ethernet switch, are affected: Lynx: Model Version L206-F2G1 Lynx: Firmware Version 4.24. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-38579
Westermo L210-F2G | CVE-2024-32943 |  | The following versions of Westermo L210-F2G industrial ethernet switches are affected: L210-F2G Lynx: version 4.21.0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-32943
Westermo EDW-100 | CVE-2024-36080 |  | The following versions of Westermo EDW-100, a Serial to Ethernet converter, are affected: EDW-100: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-36080
Westermo Network Technologies WeOS 5 | CVE-2025-46418 |  | Westermo reports following versions of WeOS 5, an industrial network operating system, are affected: WeOS 5: Versions 5.24 and later. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-46418
Westermo MRD-305-DIN, MRD-315, MRD-355, and MRD-455 | CVE-2017-12703 | Westermo | The following Westermo router models and firmware versions are affected: MRD-305-DIN versions older than 1.7.5.0 and MRD-315 ¦ MRD-355 ¦ MRD-455 versions older than 1.7.5.0 |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2017-12703
Westermo Network Technologies WeOS 5 | CVE-2025-46419 | Westermo | Westermo reports following versions of WeOS 5, an industrial network operating system, are affected: WeOS 5: Versions 5.23.0 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-46419