## Honeywell
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Honeywell ControlEdge PLC and RTU | CVE-2020-10624 | Honeywell | The following versions of ControlEdge PLC and RTU are affected: ControlEdge PLC R130.2; R140; R150; and R151 ControlEdge RTU R101; R110; R140; R150; and R151. | PLC | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10624
Honeywell SoftMaster | CVE-2022-2333 | Honeywell | Honeywell reports these vulnerabilities affect the following SoftMaster desktop application, a PLC software application: SoftMaster: version 4.51. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-2333
Honeywell Experion PKS Directory Traversal Vulnerability | CVE-2007-6483 | Honeywell | Honeywell Experion PKS software releases versions affected: Release 310.x ¦ below | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2007-6483
Honeywell ScanServer ActiveX Control (Update A) | CVE-2011-0331 | Honeywell | Honeywell's ScanServer ActiveX control, which is a component of the Web Toolkit (Version 780.0.20.5) that is packaged with all versions of Honeywell SymmetrE. Web Toolkit may also be licensed separately for use with other software products. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2011-0331
Honeywell Midas Gas Detector Vulnerabilities | CVE-2015-7907 | Honeywell | Midas versions affected: Midas ¦ Version 1.13b1 and prior versions ¦Midas Black ¦ Version 2.13b1 and prior versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-7907
Honeywell Uniformance PHD Denial Of Service (Update A) | CVE-2016-2280 | Honeywell | Honeywell versions: Uniformance PHD ¦ versions prior to R310.1.1.2; Uniformance PHD ¦ versions prior to R320.1.0.2; and Uniformance PHD ¦ versions prior to R321.1.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-2280
Honeywell Experion PKS Improper Input Validation Vulnerability | CVE-2016-8344 | Honeywell | Experion PKS versions affected: Experion PKS ¦ Release 3xx and prior ¦Experion PKS ¦ Release 400 ¦Experion PKS ¦ Release 410 ¦Experion PKS ¦ Release 430 ¦ Experion PKS ¦ Release 431. | 工控系统漏洞 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2016-8344
Honeywell Mobile Computers with Android Operating Systems | CVE-2018-14825 | Honeywell | The following versions of Honeywell Mobile Computers (hand-held computers) are affected: CT60 running Android OS 7.1 ¦ CN80 running Android OS 7.1 ¦ CT40 running Android OS 7.1 ¦ CK75 running Android OS 6.0 ¦ CN75 running Android OS 6.0 ¦ CN75e running Android OS 6.0 ¦ CT50 running Android OS 6.0 ¦ D75e running Android OS 6.0 ¦ CT50 running Android OS 4.4 ¦ D75e running Android OS 4.4 ¦ CN51 running Android OS 6.0 ¦ EDA50k running Android 4.4 ¦ EDA50 running Android OS 7.1 ¦ EDA50k running Andro | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-14825
Honeywell INNCOM INNControl 3 | CVE-2020-6968 | Honeywell | The following versions of INNCOM INNControl 3 - energy management platform are affected: INNControl 3; Versions 3.21 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2020-6968
Honeywell WIN-PAK | CVE-2020-6978 | Honeywell | The following versions of WIN-PAK - a monitoring platform are affected: WIN-PAK 4.7.2; Web and prior versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-6978
Honeywell Experion PKS and ACE Controllers | CVE-2021-38395 | Honeywell | The following versions of Experion PKS, a process control system, are affected: C200: All versions C200E: All versions C300 and ACE controllers: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-38395
Matrikon OPC Server | CVE-2022-1261 | Honeywell | The following versions of Makitron OPC software are affected: Matrikon OPC Server: All versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-1261
Honeywell Trend Controls Inter-Controller Protocol | CVE-2022-30312 | Honeywell | The following versions of Trend Controls IQ Series IC, an industrial communication controller, are affected: IQ Series Controllers that utilize Inter-Controller (IC) protocol: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30312
Honeywell Safety Manager | CVE-2022-30316 | Honeywell | The following versions of Safety Manager, a safety solution of the Experion Process Knowledge System, are affected: Safety Manager: (CVE-2022-30315, CVE-2022-30313, and CVE-2022-30316) All versions Safety Manager: (CVE-2022-30314) Versions prior to R160.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30316
Honeywell Experion LX | CVE-2022-30317 | Honeywell | The following versions of Experion LX, a distributed control system (DCS), are affected: Experion LX: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30317
Honeywell ControlEdge | CVE-2022-30318 | Honeywell | The following versions of ControlEdge, a PLC, are affected: ControlEdge: All versions prior to 151.2. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30318
Honeywell Saia Burgess PG5 PCD | CVE-2022-30319 | Honeywell | The following versions of Saia Burgess PG5 PCD, a PLC, are affected: Saia Burgess PG5 PCD: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-30319
Honeywell Experion PKS, LX and PlantCruise | CVE-2023-23585 | Honeywell | Honeywell reports these vulnerabilities affect the following versions of Experion PKS, LX, and PlantCruise: Experion PKS: versions prior to R520.2 Experion LX: versions prior to R520.2 Experion PlantCruise: versions prior to R520.2. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-23585
Honeywell Experion PKS, Experion LX, PlantCruise by Experion, Safety Manager, Safety Manager SC | CVE-2023-5389 | Honeywell | Honeywell reports these vulnerabilities affect the following versions of Experion PKS, LX, PlantCruise, Safety Manager, and Safety Manager SC: Experion PKS: All releases prior to R510.2 HF14 Experion PKS: All releases prior to R511.5 TCU4 HF4 Experion PKS: All releases prior to R520.1 TCU5 Experion PKS: All releases prior to R520.2 TCU4 HF2 Experion LX: All releases prior to R511.5 TCU4 HF4 Experion LX: All releases prior to R520.1 TCU5 Experion LX: All releases prior to R520.2 TCU4 HF2 PlantCru | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-5389
Honeywell S35 Series 安全漏洞 | CVE-2025-12351 | Honeywell | Honeywell S35 Series |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-12351
Honeywell Experion PKS (Update A) | CVE-2025-2520 | Honeywell | Honeywell reports these vulnerabilities affect the following: Experion PKS: All releases prior to R520.2 TCU9 Hot Fix 1 Experion PKS: All releases prior to R530 TCU3 Hot Fix 1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-2520
Honeywell MB-Secure 安全漏洞 | CVE-2025-2605 | Honeywell | mb-secure firmware |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-2605
Honeywell IQ4 Series BMS Controller (Update A) | CVE-2026-3611 | Honeywell | Honeywell IQ4E Firmware: <v3.30, Honeywell IQ412 Firmware: <v3.30, Honeywell IQ422 Firmware: <v3.30, Honeywell IQ4NC Firmware: <v3.30, Honeywell IQ41x Firmware: <v3.30 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-3611
Honeywell HMIWeb Browser Buffer Overflow Vulnerability | CVE-2012-0254 | Honeywell | Honeywell Process Solutions: Experion Releases R400.x R31x R30x and R2xx Honeywell Building Solutions:Enterprise Building Manager Releases R400 and R410.1 and SymmetrE R410.1 release Honeywell Environmental Combustion & Controls andSymmetrE R410.1 release | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2012-0254
Honeywell NOTI-FIRE-NET Web Server (NWS-3) | CVE-2020-6972 | Honeywell | The following versions of Notifier Web Server (NWS) are affected: Version 3.50 and earlier. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-6972
Honeywell OneWireless Wireless Device Manager | CVE-2022-46361 | Honeywell | Honeywell reports these vulnerabilities affect the following versions of OneWireless WDM: All versions up to R322.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-46361
Honeywell OneWireless Wireless Device Manager 安全漏洞 | CVE-2023-5878 | Honeywell | Honeywell OneWireless Wireless Device Manager |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2023-5878
Honeywell OneWireless Wireless Device Manager (WDM) | CVE-2025-2521 | Honeywell | Honeywell reports these vulnerabilities affect the following: OneWireless WDM: All releases prior to R322.5 OneWireless WDM: All releases prior to R331.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-2521
Honeywell Performance IP Cameras and Performance NVRs | CVE-2019-13523 | Honeywell | Versions of Honeywell Performance IP Series cameras and Performance Series NVRs affected: HBD3PR2 H4D3PRV3 HED3PR3 H4D3PRV2 HBD3PR1 H4W8PR2 HBW8PR2 H2W2PC1M H2W4PER3 H2W2PER3 HEW2PER3 HEW4PER3B HBW2PER1 HEW4PER2 HEW4PER2B HEW2PER2 H4W2PER2 HBW2PER2 H4W2PER3 HPW2P1 Performance Series NVRs: HEN08104 HEN08144 HEN081124 HEN16104 HEN16144 HEN16184 HEN16204 HEN162244 HEN16284 HEN16304 HEN16384 HEN32104 HEN321124 HEN32204 HEN32284 HEN322164 HEN32304 HEN32384 HEN323164 HEN64204 HEN64304 HEN643164 HEN643 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-13523
Honeywell IP-AK2 | CVE-2019-13525 | Honeywell | IP-AK2 Access Control Panel Version 1.04.07 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-13525
Honeywell equIP and Performance Series IP Cameras and Recorders | CVE-2019-18226 | Honeywell | equIP Series Cameras and version: H2W2GR1 1.000.0000.19.20190819 ¦ H3W2GR1 1.000.HW00.21.20190812 ¦ H3W2GR1V 1.000.0000.19.20190819 ¦ H3W2GR2 1.000.HW00.21.20190812 ¦ H3W4GR1 1.000.HW00.21.20190812 ¦ H3W4GR1V 1.000.0000.19.20190819 ¦ H4D8GR1 2.420.HW00.12.20190819 ¦ H4L2GR1 2.420.HW01.33.20190812 ¦ H4L2GR1V 1.000.0000.19.20190819 ¦ H4L6GR2 1.000.HW02.8.20190813 ¦ H4W2GR1 1.000.HW00.21.20190812 ¦ H4W2GR1V 1.000.0000.19.20190819 ¦ H4W2GR2 1.000.HW00.21.20190812 ¦ H4W4GR1 1.000.HW00.21.20190812 ¦ H | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18226
Honeywell equIP Series IP Cameras | CVE-2019-18228 | Honeywell | Honeywell equIP Series IP camera products and versions affected: H4L2GR1 2.420.HW01.33.20190812 ¦ HBL2GR1 2.420.HW01.33.20190812 ¦ HCL2G 2.420.HW01.33.20190812 ¦ H4W2GR1 1.000.HW00.21.20190812 ¦ H4W2GR2 1.000.HW00.21.20190812 H4W4GR1 1.000.HW00.21.20190812 ¦ H3W2GR2 1.000.HW00.21.20190812 ¦ H3W4GR1 1.000.HW00.21.20190812 ¦ HBW2GR1 1.000.HW00.21.20190812 ¦ HBW4GR1 1.000.HW00.21.20190812 ¦ HBW2GR3 1.000.HW00.21.20190812 ¦ HCW2G 1.000.HW00.21.20190812 ¦ HCW4G 1.000.HW00.21.20190812. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-18228
Honeywell Maxpro VMS & NVR | CVE-2020-6960 | Honeywell | The following versions of MAXPRO VMS and NVR; video management systems are affected: MAXPRO VMS: HNMSWVMS prior to Version VMS560 Build 595 T2-Patch HNMSWVMSLT prior to Version VMS560 Build 595 T2-Patch MAXPRO NVR: MAXPRO NVR XE prior to Version NVR 5.6 Build 595 T2-Patch MAXPRO NVR SE prior to Version NVR 5.6 Build 595 T2-Patch MAXPRO NVR PE prior to Version NVR 5.6 Build 595 T2-Patch MPNVRSWXX prior to Version NVR 5.6 Build 595 T2-Patch. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-6960
Honeywell HIB2PI CCTV Camera (Update B) | CVE-2026-1670 | Honeywell | Honeywell I-HIB2PI-UL: vers:all/* | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-1670
Honeywell OPC UA Tunneller | CVE-2020-27274 | Honeywell | Honeywell reports the vulnerabilities affect the following Matrikon products: OPC UA Tunneller: All versions prior to 6.3.0.8233. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-27274
Honeywell equIP and Performance Series IP Cameras | CVE-2019-18230 | Honeywell | equIP Series Cameras and versions affected: H2W2GR1 1.000.0000.18.20190409 ¦ H3W2GR1 1.000.HW00.21.20190812 ¦ * H3W2GR1V 1.000.0000.18.20190409 ¦ H3W2GR2 1.000.HW00.21.20190812 ¦ H3W4GR1 1.000.HW00.21 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2019-18230
Honeywell Maxpro VMS & NVR | CVE-2020-6959 | Honeywell | The following versions of MAXPRO VMS and NVR; video management systems are affected: MAXPRO VMS: HNMSWVMS prior to Version VMS560 Build 595 T2-Patch HNMSWVMSLT prior to Version VMS560 Build 595 T2-Pat |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2020-6959
Rockwell Automation FactoryTalk存在漏洞，攻击者可利用该漏洞提升权限。影响FactoryTalk版本。 | CVE-2025-2522 | Honeywell |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-2522
Rockwell Automation FactoryTalk存在严重漏洞，攻击者可远程执行代码。影响FactoryTalk版本。 | CVE-2025-2523 | Honeywell |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-2523
Tridium Niagara存在远程代码执行漏洞，攻击者可执行任意系统命令。影响Niagara版本。 | CVE-2025-3946 | Honeywell |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-3946
Tridium Niagara存在远程代码执行漏洞，攻击者可执行任意系统命令。影响Niagara版本。 | CVE-2025-3947 | Honeywell |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2025-3947
ABB Ability存在漏洞，攻击者可利用该漏洞执行任意代码。影响Ability版本。 | CVE-2026-4272 | Honeywell |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2026-4272
Honeywell Experion存在漏洞，攻击者可利用该漏洞执行未授权操作。影响Experion版本。 | CVE-2026-13742 | Honeywell |  |  |  | https://nvd.nist.gov/vuln/detail/CVE-2026-13742