## Moxa
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Moxa MiiNePort Vulnerabilities (Update A) | CVE-2016-2295 | Moxa | MiiNePort versions affected: MiiNePort_E1_7080 Firmware Version 1.1.10 Build 09120714 ¦ MiiNePort_E1_4641 Firmware Version 1.1.10 Build 09120714 ¦ MiiNePort_E2_1242 Firmware Version 1.1 Build 10080614 ¦ MiiNePort_E2_4561 Firmware Version 1.1 Build 10080614 ¦ MiiNePort E3 Firmware Version 1.0 Build 11071409. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-2295
Moxa MiiNePort Session Hijack Vulnerabilities | CVE-2016-9344 | Moxa | Moxa affected versions of MiiNePort: MiiNePort E1 versions prior to 1.8 ¦MiiNePort E2 versions prior to 1.4 ¦ MiiNePort E3 versions prior to 1.1. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2016-9344
Moxa EDR-G902 and EDR-G903 Series Routers | CVE-2020-14511 | Moxa | The following Moxa Series routers are affected: EDR-G902 Series: firmware versions 5.4 and prior EDR-G903 Series: firmware versions 5.4 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-14511
Moxa MGate Protocol Gateways | CVE-2021-4161 | Moxa | The following firmware versions of MGate MB3000 Series, a serial-to-Ethernet Modbus gateway, are affected: MGate MB3180 Series: Firmware Version 2.2 or lower MGate MB3280 Series: Firmware Version 4.1 or lower MGate MB3480 Series: Firmware Version 3.2 or lower. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-4161
MOXA NPort 5110 | CVE-2022-2044 | Moxa | The following versions of the MOXA NPort 5110 device server are affected: NPort 5110: Firmware Versions 2.10. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-2044
Moxa UC Series (Update A) | CVE-2022-3086 | Moxa | The following bootloader versions of Moxa UC Series, industrial internet-of-things (IIoT) gateway devices, are affected: UC-8580 Series: V1.1 UC-8540 Series: V1.0 to V1.2 UC-8410A Series: V2.2 UC-8200 Series: V1.0 to V2.4 UC-8100A-ME-T Series: V1.0 to V1.1 --------- Begin Update A part 1 of 1 --------- UC-8100 Series: V1.2 --------- End Update A part 1 of 1 --------- UC-5100 Series: V1.2 UC-3100 Series: V1.2 to V2.0 UC-2100 Series: V1.3 to V1.5 UC-2100-W Series: V1.3 to V1.5. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-3086
Moxa MXsecurity Series | CVE-2023-33235 | Moxa | Moxa reports these vulnerabilities affect the following MXsecurity Series: MXsecurity Series: Software v1.0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-33235
MOXA EDS-508A 安全漏洞 | CVE-2024-12297 | Moxa | MOXA EDS-508A |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2024-12297
Moxa PT Switches 安全漏洞 | CVE-2024-7695 | Moxa | pt-7728 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2024-7695
Moxa多款产品 安全漏洞 | CVE-2024-9138 | Moxa | moxa edr-810 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2024-9138
MOXA多款产品 跨站脚本漏洞 | CVE-2025-0193 | Moxa | MOXA MGate 5121 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-0193
MOXA EDR-810 操作系统命令注入漏洞 | CVE-2025-0415 | Moxa | MOXA EDR-810 |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-0415
Moxa NPort 5000 Series 安全漏洞 | CVE-2025-15017 | Moxa | Moxa NPort 5000 Series |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-15017
Moxa Ethernet switches 安全漏洞 | CVE-2025-1679 | Moxa | Moxa Ethernet switches |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-1679
Moxa NPort 6100-G2 Series和Moxa NPort 6200-G2 Series 安全漏洞 | CVE-2025-1977 | Moxa | Moxa NPort 6100-G2 Series |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-1977
Moxa Utility for DRP-A100 Series 安全漏洞 | CVE-2025-5191 | Moxa | Moxa Utility for DRP-A100 Series |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-5191
Moxa MXsecurity Series 安全漏洞 | CVE-2025-9315 | Moxa | Moxa MXsecurity Series |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-9315