## Schneider Electric
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Schneider Electric Serial Modbus Driver Buffer Overflow (Update A) | CVE-2013-0662 | Schneider | Schneider Electric products bundle the Schneider Electric Modbus Serial Driver (ModbusDrv.exe) which is started when attempting to connect to a Programmable Logic Controller (PLC) via the serial port of a personal computer: TwidoSuite Versions 2.31.04 and earlier ¦ PowerSuite Versions 2.6 and earlier ¦ SoMove Versions 1.7 and earlier ¦ SoMachine Versions 2.0, 3.0 ¦ 3.1 ¦ 3.0 XS ¦ Unity Pro Versions 7.0 and earlier ¦ UnityLoader Versions 2.3 and earlier ¦ Concept Versions 2.6 SR7 and earlier ¦ Mo | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2013-0662
Schneider Electric MiCOM S1 Studio Improper Authorization Vulnerability | CVE-2013-0687 | Schneider | MiCOM S1 Studio Software - all versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2013-0687
Schneider Electric Trio J-Series Radio Encryption | CVE-2013-2782 | Schneider | Electric Trio J-Series Radio versions running Firmware Versions V3.6.0, V3.6.1, V3.6.2, and V3.6.3 are affected:TBURJR900-00002DH0TBURJR900-01002DH0TBURJR900-05002DH0TBURJR900-06002DH0TBURJR900-00002EH0TBURJR900-01002EH0TBURJR900-05002EH0TBURJR900-06002EH0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2013-2782
Schneider Electric Telvent SAGE RTU DNP3 Improper Input Validation Vulnerability | CVE-2013-6143 | Schneider | Schneider Electric versions affected: All versions released prior to December 1, 2013 ¦ Telvent SAGE 3030 C3413-500-001D3_P4 (Firmware from 2010) ¦ Telvent SAGE 3030 C3413-500-001F0_PB (Latest Firmware). | RTU | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2013-6143
Schneider Electric OFS Buffer Overflow Vulnerability | CVE-2014-0774 | Schneider | Schneider Electric OFS Test Client versions are affected: TLXCDSUOFS33 - V3.35 ¦ TLXCDSTOFS33 - V3.35 ¦ TLXCDLUOFS33 - V3.35 ¦ TLXCDLTOFS33 - V3.35 ¦ TLXCDLFOFS33 - V3.35. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-0774
Schneider Electric VAMPSET Buffer Overflow | CVE-2014-5407 | Schneider | VAMPSET v2.2.136 and all previous versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-5407
Schneider Electric VAMPSET Software Buffer Overflow Vulnerability | CVE-2014-8390 | Schneider | Schneider Electric affected products versions of VAMPSET: VAMPSET software ¦ V2.2.145 ¦ all previous versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-8390
Schneider Electric ProClima Command Injection Vulnerabilities | CVE-2014-8513 | Schneider | ProClima Version 6.0.1 and previous. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-8513
Schneider Electric Invensys Positioner Buffer Overflow Vulnerability | CVE-2014-9206 | Schneider | Schneider Electric product versions affected: DTM Version 3.1.6 ¦ all previous versions used with SRD 960 ¦ SRD 991 Control Valve Positioners. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-9206
Schneider Electric Modicon PLC文件包含漏洞 | CVE-2015-6461 | Schneider | Schneider Electric Modicon PLC | File Inclusion | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2015-6461
Schneider Electric Modicon PLC Vulnerabilities | CVE-2015-6462 | Schneider | Schneider Electric affected products versions of Modicon PLC: BMXNOC0401 ¦BMXNOE0100 ¦BMXNOE0110 ¦BMXNOE0110H ¦BMXNOR0200H ¦BMXP342020 ¦BMXP342020H ¦BMXP342030 ¦BMXP3420302 ¦BMXP3420302H ¦ BMXP342030H. | PLC | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2015-6462
Schneider Electric Telvent RTU Improper Ethernet Frame Padding Vulnerability | CVE-2015-6485 | Schneider | Schneider Electric Telvent RTUs affected products: Sage 3030M ¦ with firmware prior to C3414-500-S02J2; Sage 1410 ¦ with firmware prior to C3414-500-S02J2; Sage1430 ¦ with firmware prior to C3414-500-S02J2; Sage 1450 ¦ with firmware prior to C3414-500-S02J2; Land AC II-2 ¦ with firmware prior to C3414-500-S02J2; Sage 2300 ¦ with firmware prior to C3413-500-S01; and Sage 2400 ¦ with firmware prior to C3414-500-S02J2 (released March 2015.). | RTU | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2015-6485
Schneider Electric ProClima ActiveX Control Vulnerabilities | CVE-2015-7918 | Schneider | Schneider Electric affected versions of ProClima: Version 6.1 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2015-7918
Schneider Electric Conext ComBox | CVE-2017-6019 | Schneider | Schneider Electric reports that the vulnerability affects the following Conext ComBox solar battery monitor: Conext ComBox - model 865-1058: all firmware versions prior to V3.03 BN 830. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-6019
Schneider Electric U.motion Builder (Update A) | CVE-2017-9957 | Schneider | The following U.motion Builder Software versions are affected: U.motion Builder Versions 1.2.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9957
Schneider Electric IGSS Mobile | CVE-2017-9968 | Schneider | Schneider Electric reports that the vulnerabilities affect the following IGSS Mobile products: IGSS Mobile for Android ¦ version 3.01 and all versions prior andIGSS Mobile for iOS ¦ version 3.01 and all versions prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9968
Schneider Electric EcoStruxure Foxboro DCS | CVE-2018-12130 | Schneider | EcoStruxureTM Foxboro DCS V91 DCS Virtualization Server and H92 DCS Standard Workstation, Versions Intel Xeon Silver 4110, Intel Xeon W-2123 and prior. | DCS | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-12130
Schneider Electric SoMove Software and DTM Software Components | CVE-2018-7239 | Schneider | Schneider Electric reports the vulnerability affects the following SoMove software and DTM software components: SoMove software ¦ versions prior to 2.6.2ATV320 DTM ¦ versions prior to 1.1.6ATV340 DTM ¦ versions prior to 1.2.3ATV6xx DTM ¦ versions prior to 1.8.0ATV9xx DTM ¦ versions prior to 1.3.5AltivarDtm Library ¦ versions prior to 12.7.0ATV32 DTMATV71 DTMATV61 DTMATV LIFT DTMATV31/312 DTMATV212 DTMATV12 DTM. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7239
Schneider Electric U.motion Builder css.inc目录遍历漏洞 | CVE-2018-7763 | Schneider | Schneider Electric U.motion Builder | Path Traversal | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7763
Schneider Electric U.motion Builder目录遍历漏洞 | CVE-2018-7764 | Schneider | Schneider Electric U.motion Builder <1.3.4 | Path Traversal | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7764
Schneider Electric U.motion Builder track_import_export远程代码执行漏洞 | CVE-2018-7765 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7765
Schneider Electric U.motion Builder track_getdata远程代码执行漏洞 | CVE-2018-7766 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7766
Schneider Electric U.motion Builder editobject远程代码执行漏洞 | CVE-2018-7767 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7767
Schneider Electric U.motion Builder loadtemplate远程代码执行漏洞 | CVE-2018-7768 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7768
Schneider Electric U.motion Builder xmlserver远程代码执行漏洞 | CVE-2018-7769 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7769
Schneider Electric U.motion Builder sendmail email_attachment参数信息泄露漏洞 | CVE-2018-7770 | Schneider | Schneider Electric U.motion Builder <1.3.4 | Information Disclosure | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7770
Schneider Electric U.motion Builder editscript远程代码执行漏洞 | CVE-2018-7771 | Schneider | Schneider Electric U.motion Builder | Privilege Escalation | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7771
Schneider Electric U.motion Builder远程代码执行漏洞（CNVD-2018-07819） | CVE-2018-7772 | Schneider | Schneider Electric U.motion Builder <1.3.4 | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7772
Schneider Electric U.motion Builder nfcserver远程代码执行漏洞 | CVE-2018-7773 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7773
Schneider Electric U.motion Builder远程代码执行漏洞 | CVE-2018-7774 | Schneider | Schneider Electric U.motion Builder | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7774
Schneider Electric U.motion Builder信息泄露漏洞（CNVD-2018-07820） | CVE-2018-7775 | Schneider | Schneider Electric U.motion Builder <1.3.4 | Information Disclosure | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7775
Schneider Electric U.motion Builder信息泄露漏洞 | CVE-2018-7776 | Schneider | Schneider Electric U.motion Builder | Information Disclosure | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7776
Schneider Electric U.motion Builder远程代码执行漏洞（CNVD-2018-07816） | CVE-2018-7777 | Schneider | Schneider Electric U.motion Builder <1.3.4 | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7777
Schneider Electric U.motion Builder | CVE-2018-7787 | Schneider | The following U.motion Builder Software versions are affected: U.motion Builder versions prior to 1.3.4. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7787
Schneider Electric Software Update (SESU) (Update A) | CVE-2018-7799 | Schneider | Schneider Electric reports the vulnerability affects the following Software Update products: Schneider Electric Software Update (SESU) ¦ all versions prior to v2.2.0. For a list of products that can optionally install the software - please see Schneider Electric's security notice SEVD-2018-298-01 available at the following location: https: //www.schneider-electric.com/en/download/document/SEVD-2018-298-01. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7799
Schneider Electric EVLink Parking | CVE-2018-7800 | Schneider | Versions of EVLink Parking - electric vehicle charging station - affected: EVLink Parking Versions 3.2.0-12_v1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7800
Schneider Electric GUIcon Eurotherm | CVE-2018-7813 | Schneider | The following product is affected: Eurotherm by Schneider Electric GUIcon Version 2.0 (Gold Build 683.0). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7813
Schneider Electric Zelio Soft 2 | CVE-2018-7817 | Schneider | Schneider Electric products affected: Zelio Soft 2 Versions 5.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7817
Schneider Electric APC UPS Network Management Card 2信任管理问题漏洞 | CVE-2018-7820 | Schneider | Schneider Electric APC UPS Network Management Card 2 AOS 6.5.6 | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7820
Schneider Electric SoMachine Basic和Schneider Electric Modicon M221授权问题漏洞 | CVE-2018-7822 | Schneider | Schneider Electric Modicon M221 <V1.10.0.0; Schneider Electric SoMachine Basic | Authorization Issue | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7822
Schneider Electric SoMachine Basic和Schneider Electric Modicon M221输入验证错误漏洞 | CVE-2018-7823 | Schneider | Schneider Electric Modicon M221 <V1.10.0.0; Schneider Electric SoMachine Basic | Input Validation | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7823
Schneider Electric IIoT Monitor (Update A) | CVE-2018-7839 | Schneider | Schneider Electric IIoT Monitor - monitoring platform - versions affected: Versions 3.1.38 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7839
多款Schneider Electric产品缓冲区溢出漏洞（CNVD-2019-15197） | CVE-2018-7851 | Schneider | Schneider Electric Modicon Premium ; Schneider Electric 140CRA312xxx ; Schneider Electric Modicon M580 <V2.50; Schneider Electric BMxCRA312xx <V2.40; Schneider Electric Modicon M340 <3.01 | Buffer Overflow | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7851
PLC Cycle Time Influences (Update A) | CVE-2019-10953 | Schneider | Schneider Modicon M221 | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-10953
Schneider Electric BMX-NOR-0200H硬编码凭证漏洞 | CVE-2019-6812 | Schneider | Schneider Electric BMX-NOR-0200H <V1.7 IR 19 | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6812
多款Schneider Electric产品访问控制错误漏洞 | CVE-2019-6820 | Schneider | Schneider Electric Modicon M258 ; Schneider Electric Modicon LMC058 ; Schneider Electric Modicon LMC078 ; Schneider Electric PacDrive Eco ; Schneider Electric PacDrive Pro ; Schneider Electric PacDrive Pro2 ; Schneider Electric Modicon M200 ; Schneider Electric Modicon M221 ; Schneider Electric ATV IMC drive controller ; Schneider Electric Modicon M241 ; Schneider Electric Modicon M251 | Authorization Issue | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6820
Schneider Electric Modicon Controllers | CVE-2019-6821 | Schneider | Modicon products affected: Modicon M580 firmware versions prior to Version 2.30Modicon M340 firmware ¦ all versionsModicon Premium ¦ all firmware versions ¦ Modicon Quantum ¦ all firmware versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6821
Schneider Electric ProClima | CVE-2019-6823 | Schneider | ProClima building and automation control products: ProClima: all versions prior to 8.0.0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6823
Schneider Electric Modicon M580/BMENOC 0311/BMENOC 0321信息泄露漏洞（CNVD-2019-44958） | CVE-2019-6849 | Schneider | Schneider Electric Modicon M580 | Information Disclosure | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6849
Schneider Electric Modicon M580/BMENOC 0311/BMENOC 0321信息泄露漏洞 | CVE-2019-6850 | Schneider | Schneider Electric Modicon M580 | Information Disclosure | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6850
Fazecast jSerialComm | CVE-2020-10626 | Schneider | The following versions of jSerialComm - a platform-independent serial communication for Java are affected: Version 2.2.2 and prior Schneider Electric reports the vulnerability affects the following EcoStruxure IT Gateway versions: Versions 1.5.x; 1.6.x; 1.7.x CISA will update this document as more mitigations are identified by affected vendors. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10626
Schneider Electric Modicon M221 Programmable Logic Controller | CVE-2020-28214 | Schneider | Schneider Electric reports these vulnerabilities affect the following Modicon products: Modicon M221: All versions. | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-28214
Schneider Electric Easergy T300 | CVE-2020-28215 | Schneider | Schneider Electric reports this vulnerability affects the following firmware versions of the Easergy T300 products: Easergy T300 with firmware Versions 2.7 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-28215
Schneider Electric ProSoft Configurator代码问题漏洞 | CVE-2020-7474 | Schneider | Schneider Electric ProSoft Configurator <=v1.002 | Misconfiguration | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7474
Schneider Electric APC Easy UPS On-Line | CVE-2020-7522 | Schneider | The following versions of APC Easy UPS On-Line Software are affected: SFAPV9601 v2.0 and earlier. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7522
Schneider Electric C-Bus Toolkit | CVE-2021-22716 | Schneider | The following versions of C-Bus Toolkit are affected: C-Bus Toolkit v1.15.7 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22716
Schneider Electric Modicon X80 | CVE-2021-22749 | Schneider | The following versions of Modicon X80 are affected: Modicon X80 BMXNOR0200H RTU SV1.70 IR22 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22749
Schneider Electric PowerLogic PM55xx and PowerLogic PM8ECC | CVE-2021-22763 | Schneider | The following versions of PowerLogic PM55xx power metering devices and PowerLogic PM8ECC ethernet communication module are affected: PM5560: Versions prior to v2.7.8 PM5561: Versions prior to v10.7.3 PM5562: v2.5.4 and prior PM5563: Versions prior to v2.7.8 PM8ECC: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22763
Schneider Electric Enerlin'X Com'X 510 | CVE-2021-22769 | Schneider | The following versions of Enerlin'X Com'X 510 energy servers are affected: Enerlin'X Com'X 510: All versions prior to v6.8.4. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22769
Schneider Electric GUIcon | CVE-2021-22807 | Schneider | The following versions of GUIcon software are affected GUIcon: Versions 2.0 (Build 683.003) and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22807
Schneider Electric NMC cards and Embedded Devices | CVE-2021-22810 | Schneider | The following products are affected, see Schneider Electric's Security Notification SEVD-2021-313-03 for more details on the affected products: Uninterruptible Power Supply (UPS) Products 1-Phase Uninterruptible Power Supply (UPS) using NMC2, including Smart-UPS, Symmetra, and Galaxy 3500 with Network Management Card 2 (NMC2): NMC2 AOS v6.9.8 and prior 3-Phase Uninterruptible Power Supply (UPS) using NMC2, including Symmetra PX 250/500 (SYPX) Network Management Card 2 (NMC2): NMC2 AOS v6.9.6 and | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22810
Schneider Electric Rack PDU | CVE-2021-22825 | Schneider | The following products of the Rack Power Distribution Unit (PDU) are affected: AP7xxxx and AP8xxx with NMC2: v6.9.6 and prior AP7xxx and AP8xxx with NMC3: v1.1.0.3 and prior APDU9xxx with NMC3: v1.0.0.28 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22825
Schneider Electric Communication Modules for Modicon M580 and Quantum controllers (Update B) | CVE-2021-29999 | Schneider | Schneider Electric reports the following communication modules for Modicon M580 and Quantum controllers are affected by a vulnerability in VxWorks operating system: Modicon M580 communication modules BMENOC BMENOC0321: Versions prior to SV1.10 Modicon M580 communication modules BMECRA BMECRA31210: Versions prior to SV02.80 Modicon M580/Quantum communication modules BMXCRA BMXCRA31200: Versions prior to SV02.80 Modicon M580/Quantum communication modules BMXCRA BMXCRA31210: Versions prior to SV02. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-29999
Schneider Electric Easergy P5 and P3 (Update A) | CVE-2022-22722 | Schneider | The following versions of Easergy P5, a medium voltage protection relay, are affected: --------- Begin Update A Part 2 of 4 --------- All firmware versions prior to v01.401.102 --------- End Update A Part 2 of 4 --------- The following versions of Easergy P3, a medium voltage protection relay, are affected: All versions prior to v30.205. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-22722
Schneider Electric APC Easy UPS Online | CVE-2022-42970 | Schneider | The following versions of APC Easy UPS Online, an uninterruptible power supply (UPS) monitoring software, are affected: APC Easy UPS Online Version 2.5-GA and prior (Windows 7, 10, 11, Windows Server 2016, 2019, 2022) APC Easy UPS Online Version 2.5-GA-01-22261 and prior (Windows 11, Windows Server 2019, 2022). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-42970
Schneider Electric EcoStruxure Products, Modicon PLCs, and Programmable Automation Controllers | CVE-2022-45788 | Schneider | EcoStruxure Control Expert: All versions prior to V15.3 EcoStruxure Process Expert: Version V2020 and prior Modicon M340 CPU (part numbers BMXP34*): All versions prior to SV3.51 Modicon M580 CPU (part numbers BMEP* and BMEH*): All versions prior to SV4.10 Modicon M580 CPU Safety (part numbers BMEP58*S and BMEH58*S): All versions Modicon Momentum Unity M1E Processor (171CBU*): All versions prior to SV2.6 Modicon MC80 (BMKC80): All versions Legacy Modicon Quantum (140CPU65*) and Premium CPUs (TSXP | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-45788
Schneider Electric EcoStruxure Control Expert and Modicon M340, Momentum, MC80, M580 and M580 CPU Safety (Update A) | CVE-2022-45789 | Schneider | Schneider Electric EcoStruxure Control Expert: <V16.2_HF003, Schneider Electric Modicon M340 CPU ("part numbers BMXP34*"): <SV3.70, Schneider Electric Modicon M580 CPU ("part numbers BMEP* and BMEH*"): <SV4.20, Schneider Electric Modicon M580 CPU Safety ("part numbers BMEP58*S and BMEH58*S"): <SV4.21, Schneider Electric Modicon Momentum Unity M1E Processor ("171CBU*"): <SV2.90, Schneider Electric Modicon MC80 (BMKC80): vers:all/* | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-45789
Schneider Electric APC Easy UPS Online Monitoring Software (Update A) | CVE-2023-29411 | Schneider | The following versions of Easy UPS Online Monitoring Software for Windows 10, 11, Windows Server 2016, 2019, 2022 are affected: APC Easy UPS Online Monitoring Software: v2.5-GA-01-22261 and prior Schneider Electric Easy UPS Online Monitoring Software: Version V2.5-GA-01-22320 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-29411
Schneider Electric SpaceLogic C-Bus Toolkit | CVE-2023-5402 | Schneider | The following Schneider Electric products are affected: SpaceLogic C-Bus Toolkit: Versions 1.16.3 and prior | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-5402
Schneider Electric Easy UPS Online Monitoring Software | CVE-2023-6407 | Schneider | Schneider Electric reports that the following versions of Easy UPS Online Monitoring Software are affected: Easy UPS Online Monitoring Software (Windows 10, 11, Windows Server 2016, 2019, 2022): 2.6-GA-01-23116 and prior | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-6407
Schneider Electric EcoStruxure Control Expert, EcoStruxure Process Expert, and Modicon M340, M580 and M580 Safety PLCs (Update A) | CVE-2023-6408 | Schneider | Modicon M340 CPU (part numbers BMXP34*) Versions prior to sv3.60, Modicon M580 CPU (part numbers BMEP* and BMEH* excluding M580 CPU Safety) Versions prior to sv4.20, Modicon M580 CPU Safety (part numbers BMEP58*S and BMEH58*S) Versions prior to SV4.21, EcoStruxure Control Expert Versions prior to v16.0, EcoStruxure Process Expert Versions prior to v2023, Modicon MC80 (part numbers BMKC80) All Versions | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-6408
Schneider Electric Easergy Studio | CVE-2023-7032 | Schneider | The following versions of Schneider Electric Easergy Studio, a power relay protection control software, are affected: Easergy Studio: Versions prior to v9.3.5. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-7032
Schneider Electric Power Logic | CVE-2024-10497 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Power Logic: v0.62.7 (CVE-2024-10497) Schneider Electric Power Logic: v0.62.7 and prior (CVE-2024-10498). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-10497
Schneider Electric EcoStruxure IT Gateway | CVE-2024-10575 | Schneider | Schneider Electric reports that the following versions of EcoStruxure IT Gateway are affected: EcoStruxure IT Gateway: 1.21.0.6 EcoStruxure IT Gateway: 1.22.0.3 EcoStruxure IT Gateway: 1.22.1.5 EcoStruxure IT Gateway: 1.23.0.4. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-10575
Schneider Electric Modicon M580 PLCs, BMENOR2200H and EVLink Pro AC (Update A) | CVE-2024-11425 | Schneider | The following versions of Modicon M580 PLCs, BMENOR2200H and EVLink Pro AC are affected: Modicon M580 CPU (part numbers BMEP* and BMEH*, excluding M580 CPU Safety): Versions prior to SV4.30 Modicon M580 CPU Safety (part numbers BMEP58-S and BMEH58-S): Versions prior to SV4.21 BMENOR2200H: Versions prior to SV4.02.01 EVLink Pro AC: Versions prior to v1.3.10. | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-11425
Schneider Electric Modicon (Update B) | CVE-2024-11737 | Schneider | Schneider Electric reports that the following products are affected: Modicon Controllers M241: Versions prior to 5.2.11.29 Modicon Controllers M251: Versions prior to 5.2.11.29 Modicon Controllers M258: Versions prior to 5.0.4.19 Modicon Controllers LMC058: Versions prior to 5.0.4.19. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-11737
Schneider Electric Modicon M340 and BMXNOE0100/0110, BMXNOR0200H (Update B) | CVE-2024-12142 | Schneider | Schneider Electric Modicon M340 processors (part numbers BMXP34*): <SV3.70, Schneider Electric BMXNOE0100 Modbus/TCP Ethernet Modicon M340 module: <SV3.60, Schneider Electric BMXNOE0110 Modbus/TCP Ethernet Modicon M340 FactoryCast module: <SV6.80, Schneider Electric BMXNOR0200H Ethernet / Serial RTU module: <SV1.70IR26, Schneider Electric Modicon M340 Firmware Versions prior to SV3.70 installed on Modicon M340 processors (part numbers BMXP34*): vers:all/*, Schneider Electric Modicon M340 Firmwar | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-12142
Schneider Electric Web Designer for Modicon | CVE-2024-12476 | Schneider | The following versions of Web Designer for Modicon are affected: Web Designer for BMXNOR0200H: All versions Web Designer for BMXNOE0110(H): All versions Web Designer for BMENOC0311(C): All versions Web Designer for BMENOC0321(C): All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-12476
Schneider Electric FoxRTU Station | CVE-2024-2602 | Schneider | Schneider Electricreports that the following products are affected: FoxRTU Station: < 9.3.0. | RTU | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-2602
Schneider Electric Sage Series | CVE-2024-37036 | Schneider | Schneider Electric reports that the following products are affected: Sage 1410: Versions C3414-500-S02K5_P8 and prior Sage 1430: Versions C3414-500-S02K5_P8 and prior Sage 1450: Versions C3414-500-S02K5_P8 and prior Sage 2400: Versions C3414-500-S02K5_P8 and prior Sage 4400: Versions C3414-500-S02K5_P8 and prior Sage 3030 Magnum: Versions C3414-500-S02K5_P8 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-37036
Schneider Electric Modicon M340, BMXNOE0100, and BMXNOE0110 (Update A) | CVE-2024-5056 | Schneider | Modbus/TCP Ethernet Modicon M340 module Versions prior to SV3.60, Modbus/TCP Ethernet Modicon M340 FactoryCast module Versions prior to SV6.80 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-5056
Schneider Electric Wiser Home Controller WHC-5918A | CVE-2024-6407 | Schneider | Schneider Electric reports the following products are affected: Wiser Home Controller WHC-5918A: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-6407
Schneider Electric Accutech Manager | CVE-2024-6918 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Accutech Manager: Versions 2.08.01 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-6918
Schneider Electric EVlink Home Smart and Schneider Charge | CVE-2024-8070 | Schneider | Schneider Electric reports that the following EVlink Home Smart and Schneider Charge charging stations are affected: EVlink Home Smart: All versions prior to 2.0.6.0.0 Schneider Charge: All versions prior to 1.13.4. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8070
Schneider Electric Data Center Expert | CVE-2024-8530 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Data Center Expert: 8.1.1.3 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8530
Schneider Electric Modicon M340, MC80, and Momentum Unity M1E & EcoStruxure (Update A) | CVE-2024-8933 | Schneider | EcoStruxureâ„¢ Control Expert Versions prior to 16.2 HF003 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8933
Schneider Electric Modicon M340, MC80, and Momentum Unity M1E (Update B) | CVE-2024-8936 | Schneider | Modicon M340 CPU (part numbers BMXP34*), Versions prior to SV3.65 (CVE-2024-8936, CVE-2024-8937, CVE-2024-8938); Modicon MC80 (part numbers BMKC80), Versions prior to SV2.1 (CVE-2024-8937, CVE-2024-8938); Modicon Momentum Unity M1E Processor (171CBU*), Versions prior to SV2.80 (CVE-2024-8937, CVE-2024-8938). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8936
Schneider Electric Enerlin’X IFE and eIFE | CVE-2025-0814 | Schneider | The following versions of Enerlin'X IFE interface and Enerlin'X eIFE are affected: Enerlin'X IFE interface: All versions Enerlin'X eIFE: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-0814
Schneider Electric ASCO 5310/5350 Remote Annunciator | CVE-2025-1058 | Schneider | Schneider Electric reports the following products are affected: Schneider Electric ASCO 5310 Single-Channel Remote Annunciator: All versions Schneider Electric ASCO 5350 Eight Channel Remote Annunciator: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-1058
Schneider Electric Modicon M241, M251, and M262 | CVE-2025-13901 | Schneider | Schneider Electric Modicon M241 versions prior to 5.4.13.12: Modicon_Controller_M241, Schneider Electric Modicon M251 versions prior to 5.4.13.12: Modicon_Controller_M251, Schneider Electric Modicon M262 versions prior to 5.4.10.12: Modicon_Controller_M262 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13901
Schneider Electric Modicon Controllers M241, M251, M258, and LMC058 | CVE-2025-13902 | Schneider | Schneider Electric Modicon M241 versions prior to 5.4.13.12: Modicon_Controller_M241, Schneider Electric Modicon M251 versions prior to 5.4.13.12: Modicon_Controller_M251, Schneider Electric Modicon Controllers M258 all firmware versions: Modicon_Controllers_M258, Schneider Electric Modicon Controllers LMC058 all firmware versions: Modicon_Controllers_LMC058 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13902
Pingvin Share 代码问题漏洞 | CVE-2025-22137 | Schneider | Pingvin Share |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-22137
Schneider Electric ConneXium Network Manager | CVE-2025-2222 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric ConneXium Network Manager: Version 2.0.01 (CVE-2025-2222) Schneider Electric ConneXium Network Manager: All versions (CVE-2025-2223). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-2222
Schneider Electric Trio Q Licensed Data Radio | CVE-2025-2440 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Trio Q Licensed Data Radio: Versions prior to 2.7.2. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-2440
Schneider Electric Modicon Controllers (Update B) | CVE-2025-2875 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Modicon Controllers M241: Versions prior to 5.3.12.48 Schneider Electric Modicon Controllers M251: Versions prior to 5.3.12.48 Schneider Electric Modicon Controllers M258: Versions prior to 5.0.4.19 Schneider Electric Modicon Controllers LMC058: Versions prior to 5.0.4.19. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-2875
Schneider Electric Galaxy VS, Galaxy VL, Galaxy VXL (Update A) | CVE-2025-32433 | Schneider | The following versions of Schneider Electric products are affected: Galaxy VS: Versions prior to v6.118.0 and prior Galaxy VL: Versions prior to v18.5.0 and prior Galaxy VXL: Versions prior to v15.21.0 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-32433
Schneider Electric Plant iT/Brewmaxx | CVE-2025-49844 | Schneider | Schneider Electric Plant iT/Brewmaxx: 9.60_and_above | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-49844
Schneider Electric SESU | CVE-2025-5296 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric SESU: <3.0.12 Schneider Electric SESU installed on Schneider Electric BESS ANSI: SESU versions prior to 3.0.12 Schneider Electric SESU installed on Schneider Electric Easergy MiCOM P30: SESU versions prior to 3.0.12 Schneider Electric SESU installed on Schneider Electric Easergy MiCOM P40: SESU versions prior to 3.0.12 Schneider Electric SESU installed on Schneider Electric Easergy Studio: SESU versions prior | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-5296
Schneider Electric EVLink WallBox (Update A) | CVE-2025-5740 | Schneider | Schneider Electric reports that the following products are affected: EVLink WallBox: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-5740
Schneider Electric Modicon M340 Controller and Communication Modules (Update A) | CVE-2025-6625 | Schneider | Modicon M340 Firmware vers:generic/ ¦ Modicon M340 Controller () ¦ Ethernet / Serial RTU Module vers:all/* (CVE-2025-6625) ¦ M580 Global Data module vers:all/* (CVE-2025-6625) ¦ Modicon M340 X80 Ethernet Communication modules vers:all/* (CVE-2025-6625) ¦ Modbus/TCP Ethernet Modicon M340 module vers:intdot/<3.60 (CVE-2025-6625) ¦ Modbus/TCP Ethernet Modicon M340 module 3.60 () ¦ Modbus/TCP Ethernet Modicon M340 FactoryCast module vers:intdot/<6.80 (CVE-2025-6625) ¦ Modbus/TCP Ethernet Modicon M34 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-6625
Schneider Electric Multiple Altivar Process Drives and Communication Modules (Update B) | CVE-2025-7746 | Schneider | ATVdPAC module vers:intdot/<25.0, 25.0 ¦ Altivar Process Drives vers:intdot/<4.5, 4.5 ¦ ILC992 InterLink Converter vers:all/* ¦ Altivar Machine Drives vers:intdot/<4.5 ¦ Altivar Soft Starter vers:generic/<1.2ie05, 1.2ie05 ¦ Altivar Process Communication Modules vers:all/* ¦ Altivar Process Communication Modules vers:all/* | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-7746
Schneider Electric Saitel DR & Saitel DP Remote Terminal Unit | CVE-2025-8453 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Saitel DR RTU: versions 11.06.29 and prior Schneider Electric Saitel DP RTU: versions 11.06.34 and prior. | RTU | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-8453
Schneider Electric EasyLogic T150 and Saitel DP RTU | CVE-2026-9650 | Schneider | EasyLogic T150 (formerly Saitel DR) Remote Terminal Unit & Controller <=11.06.30 ¦ EasyLogic T150 (formerly Saitel DR) Remote Terminal Unit & Controller <=11.06.31 ¦ Saitel DP Remote Terminal Unit & Controller <=11.06.35 ¦ Saitel DP Remote Terminal Unit & Controller <=11.06.37 | RTU | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-9650
ClearScada Vulnerabilities (Update A) | CVE-2011-3143 | Schneider | ClearSCADA 2005 (all versions) ClearSCADA 2007 (all versions) ClearSCADA 2009 (all versions except R2.3 and R1.4) SCX Version 67 R4.5SCX Version 68 R3.9 | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2011-3143
Schneider Electric UnitelWay Buffer Overflow | CVE-2011-3330 | Schneider | Platform Unity Pro Version 6 and prior Windows XP OPC Factory Server Version 3.34 Windows XP Vijeo Citect Version 7.20 and prior Windows XP Telemecanique Driver PackVersion 2.6 and prior Windows XP Monitor Pro Version 7.6 and prior Windows XP PL 7 Pro Version 4.5 and prior Windows XP These six products are known to have the vulnerable UnitelWay Windows Device Driver and are elements of Schneider Electric SoCollaborative software components. These components are part of Schneider Electric process | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2011-3330
Schneider Electric Vijeo Historian Web Server Multiple Vulnerabilities | CVE-2011-4033 | Schneider | Vijeo Historian V4.30 and earlier Citect Historian V4.30 and earlier CitectSCADA Reports V4.10 and earlier | 上位机软件 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2011-4033
Schneider Electric Authenticated Communication Risk Vulnerability | CVE-2013-0655 | Schneider | Schneider Electric SESU mechanism: Unity Pro V5.0 L M S XL Unity Pro V6.0 L M S XL Unity Pro V6.1 L M S XL Unity Pro V0 L M S XL XLS ¦ Vijeo Designer V6.0.x V6.1.0.x V5.0.0.x V5.1.0.x ¦ Vijeo Designer Opti V6.0.x V5.1.0.x V5.0.0.x ¦ Web Gate Client Files V5.1.x IDS V1.0 V2.0 ¦ PowerSuite 2.5 ¦ Smart Widget Acti 9 V1.0.0.0 ¦ Smart Widget H8035 V1.0.0.0 ¦ Smart Widget H8036 V1.0.0.0 ¦ Smart Widget PM201 V1.0.0.0 ¦ Smart Widget PM710 V1.0.0.0 ¦ Smart Widget PM750 V1.0.0.0 ¦ SoMachine V1.2.1 ¦ Spaca | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2013-0655
Schneider Electric Magelis XBT HMI控制器远程安全绕过漏洞 | CVE-2013-2672 | Schneider | Schneider Electric Magelis XBT HMI controller | Misconfiguration | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2013-2672
Schneider Electric Magelis XBT HMI控制器默认密码漏洞 | CVE-2013-2762 | Schneider | Schneider Electric Magelis XBT HMI controller | Misconfiguration | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2013-2762
Schneider Electric Wonderware Intelligence Security Patch for OpenSSL Vulnerability | CVE-2014-0160 | Schneider | Web Server & CLI vulnerabilities: VxWorks Versions 5.5 through 6.9 and SSH vulnerabilities: VxWorks Versions 6.5 through 6.9 ¦GE reports the vulnerabilities affect the following D20MX versions: D20MX v1.0-1.6.2. | 上位机软件 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-0160
Schneider Electric Floating License Manager Vulnerability | CVE-2014-0759 | Schneider | Schneider Electric Floating License Manager Versions V1.0.0 through V1.4.0. This license manager is used in five Schneider Electric Products. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-0759
Schneider Electric OPC Factory Server Buffer Overflow | CVE-2014-0789 | Schneider | Schneider Electric versions of OFS: TLXCDSUOFS33 - V3.5 and previous ¦ TLXCDSTOFS33 - V3.5 and previous ¦ TLXCDLUOFS33 - V3.5 and previous ¦ TLXCDLTOFS33 - V3.5 and previous ¦ TLXCDLFOFS33 - V3.5 and previous. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-0789
Schneider Electric Wonderware Vulnerabilities | CVE-2014-5398 | Schneider | Wonderware Information Server 4.0 SP1 Portal ¦ Wonderware Information Server 4.5 Portal ¦ Wonderware Information Server 5.0 Portal and Wonderware Information Server 5.5 Portal. | 上位机软件 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2014-5398
Schneider Electric Wonderware InTouch Access Anywhere Server Buffer Overflow Vulnerability | CVE-2014-9190 | Schneider | Wonderware InTouch Access Anywhere Server versions affected: InTouch Access Anywhere Server ¦ Version 10.6 ¦ InTouch Access Anywhere Server ¦ Version 11.0. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-9190
Schneider Electric Multiple Products Buffer Overflow Vulnerability | CVE-2014-9200 | Schneider | The following Schneider Electric software platforms are installed with an affected Device Type Managers (DTMs) with an affected DLL: Unity Pro ¦ all versions ¦ SoMachine ¦ all versions ¦SoMove ¦ all versions ¦SoMove Lite ¦ all versions. Schneider Electric DTM libraries versions affected: Modbus Communication Library ¦ Version 2.2.6 and prior ¦ CANopen Communication Library ¦ Version 1.0.2 and prior ¦ EtherNet/IP Communication Library ¦ Version 1.0.0 and prior ¦ EM X80 Gateway DTM (MB TCP/SL) ¦ A | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-9200
Schneider Electric OFS Server Vulnerability (Update A) | CVE-2015-1014 | Schneider | OPC Factory Server versions affected: OPC Factory Server (OSF) Version 3.5 and all previous versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2015-1014
Schneider Electric Wonderware System Platform Vulnerabilities | CVE-2015-3940 | Schneider | Schneider Electric version versions affected: Wonderware System Platform 2014 R2 and prior versions. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-3940
Schneider Electric StruxureWare Building Expert Plaintext Credentials Vulnerability | CVE-2015-3962 | Schneider | Schneider Electric affected products versions of StruxureW Building Expert: StruxureW Building Expert ¦ multi-purpose management device (MPM) versions prior to 2.15. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-3962
Schneider Electric InduSoft Web Studio Remote Agent组件代码执行漏洞 | CVE-2015-7374 | Schneider | Schneider Electric InduSoft Web Studio Remote Agent | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-7374
Schneider Electric InduSoft Web Studio任意代码执行漏洞 | CVE-2015-7375 | Schneider | Schneider Electric InduSoft Web Studio <8.0 | Remote Code Execution | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-7375
Schneider Electric Building Operation Automation Server Vulnerability | CVE-2016-2278 | Schneider | Schneider Electric affected products: StruxureWare Building Operations line: Automation Server ¦ V1.7.0 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-2278
Schneider Electric SoMachine HVAC Unsafe ActiveX Control Vulnerability | CVE-2016-4529 | Schneider | Schneider Electric affected products: SoMachine HVAC-Application Version 2.0.2 and previous. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-4529
Schneider Electric Unity PRO Control Flow Management Vulnerability | CVE-2016-8354 | Schneider | Schneider Electric versions of Unity PRO: Unity PRO ¦ all versions prior to V11.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-8354
Schneider Electric Magelis HMI Resource Consumption Vulnerabilities (Update B) | CVE-2016-8374 | Schneider | Schneider Electric versions of Magelis HMI: Magelis GTO Advanced Optimum Panels ¦ all versions ¦Magelis GTU Universal Panel ¦ all versions ¦Magelis STO5xx and STU Small panels ¦ all versions ¦Magelis XBT GH Advanced Hand -held Panels ¦ all versions ¦Magelis XBT GK Advanced Touchscreen Panels with Keyboard ¦ all versions ¦Magelis XBT GT Advanced Touchscreen Panels ¦ all versions ¦ Magelis XBT GTW Advanced Open Touchscreen Panels (Windows XPe). | HMI | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2016-8374
Schneider Electric InduSoft Web Studio, InTouch Machine Edition | CVE-2017-13997 | Schneider | Schneider Electric reports that the vulnerability affects the following InduSoft Web Studio products: InduSoft Web Studio v8.0 SP2 or prior and InTouch Machine Edition v8.0 SP2 or prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-13997
Schneider Electric Wonderware Historian | CVE-2017-5155 | Schneider | The following Wonderware Historian versions are affected: Wonderware Historian 2014 R2 SP1 P01 and earlier. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-5155
Schneider Electric Wonderware Intelligence | CVE-2017-5178 | Schneider | The following versions of Wonderware Intelligence - operations management software are affected: Tableau Server/Desktop Versions 7.0 to 10.1.3 included in Wonderware Intelligence Versions 2014R3 and prior. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-5178
Schneider Electric Floating License Manager | CVE-2017-5571 | Schneider | The following products use the vulnerable Schneider Electric Floating License Manager - license management platform: SCADA Expert Vijeo Citect / CitectSCADA Version 7.30 ¦ 7.40 ¦ CitectSCADA Version 2015 ¦ 2016 ¦ Vijeo Historian/CitectHistorian Version 4.40 ¦ 4.50 ¦ CitectHistorian Version 2016 ¦ Citect Anywhere ¦ PlantStruxure PES V4.3 SP1 and prior and EcoStruxure Modicon Builder V3.0 and prior. The following products are only affected by CVE-2016-10395: EcoStruxure Power Monitoring Expert 8.2 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-5571
Schneider Electric Interactive Graphical SCADA System Software | CVE-2017-6033 | Schneider | Schneider Electric reports that the vulnerability affects the following IGSS HMI desktop application: IGSS Software ¦ Version 12 and previous versions. | SCADA | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-6033
Schneider Electric Wonderware Historian Client | CVE-2017-7907 | Schneider | The following versions of Wonderware Historian Client - analysis and reporting software are affected: Wonderware Historian Client 2014 R2 SP1 and prior. | 上位机软件 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7907
Schneider Electric SoMachine HVAC | CVE-2017-7965 | Schneider | The following version of SoMachine HVAC - PLC programming software is affected: SoMachine HVAC Versions 2.1.0 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7965
Schneider Electric VAMPSET | CVE-2017-7967 | Schneider | Schneider Electric reports that the vulnerability affects the following VAMPSET setting and configuration software products: VAMPSET ¦ versions prior to v2.2.189. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7967
Schneider Electric Wonderware InduSoft Web Studio | CVE-2017-7968 | Schneider | The following versions of Schneider Electric's Wondeware InduSoft Web Studio are affected: Wonderware InduSoft Web Studio v8.0 Patch 3 and prior versions. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7968
Schneider Electric PowerSCADA Anywhere and Citect Anywhere | CVE-2017-7970 | Schneider | Schneider Electric reports that the vulnerabilities affect the following versions of PowerSCADA Anywhere and Citect Anywhere mobile extensions: Version 1.0 of PowerSCADA Anywhere redistributed with PowerSCADA Expert v8.1 and PowerSCADA Expert v8.2 ¦ Citect Anywhere version 1.0 | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-7970
Schneider Electric Wonderware ArchestrA Logger | CVE-2017-9631 | Schneider | Schneider Electric reports that the following versions of Wonderware ArchestrA Logger - logging software are affected: Wonderware ArchestrA Logger ¦ versions 2017.426.2307.1 and prior. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9631
Schneider Electric Ampla MES | CVE-2017-9635 | Schneider | Schneider Electric reports that the vulnerability affects the following Ampla Manufacturing Execution System (MES) operational efficiency products: Ampla MES versions 6.4 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9635
Schneider Electric Pro-face GP-Pro EX | CVE-2017-9961 | Schneider | The following versions of Pro-face GP-Pro EX software an HMI management platform are affected: GP Pro EX version 4.07.000 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9961
Schneider Electric PowerSCADA Anywhere和Citect Anywhere跨站请求伪造漏洞 | CVE-2017-9963 | Schneider | Schneider Electric Citect Anywhere 1.0; Schneider Electric PowerSCADA Anywhere 1.0 | Authorization Issue | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9963
Schneider Electric IGSS SCADA Software | CVE-2017-9967 | Schneider | Schneider Electric reports that the vulnerability affects the following IGSS SCADA Software products: IGSS SCADA Software V12 and all previous versions. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9967
AVEVA Vijeo Citect and Citect SCADA Floating License Manager | CVE-2018-20031 | Schneider | Floating License Manager - used in Vijeo Citect and Citect SCADA - versions affected: Floating License Manager Version 2.3.0.0 and earlier. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-20031
Schneider Electric SoMachine Basic | CVE-2018-7783 | Schneider | Schneider Electric reports this vulnerability affects the following SoMachine Basic: SoMachine Basic; all versions prior to v1.6 SP1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7783
Schneider Electric StruxureWare Data Center Operation存在未明漏洞 | CVE-2018-7806 | Schneider | Schneider Electric StruxureWare Data Center Operation | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7806
Schneider Electric StruxureWare Data Center Expert存在未明漏洞 | CVE-2018-7807 | Schneider | Schneider Electric StruxureWare Data Center Expert <=7.5.0 | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7807
AVEVA Vijeo Citect and CitectSCADA | CVE-2019-10981 | Schneider | Vijeo Citect and CitectSCADA - Supervisory Control and Data Acquistions (SCADA) software versions affected: Vijeo Citect 7.30 and 7.40 CitectSCADA 7.30 and 7.40. | SCADA | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-10981
AVEVA Vijeo Citect and Citect SCADA (Update A) | CVE-2019-13537 | Schneider | Versions of the IEC870IP driver used in AVEVA's Vijeo Citect and Citect SCADA and Schneider Electric's Power SCADA Operation are affected: IEC870IP driver v4.14.02 and prior. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-13537
Schneider Electric SoMachine HVAC代码问题漏洞 | CVE-2019-6826 | Schneider | Schneider Electric Schneider Electric SoMachine HVAC <v2.4.1 | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6826
Schneider Electric Magelis HMI Panels | CVE-2019-6833 | Schneider | The following versions of the Magelis HMI Panels are affected: Magelis HMIGTO series; all firmware versions Magelis HMISTO series; all firmware versions Magelis XBTGH series; all firmware versions Magelis HMIGTU series; all firmware versions Magelis HMIGTUX series; all firmware versions Magelis HMISCU series; all firmware versions Magelis HMISTU series; all firmware versions Magelis XBTGT series; all firmware versions Magelis XBTGC series; all firmware versions Magelis HMIGXO series; all firmwar | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6833
Schneider Electric EcoStruxure Geo SCADA Expert权限许可和访问控制问题漏洞 | CVE-2019-6854 | Schneider | Schneider Electric ClearSCADA 2017 R3; Schneider Electric ClearSCADA 2017 R2; Schneider Electric ClearSCADA 2017 | Privilege Escalation | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6854
Schneider Electric EcoStruxure Building Operation (EBO) | CVE-2020-28209 | Schneider | Schneider Electric reports these vulnerabilities affect the following EcoStruxure Building Operation products: WebReports v1.9 - v3.1 WebStation v2.0 - v3.1 Enterprise Server installer v1.9 - v3.1 Enterprise Central installer v2.0 - v3.1 Note: Please see SEVD-2020-315-04 to see which vulnerabilities affect each specific product. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2020-28209
Schneider Electric EcoStruxure Machine Expert–Basic或SoMachine Basic注入漏洞 | CVE-2020-7489 | Schneider | Schneider Electric SoMachine Basic ; Schneider Electric EcoStruxure Machine Expert – Basic | Injection | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7489
Schneider Electric Vijeo Designer Basic和Vijeo Designer代码问题漏洞 | CVE-2020-7490 | Schneider | Schneider Electric Vijeo Designer <=6.9 SP9; 施耐德电气有限公司 Vijeo Designer Basic <=1.1 HotFix 15 | Other | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7490
Schneider Electric EcoStruxure Operator Terminal Expert | CVE-2020-7493 | Schneider | Schneider Electric reports these vulnerabilities affect the following EcoStruxure products: EcoStruxure Operator Terminal Expert 3.1 Service Pack 1 and prior (formerly known as Vijeo XD). | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7493
Schneider Electric PLC Simulator for EcoStruxure Control Expert | CVE-2020-7538 | Schneider | Schneider Electric reports the vulnerability affects the following PLC simulators: PLC Simulator for EcoStruxure Control Expert; all versions PLC Simulator for Unity Pro (former name of EcoStruxure Control Expert); all versions. | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7538
Schneider Electric EcoStruxure Operator Terminal Expert runtime (Vijeo XD) | CVE-2020-7544 | Schneider | Schneider Electric reports the vulnerability affects the following EcoStruxure Operator Terminal Expert products: EcoStruxure Operator Terminal Expert Runtime 3.1 Service Pack 1A and prior installed on: Windows PC using legacy BIOS Harmony iPC (HMIG5U; HMIG5U2) using legacy BIOS NOTE: Windows PCs using UEFI are not impacted by this vulnerability. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7544
Schneider Electric Interactive Graphical SCADA System (IGSS) | CVE-2020-7552 | Schneider | The following versions of IGSS are affected: IGSS Definition (Def.exe) Version 14.0.0.20247 and prior. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7552
Schneider Electric EcoStruxure, EcoStruxure Process Expert, SCADAPack RemoteConnect for x70 | CVE-2021-21810 | Schneider | Schneider Electric reported these vulnerabilities affect the following products using AT&T Labs Compressor (XMill) and Decompressor (XDemill): EcoStruxure Control Expert: All versions (including former Unity Pro) prior to V15.1 HF001 EcoStruxure Process Expert: All versions (including former HDCS) prior to V2021 SCADAPack RemoteConnect for x70: All versions prior to R2.7.3. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-21810
Schneider Electric Struxureware Data Center Expert | CVE-2021-22794 | Schneider | The following versions of Struxureware Data Center Expert, a monitoring software, are affected: Struxureware Data Center Expert Versions 7.8.1 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22794
Schneider Electric EcoStruxure and SCADAPack | CVE-2021-22797 | Schneider | The following products and versions are affected: EcoStruxure Control Expert: All versions, including former Unity Pro EcoStruxure Process Expert: All versions, including former HDCS SCADAPack RemoteConnect for x70: All versions. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22797
Schneider Electric CNM | CVE-2021-22801 | Schneider | The following versions of CNM, ethernet network management software, are affected: ConneXium Network Manager: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-22801
Schneider Electric SCADAPack Workbench | CVE-2022-0221 | Schneider | The following versions of SCADAPack Workbench software are affected: SCADAPack Workbench Versions 6.6.8a and prior. | SCADA | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-0221
AVEVA InTouch Access Anywhere and Plant SCADA Access Anywhere | CVE-2022-1467 | Schneider | AVEVA reports this vulnerability affects the following HMI products: AVEVA InTouch Access Anywhere: All versions; AVEVA Plant SCADA Access Anywhere (formerly known as AVEVA Citect Anywhere and Schneider Electric Citect Anywhere): All versions. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-1467
Schneider Electric IGSS | CVE-2022-24310 | Schneider | Schneider Electric reports these vulnerabilities affect the following IGSS Data Server module: IGSS Data Server (IGSSdataServer.exe): v15.0.0.22020 and prior. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-24310
Schnieder Electric PowerLogic ION7400 PM8000 ION9000 Power Meters | CVE-2022-46680 | Schneider | The following components of Schneider Electric PowerLogic, a power meter, are affected: PowerLogic ION9000: All versions prior to 4.0.0 PowerLogic ION7400: All versions prior to 4.0.0 PowerLogic PM8000: All versions prior to 4.0.0 PowerLogic ION8650: All versions PowerLogic ION8800: All versions Legacy ION products: All versions | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-46680
Schneider Electric devices using CODESYS Runtime | CVE-2023-28355 | Schneider | Schneider Electric Easy Harmony HMIET6/HMIFT6 Magelis HMIGXU, XBT series, All versions; Easy Modicon M310, All versions prior to v3.1.5.82; Harmony (Formerly Magelis) HMIGK/HMIGTO/HMIGTU/HMIGTUX/HMISTU series, All versions prior to v6.3 HF3; Harmony iPC series with Vijeo Designer runtime, All versions prior to v6.3 SP2; Harmony P6 series with Vijeo Designer runtime, All versions prior to v6.3 SP2; HMISCU Controller, All versions prior to v6.3.1; Modicon Controller LMC078, All versions; Modicon | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-28355
Schneider Electric EcoStruxure Power Operation (Update A) | CVE-2023-35945 | Schneider | Schneider Electric EcoStruxure Power Operation (EPO) 2022: <=CU6, Schneider Electric EcoStruxure Power Operation (EPO) 2024: <=CU1 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-35945
Schneider Electric EcoStruxure Power Monitoring Expert and Power Operation Products | CVE-2023-5391 | Schneider | The following version of Schneider Electric EcoStruxure Power Monitoring Expert and Power Operation Products is affected: EcoStruxure Power Monitoring Expert: All versions prior to Hotfix-145271 EcoStruxure Power Operation with Advanced Reports: All versions prior to application of Hotfix-145271 EcoStruxure Power SCADA Operation with Advanced Reports: All versions prior to Hotfix-145271. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-5391
Schneider Electric Uni-Telway Driver (Update D) | CVE-2024-10083 | Schneider | Schneider Electric Schneider Electric Uni-Telway driver: vers:all/*, Schneider Electric Schneider Electric Uni-Telway driver installed on Schneider Electric EcoStruxure Control Expert: vers:all/*, Schneider Electric Schneider Electric Uni-Telway driver installed on Schneider Electric EcoStruxure Process Expert: vers:all/*, Schneider Electric Schneider Electric Uni-Telway driver installed on Schneider Electric EcoStruxure Process Expert for AVEVA System Platform: vers:all/*, Schneider Electric Sc | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-10083
Schneider Electric EcoStruxure Power Build Rapsody (Update A) | CVE-2024-11139 | Schneider | Schneider Electric reports the following versions of EcoStruxure Power Build, a configuration program for panel builders, are affected: EcoStruxure Power Build Rapsody: Version v2.7.5 ES and prior EcoStruxure Power Build Rapsody: Version v2.7.1 FR and prior EcoStruxure Power Build Rapsody: Version v2.5.2 NL and prior EcoStruxure Power Build Rapsody: Version v2.6.4 INT and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-11139
Schneider Electric Harmony HMI and Pro-face HMI Products | CVE-2024-11999 | Schneider | Schneider Electric reports the following versions of Harmony HMI and Pro-face HMI are affected: Harmony HMIST6: All versions Harmony HMISTM6: All versions Harmony HMIG3U: All versions Harmony HMIG3X: All versions Harmony HMISTO7 series with Ecostruxure Operator Terminal Expert runtime: All versions PFXST6000: All versions PFXSTM6000: All versions PFXSP5000: All versions PFXGP4100 series with Pro-face BLUE runtime: All versions. | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-11999
Schneider Electric Pro-Face GP-Pro EX and Remote HMI (Update A) | CVE-2024-12399 | Schneider | The following versions of Pro-face GP-Pro EX and Remote HMI are affected: Pro-face GP-Pro EX: All versions prior to 5.00.100 Pro-face Remote HMI: All versions prior to 1.70.000. | HMI | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-12399
Schneider Electric RemoteConnect and SCADAPack x70 Utilities (Update A) | CVE-2024-12703 | Schneider | RemoteConnect and SCADAPack x70 Utilities - RemoteConnect versions prior to R3.4.2, RemoteConnect and SCADAPack x70 Utilities - Security Administrator All Versions | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-12703
Schneider Electric EcoStruxure Power Design | CVE-2024-2229 | Schneider | The following versions of Schneider Electric - EcoStruxure Power Design - Ecodial, an equipment management platform, are affected: EcoStruxure Power Design - Ecodial NL: All Versions EcoStruxure Power Design - Ecodial INT: All Versions EcoStruxure Power Design - Ecodial FR: All Versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-2229
Schneider Electric EcoStruxure (Update D) | CVE-2024-2658 | Schneider | EcoStruxure Control Expert Versions prior to V16.2, EcoStruxure Process Expert Versions prior to 2023 (v4.8.0.5715), EcoStruxure OPC UA Server Expert Versions prior to SV2.01SP3, EcoStruxure Control Expert Asset Link Versions prior to V4.0 SP1, EcoStruxure Machine SCADA Expert Asset Link All versions, EcoStruxure Architecture Builder Versions prior to V7.0.18, EcoStruxure Operator Terminal Expert Versions prior to V4.0, Vijeo Designer Version prior to V6.3SP1 HF1, EcoStruxure Machine Expert vers | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-2658
Schneider Electric PowerLogic P5 | CVE-2024-5559 | Schneider | Schneider Electric reports the following products are affected: Schneider Electric PowerLogic P5: Versions 01.500.104 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-5559
Schneider Electric EcoStruxure Foxboro DCS Core Control Services | CVE-2024-5679 | Schneider | Schneider Electric reports that the following products are affected: EcoStruxure Foxboro DCS Core Control Services: Versions 9.8 and prior. | DCS | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-5679
Schneider Electric Vijeo Designer (Update A) | CVE-2024-8306 | Schneider | Schneider Electric reports that the following products are affected: Vijeo Designer: All versions prior to 6.3 SP1 EcoStruxure Machine Expert (with Vijeo Designer): All versions prior to v2.3. | 上位机软件 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8306
Schneider Electric EcoStruxure | CVE-2024-8401 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric EcoStruxure Power Monitoring Expert (PME) 2021: All versions prior to 2021 CU1 Schneider Electric EcoStruxure Power Monitoring Expert (PME) 2020: All versions prior to 2020 CU3 Schneider Electric EcoStruxure Power Operation (EPO) 2022: All versions prior to 2022 CU4 Schneider Electric EcoStruxure Power Operation (EPO) 2022 - Advanced Reporting and Dashboards Module: All versions prior to 2022 CU4 Schneider El | SCADA | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8401
Schneider Electric System Monitor Application in Harmony and Pro-face PS5000 Legacy Industrial PCs | CVE-2024-8884 | Schneider | Schneider Electric reports that the following products are affected: System Monitor application in Harmony Industrial PC: All versions System Monitor application in Pro-face Industrial PC: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-8884
Schneider Electric EcoStruxure Power Monitoring Expert (PME) (Update B) | CVE-2024-9005 | Schneider | Schneider Electric reports the following products are affected: Schneider Electric EcoStruxure Power Monitoring Expert (PME): 2022 Schneider Electric EcoStruxure Power Monitoring Expert (PME): Versions 2021 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-9005
Schneider Electric PowerLogic PM5300 Series | CVE-2024-9409 | Schneider | Schneider Electric reports that the following PowerLogic energy meters are affected: PowerLogic PM5320: Versions 2.3.8 and prior PowerLogic PM5340: Versions 2.3.8 and prior PowerLogic PM5341: Versions 2.6.6 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-9409
Schneider Electric EcoStruxure Process Expert (Update A) | CVE-2025-0327 | Schneider | EcoStruxure Process Expert version 2020 R2, EcoStruxure Process Expert version 2021, EcoStruxure Process Expert 2023 versions prior to v4.8.0.5715, EcoStruxure Process Expert for AVEVA System Platform version 2020 R2, EcoStruxure Process Expert for AVEVA System Platform version 2021, EcoStruxure Process Expert for AVEVA System Platform 2023 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-0327
Schneider Electric EcoStruxure Power Automation System User Interface (EPAS-UI) | CVE-2025-0813 | Schneider | Schneider Electric reports that the following products are affected: EcoStruxure Power Automation System User Interface (EPAS-UI): Version v2.1 up to and including v2.9. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-0813
Schneider Electric PowerChute Serial Shutdown | CVE-2025-11565 | Schneider | The following version of Schneider Electric PowerChute Serial Shutdown are affected: Schneider Electric PowerChute Serial Shutdown: Versions 1.3 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-11565
Schneider Electric EcoStruxure PME and EPO | CVE-2025-11739 | Schneider | EcoStruxure Power Monitoring Expert (PME) Version 2022 and prior, EcoStruxure Power Monitoring Expert (PME) Version 2023, EcoStruxure Power Monitoring Expert (PME) Version 2023 R2, EcoStruxure Power Monitoring Expert (PME) Version 2024, EcoStruxure Power Monitoring Expert (PME) Version 2024 R2, EcoStruxure Power Operation (EPO) 2022 Advanced Reporting and Dashboards Module Version 2022 and prior, EcoStruxure Power Operation (EPO) 2024 with Advanced Reporting and Dashboards Module Version 2024 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-11739
Schneider Electric EcoStruxure IT Data Center Expert | CVE-2025-13957 | Schneider | EcoStruxure IT Data Center Expert (Formerly known as StruxureWare Data Center Expert) v9.0 and prior | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13957
Schneider Electric EcoStruxure Power Automation System | CVE-2025-1960 | Schneider | Schneider Electric reports the following products are affected because they use WebHMI v4.1.0.0 and prior: EcoStruxure Power Automation System: Versions 2.6.30.19 and prior. | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-1960
Schneider Electric EcoStruxure Panel Server | CVE-2025-2002 | Schneider | Schneider Electric reports the following versions of EcoStruxure Panel Server are affected: EcoStruxure Panel Server: Versions v2.0 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-2002
Schneider Electric EcoStruxure Power Build Rapsody | CVE-2025-3916 | Schneider | The following Schneider Electric product is affected: EcoStruxure Power Build Rapsody: v2.7.12 FR and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-3916
Schneider Electric EcoStruxure (Update B) | CVE-2025-54923 | Schneider | Schneider Electric reports that the following products are affected: EcoStruxure Power Monitoring Expert (PME): 2024 EcoStruxure Power Monitoring Expert (PME): 2024 R2 EcoStruxure Power Monitoring Expert (PME): 2022 (CVE-2025-54924, CVE-2025-54925, CVE-2025-54927) EcoStruxure Power Monitoring Expert (PME): 2023 (CVE-2025-54924, CVE-2025-54925, CVE-2025-54927) EcoStruxure Power Monitoring Expert (PME): 2023 R2 (CVE-2025-54924, CVE-2025-54925, CVE-2025-54927) Advanced Reporting and Dashboards Modu | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-54923
Schneider Electric EcoStruxure Foxboro DCS Advisor | CVE-2025-59287 | Schneider | EcoStruxure Foxboro DCS Advisor services () | DCS | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-59287
Schneider Electric EcoStruxture IT Data Center Expert | CVE-2025-6438 | Schneider | Schneider Electric reports the following product is affected: EcoStruxure IT Data Center Expert: Versions v8.3 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-6438
Schneider Electric EcoStruxure Building Operation Enterprise Server和Schneider Electric EcoStruxure E | CVE-2025-8448 | Schneider | Schneider Electric EcoStruxure Enterprise Server |  | 未知 | https://nvd.nist.gov/vuln/detail/CVE-2025-8448
Schneider Electric EcoStruxure Machine SCADA Expert & Pro-face BLUE Open Studio | CVE-2025-9317 | Schneider | Schneider Electric reports that the following products use an affected AVEVA component: EcoStruxure Machine SCADA Expert: Versions prior to 2023.1 Patch 1 Pro-face BLUE Open Studio: Versions prior to 2023.1 Patch 1. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-9317
Schneider Electric SCADAPack and RemoteConnect | CVE-2026-0667 | Schneider | SCADAPack 57x All Versions, RemoteConnect Versions prior to R3.4.2 | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-0667
Schneider Electric EcoStruxure Building Operation Workstation | CVE-2026-1227 | Schneider | EcoStruxure Building Operation Workstation All 7.0.x versions prior to 7.0.3.2000 (CP1), EcoStruxure Building Operation Workstation All 6.x versions prior to 6.0.4.14001 (CP10), EcoStruxure Building Operation WebStation All 7.0.x versions prior to 7.0.3.2000 (CP1), EcoStruxure Building Operation WebStation All 6.x versions prior to 6.0.4.14001 (CP10) | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-1227
Schneider Electric EcoStruxure Automation Expert | CVE-2026-2273 | Schneider | EcoStruxure Automation Expert Versions prior to v25.0.1 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-2273
Schneider Electric Easergy, EcoStruxture, PowerLogic, and Saitel Products | CVE-2026-4827 | Schneider | Easergy MiCOM C264 ¦ Easergy MiCOM P139 ¦ Easergy MiCOM P437 ¦ Easergy MiCOM P439 ¦ Easergy MiCOM P532 ¦ Easergy MiCOM P539 ¦ Easergy MiCOM P631 ¦ Easergy MiCOM P632 ¦ Easergy MiCOM P633 ¦ Easergy MiCOM P634 ¦ Easergy MiCOM P633 P633.680.700 ¦ Easergy MiCOM P634 P634.680.700 ¦ Easergy MiCOM P138 ¦ Easergy MiCOM P436 ¦ Easergy MiCOM P438 ¦ Easergy MiCOM P638 ¦ Easergy MiCOM C434 ¦ EcoStruxure Power Automation System Gateway (EPAS-GTW) ¦ EcoStruxure Power Automation System User Interface (EPAS-UI) | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-4827
Schnieider Electric EcoStruxure Machine Expert HVAC | CVE-2026-6332 | Schneider | Ecostruxure Machine Expert HVAC Versions prior to 1.10.0 | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2026-6332
Schneider Electric PowerLogic P7 | CVE-2026-9716 | Schneider | PowerLogic™ P7 ¦ PowerLogic™ P7 0.2.003.001.000 | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2026-9716
Schneider Electric Andover Continuum 跨站脚本漏洞漏洞 | CVE-2019-6853 | Schneider | Schneider Electric Andover Continuum 9924 ; Schneider Electric Andover Continuum 9702 ; Schneider Electric Andover Continuum 9680 ; Schneider Electric Andover Continuum 5740 ; Schneider Electric Andover Continuum bCX4040 ; Schneider Electric Andover Continuum bCX9640 ; Schneider Electric Andover Continuum 9900 ; Schneider Electric Andover Continuum 9940 | XSS | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6853
Schneider Electric ETG3000 FactoryCast HMI Gateway Vulnerabilities | CVE-2014-9198 | Schneider | ETG3000 FactoryCast HMI Gateway's versions affected: TSXETG3000 all versions ¦TSXETG3010 all versions ¦TSXETG3021 all versions ¦ TSXETG3022 all versions. | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2014-9198
Schneider Electric StruxureOn Gateway | CVE-2017-9970 | Schneider | Schneider Electric reports that the vulnerability affects the following versions of StruxureOn Gateway - software management platform: StruxureOn Gateway ¦ all versions prior to 1.2. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9970
Schneider Electric Triconex TriStation and Tricon Communication Module | CVE-2020-7483 | Schneider | Schneider Electric has discovered and remediated multiple vulnerabilities affecting the following legacy versions of its Triconex brand safety instrumented system: TriStation 1131; v1.0.0 to v4.9.0; v4.10.0; and 4.12.0; operating on Windows NT; Windows XP; or Windows 7. Tricon Communications Module (TCM) Models 4351; 4352; 4351A/B; and 4352A/B installed in Tricon v10.0 to v10.5.3 systems. Users of current and more recent versions of the identified firmware and software are not exposed to these s | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-7483
Schneider Electric PrismaSeT Active - Wireless Panel Server | CVE-2023-4041 | Schneider | The following versions of Schneider Electric products are affected: PrismaSeT Active - Wireless Panel Server: All versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4041
Schneider Electric Modicon Network Managed Switches | CVE-2024-3596 | Schneider | Connexium Managed Switches vers:all/* ¦ Modicon Managed Switches vers:all/* ¦ Modicon Redundancy Switches vers:all/* | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-3596
Schneider Electric Zigbee Products | CVE-2024-6350 | Schneider | Wiser iTRV2 All Versions, Wiser iTRV3 All Versions, Wiser RTR2 All Versions, Wiser UFH All Versions, Wiser 16A Electrical Heat Switch All Versions, Wiser Boiler Relay All Versions, Exxact cFMT 16a All Versions, Elko cFMT 16a All Versions, Odace cFMT 2a All Versions, Merten cFMT 16a All Versions, Merten cFMT 2a All Versions, Wiser Power Micromodule All Versions, Wiser FIP Micromodule All Versions, Iconic, Wiser Connected Smart Dimmer All Versions, Iconic, Wiser Connected Smart Switch, 2AX All Ver | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2024-6350
Schneider Electric Pelco DS-NVs Buffer Overflow Vulnerability | CVE-2015-0982 | Schneider | Pelco DS-NVs versions affected: Pelco DS-NVs ¦ Version 7.6.32 and prior versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-0982
Schneider Electric Pelco VideoXpert Enterprise | CVE-2017-9964 | Schneider | Schneider Electric reports that the vulnerabilities affect the following Pelco VideoXpert Enterprise products: Pelco VideoXpert Enterprise all versions prior to 2.1. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-9964
Schneider Electric Wiser for KNX、homeLYnk和spaceLYnk未经授权访问漏洞 | CVE-2018-7779 | Schneider | Schneider Electric Wiser for KNX <=2.1.0; Schneider-Electric homeLYnk <=2.0.1; Schneider-Electric spaceLYnk <=2.1.0 | Privilege Escalation | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-7779
Schneider Electric EcoStruxure Foxboro DCS | CVE-2026-1286 | Schneider | EcoStruxure Foxboro DCS versions prior to CS8.1 |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2026-1286
Schneider Electric ETG3000 FactoryCast HMI Gateway Vulnerabilities | CVE-2014-9197 | Schneider | ETG3000 FactoryCast HMI Gateway's versions affected: TSXETG3000 all versions ¦TSXETG3010 all versions ¦TSXETG3021 all versions ¦ TSXETG3022 all versions. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2014-9197
Schneider Electric Magelis HMI Resource Consumption Vulnerabilities (Update B) | CVE-2016-8367 | Schneider | Schneider Electric versions of Magelis HMI: Magelis GTO Advanced Optimum Panels ¦ all versions ¦Magelis GTU Universal Panel ¦ all versions ¦Magelis STO5xx and STU Small panels ¦ all versions ¦Magelis |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2016-8367
Schneider Electric Saitel DR & Saitel DP Remote Terminal Unit | CVE-2025-9996 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Saitel DR RTU: Versions 11.06.29 and prior Schneider Electric Saitel DP RTU: Versions 11.06.33 and prior. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2025-9996
Schneider Electric PowerSCADA Anywhere and Citect Anywhere | CVE-2017-7969 | Schneider | Schneider Electric reports that the vulnerabilities affect the following versions of PowerSCADA Anywhere and Citect Anywhere mobile extensions: Version 1.0 of PowerSCADA Anywhere redistributed with Po |  | High | https://nvd.nist.gov/vuln/detail/CVE-2017-7969
Schneider Electric IGSS SCADA Software | CVE-2020-7478 | Schneider | The following versions of IGSS are affected: Versions 14 and prior using the service IGSSupdate. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2020-7478
Schneider Electric Interactive Graphical SCADA System (IGSS) | CVE-2020-7550 | Schneider | The following versions of IGSS are affected: IGSS Definition (Def.exe) Version 14.0.0.20247 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2020-7550
Schneider Electric IGSS | CVE-2023-3001 | Schneider | Schneider Electric reports this vulnerability affects the following IGSS (Interactive Graphical SCADA System) products: IGSS Dashboard (DashBoard.exe): v16.0.0.23130 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-3001
Schneider Electric IGSS | CVE-2023-4516 | Schneider | Schneider Electric reports these vulnerabilities affect the following IGSS (Interactive Graphical SCADA System) products: IGSS Update Service (IGSSupdateservice.exe): v16.0.0.23211 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-4516
Schneider Electric Floating License Manager | CVE-2016-10395 | Schneider | The following products use the vulnerable Schneider Electric Floating License Manager - license management platform: SCADA Expert Vijeo Citect / CitectSCADA Version 7.30 ¦ 7.40 ¦ CitectSCADA Version 2 |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2016-10395
Schneider Electric InduSoft Web Studio and InTouch Machine Edition | CVE-2017-14024 | Schneider | The following versions of InduSoft Web Studio and InTouch Machine Edition an HMI are affected: InduSoft Web Studio v8.0 SP2 Patch 1 and prior versions and InTouch Machine Edition v8.0 SP2 Patch 1 and |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2017-14024
Schneider Electric U.motion Builder (Update A) | CVE-2017-7973 | Schneider | The following U.motion Builder Software versions are affected: U.motion Builder Versions 1.2.1 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2017-7973
Schneider Electric Ampla MES | CVE-2017-9637 | Schneider | Schneider Electric reports that the vulnerability affects the following Ampla Manufacturing Execution System (MES) operational efficiency products: Ampla MES versions 6.4 and prior. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2017-9637
Schneider Electric U.motion Builder | CVE-2018-7784 | Schneider | The following U.motion Builder Software versions are affected: U.motion Builder versions prior to 1.3.4. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2018-7784
Schneider Electric EcoStruxure | CVE-2018-7797 | Schneider | The following versions of EcoStruxure - IoT-enabled architecture and platform are affected: EcoStruxure Power Monitoring Expert (PME) Version 8.2 (all editions) ¦ EcoStruxure Energy Expert 1.3 (former |  | High | https://nvd.nist.gov/vuln/detail/CVE-2018-7797
Schneider Electric Pro-face GP-Pro EX | CVE-2018-7832 | Schneider | Schneider Electric products affected: Pro-face GP-Pro EX Version 4.08 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2018-7832
Schneider Electric IIoT Monitor (Update A) | CVE-2018-7835 | Schneider | Schneider Electric IIoT Monitor - monitoring platform - versions affected: Versions 3.1.38 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2018-7835
Schneider Electric InduSoft Web Studio and InTouch Machine Edition | CVE-2018-8840 | Schneider | The following versions of InduSoft Web Studio and InTouch Machine Edition - HMI are affected: InduSoft Web Studio v8.1 and prior versions and InTouch Machine Edition 2017 v8.1 and prior versions. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2018-8840
Schneider Electric Modicon Controllers (Update A) | CVE-2019-6808 | Schneider | Modicon M580 Controller () ¦ Modicon M580 Firmware vers:intdot/<2.90, vers:intdot/<2.80, vers:intdot/<4.20, 4.20, vers:all/* () ¦ Modicon M340 Controller () ¦ Modicon M340 Firmware vers:intdot/<3.10, |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2019-6808
Schneider Electric Zelio Soft 2 | CVE-2019-6822 | Schneider | Zelio Soft 2 - program platform versions affected: Versions 5.2 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2019-6822
Schneider Electric System Monitor Application | CVE-2020-11023 | Schneider | Schneider Electric reports the following products are affected: System Monitor application in Harmony Industrial PC series: All versions System Monitor application in Pro-face Industrial PC series: Al |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2020-11023
Schneider Electric APC Easy UPS On-Line | CVE-2020-7521 | Schneider | The following versions of APC Easy UPS On-Line Software are affected: SFAPV9601 v2.0 and earlier. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2020-7521
Schneider Electric EcoStruxure Power Build-Rapsody (Update A) | CVE-2021-22697 | Schneider | EcoStruxure Power Build-Rapsody software Versions 2.1.13 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2021-22697
Schneider Electric IGSS | CVE-2021-22750 | Schneider | The following versions of Interactive Graphical SCADA System (IGSS) are affected: IGSS Definition (Def.exe) v15.0.0.21140 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2021-22750
Schneider Electric C-Bus Toolkit | CVE-2021-22784 | Schneider | The following versions of C-Bus Toolkit are affected: C-Bus Toolkit Versions 1.15.8 and prior. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2021-22784
Schneider Electric SESU | CVE-2021-22799 | Schneider | The following versions of Schneider Electric Software Update, are affected: Schneider Electric Software Update: v2.3.0 through v2.5.1 Schneider Electric Software Update is used by the following produc |  | Low | https://nvd.nist.gov/vuln/detail/CVE-2021-22799
Schneider Electric IGSS | CVE-2021-22802 | Schneider | The following versions of IGSS software are affected: IGSS Data Collector (dc.exe): v15.0.0.21243 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2021-22802
Schneider Electric EcoStruxure | CVE-2023-1049 | Schneider | The following versions of Schneider Electric EcoStruxure Operator Terminal Expert, a human machine interface (HMI) application, are affected: EcoStruxure Operator Terminal Expert: Versions 3.3 SP1 and |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-1049
Schneider Electric EcoStruxure Power Operation (Update A) | CVE-2023-50447 | Schneider | Schneider Electric EcoStruxure Power Operation (EPO) 2022: <=CU6, Schneider Electric EcoStruxure Power Operation (EPO) 2024: <=CU1 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-50447
Schneider Electric EcoStruxure | CVE-2024-10085 | Schneider | Schneider Electric reports that the following products are affected: EcoStruxure OPC UA Server Expert: Versions prior to SV2.01 SP3 EcoStruxure Modicon Communication Server: All versions. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-10085
Schneider Electric PowerChute Serial Shutdown | CVE-2024-10511 | Schneider | Schneider Electric reports the following versions of PowerChute Serial Shutdown are affected: PowerChute Serial Shutdown: Versions 1.2.0.301 and prior. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2024-10511
Schneider Electric Modicon Controllers (Update A) | CVE-2024-6528 | Schneider | Schneider Electric reports that the following products are affected: Schneider Electric Modicon Controllers M258 / LMC058: Versions prior to 5.0.4.19 Schneider Electric Modicon Controllers M262: Versi |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2024-6528
Schneider Electric Zelio Soft 2 | CVE-2024-8422 | Schneider | The following versions of Schneider Electric Zelio Soft 2 are affected: Zelio Soft 2: Versions prior to 5.4.2.2. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-8422
Schneider Electric Data Center Expert | CVE-2024-8531 | Schneider | Schneider Electric reports that the following versions of Data Center Expert, a monitoring software, are affected: Data Center Expert: Versions 8.1.1.3 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-8531
Schneider Electric Easergy Studio | CVE-2024-9002 | Schneider | Schneider Electric reports that the following Easergy Studio products are affected: Easergy Studio: Versions 9.3.1 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2024-9002
Schneider Electric EcoStruxure Power Build Rapsody (Update A) | CVE-2025-13844 | Schneider | EcoStruxure Power Build Rapsody software FR 2.8.1 and prior, EcoStruxure Power Build Rapsody software INT 2.8.6 and prior, EcoStruxure Power Build Rapsody software ES 2.8.5 and prior, EcoStruxure Powe |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-13844
Schneider Electric EcoStruxure Process Expert (Update A) | CVE-2025-13905 | Schneider | EcoStruxure Process Expert versions prior to 2025, EcoStruxure Process Expert for AVEVA System Platform versions prior to 2025 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-13905
Schneider Electric Modicon Controllers (Update A) | CVE-2025-3112 | Schneider | Schneider Electric reports that the following products are affected: Modicon Controllers M241: Versions prior to 5.3.12.51 Modicon Controllers M251: Versions prior to 5.3.12.51 Modicon Controllers M26 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2025-3112
Schneider Electric EcoStruxture IT Data Center Expert | CVE-2025-50121 | Schneider | Schneider Electric reports the following product is affected: EcoStruxure IT Data Center Expert: Versions v8.3 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2025-50121
Schneider Electric EcoStruxure | CVE-2025-6788 | Schneider | Schneider Electric reports the following products are affected: EcoStruxure Power Monitoring Expert (PME): 2023 EcoStruxure Power Monitoring Expert (PME): 2023 R2 EcoStruxure Power Monitoring Expert ( |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2025-6788
Schneider Electric EasyLogic T150 and Saitel DP | CVE-2026-6865 | Schneider | Schneider Electric EasyLogic T150 (formerly Saitel DR) Remote Terminal Unit & Controller Firmware installed on Schneider Electric EasyLogic T150 (formerly Saitel DR) Remote Terminal Unit & Controller |  | High | https://nvd.nist.gov/vuln/detail/CVE-2026-6865
Schneider Electric EcoStruxure Panel Server | CVE-2026-6866 | Schneider | EcoStruxure Panel Server PAS800 vers:intdot/<=002.005.000 ¦ EcoStruxure Panel Server PAS800 vers:intdot/=002.006.000 ¦ EcoStruxure Panel Server PAS800V2 vers:intdot/<=002.005.000 ¦ EcoStruxure Panel S |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2026-6866
Schneider Electric EcoStruxure IT Data Center Expert | CVE-2026-8045 | Schneider | EcoStruxure IT Data Center Expert 9.1.2 |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2026-8045
Schneider Electric Wonderware Vulnerabilities | CVE-2014-2381 | Schneider | Wonderware Information Server 4.0 SP1 Portal ¦ Wonderware Information Server 4.5 Portal ¦ Wonderware Information Server 5.0 Portal and Wonderware Information Server 5.5 Portal. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2014-2381
Schneider Electric Wonderware ArchestrA Logger | CVE-2017-9629 | Schneider | Schneider Electric reports that the following versions of Wonderware ArchestrA Logger - logging software are affected: Wonderware ArchestrA Logger ¦ versions 2017.426.2307.1 and prior. |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2017-9629