## Tri PLC
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Trihedral VTScada (formerly VTS) Denial-of-Service Vulnerability | CVE-2016-4523 |  | Trihedral - VTScada (formerly VTS) |  | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-4523
Trihedral Engineering Limited VTScada Vulnerabilities | CVE-2016-4532 |  | Trihedral Engineering Ltd. affected product: VTScada versions after Version 8 and before Version 11.2.02. These vulnerabilities only apply to the WAP interface (typically Port 9201/TCP/IP). Only a small fraction of the installed base of VTScada uses this legacy feature. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2016-4532
Trihedral Engineering Limited VTScada | CVE-2017-6045 |  | The following versions of VTScada an HMI SCADA software are affected: VTScada Versions prior to 11.2.26 | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2017-6045
Triangle MicroWorks SCADA Data Gateway | CVE-2020-10611 |  | The following versions of SCADA Data Gateway software are affected: 2.41.0213 through 4.0.122. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10611
Trihedral VTScada | CVE-2022-3181 |  | The following versions of VTScada software are affected: VTScada Versions 12.0.38 and prior configured to accept incoming HTTP(S) connections. | SCADA | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-3181
Triangle MicroWorks DNP3 Outstation Libraries | CVE-2020-6996 |  | The following versions of DNP3 Outstation .NET Protocol components and DNP3 Outstation ANSI C source code libraries are affected: 3.16.00 through 3.25.01. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-6996
Triangle MicroWorks Improper Input Validation | CVE-2013-2793 |  | SCADA Data Gateway v2.50.0309 through v3.00.0616 DNP3 .NET Protocol components v3.06.0.171 through v3.15.0.369 DNP3 ANSI C source code libraries v3.06.0000 through v3.15.0000. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2013-2793
Triangle MicroWorks Uncontrolled Resource Consumption | CVE-2014-2342 |  | SCADA Data Gateway - versions prior to v3.00.0635. | 工控系统漏洞 | 低危 | https://nvd.nist.gov/vuln/detail/CVE-2014-2342
Trihedral Engineering Limited VTScada | CVE-2017-14031 | Trihedral | Trihedral Engineering Limited reports that the vulnerability affects the following versions of the VTScada HMI and SCADA software: VTScada 11.3.03 and prior. |  | High | https://nvd.nist.gov/vuln/detail/CVE-2017-14031
Trihedral Engineering Limited VTScada | CVE-2017-6043 | Trihedral | The following versions of VTScada an HMI SCADA software are affected: VTScada Versions prior to 11.2.26 |  | High | https://nvd.nist.gov/vuln/detail/CVE-2017-6043