## Automationdirect
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
AutomationDirect Productivity PLCs | CVE-2024-21785 |  | AutomationDirect reports the following versions of Productivity PLCs are affected: Productivity 3000 P3-550E CPU: FW 1.2.10.9 Productivity 3000 P3-550E CPU: SW 4.1.1.10 Productivity 3000 P3-550 CPU: FW 1.2.10.9 Productivity 3000 P3-550 CPU: SW 4.1.1.10 Productivity 3000 P3-530 CPU: FW 1.2.10.9 Productivity 3000 P3-530 CPU: SW 4.1.1.10 Productivity 2000 P2-550 CPU: FW 1.2.10.10 Productivity 2000 P2-550 CPU: SW 4.1.1.10 Productivity 1000 P1-550 CPU: FW 1.2.10.10 Productivity 1000 P1-550 CPU: SW 4. | PLC | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-21785
AutomationDirect DirectLogic H2-DM1E | CVE-2024-43099 |  | The following versions of DirectLogic H2-DM1E, a programmable logic controller, are affected: DirectLogic H2-DM1E: Versions 2.8.0 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-43099
AutomationDirect CLICK Programmable Logic Controller | CVE-2025-67652 |  | AutomationDirect CLICK Programmable Logic Controller: C0-0x, AutomationDirect CLICK Programmable Logic Controller: C0-1x, AutomationDirect CLICK Programmable Logic Controller: C2-x | PLC | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-67652
AutomationDirect CLICK, C-More, C-More Micro, Do-more Designer, GS Drives, SL-Soft SOLO, DirectSOFT (Update B) | CVE-2017-14020 |  | The following AutomationDirect products are affected: CLICK Programming Software (Part Number C0-PGMSW) Versions 2.10 and prior ¦ C-More Programming Software (Part Number EA9-PGMSW) Versions 6.30 and prior ¦ C-More Micro (Part Number EA-PGMSW) Versions 4.20.01.0 and prior ¦ Do-more Designer Software (Part Number DM-PGMSW) Versions 2.0.3 and prior ¦ GS Drives Configuration Software (Part Number GSOFT) Versions 4.0.6 and prior and SL-SOFT SOLO Temperature Controller Configuration Software (Part Nu | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2017-14020
AutomationDirect Stride Field I/O | CVE-2022-2485 |  | AutomationDirect reports this vulnerability affects Stride Field I/O products with the following part numbers: SIO-MB04RTDS, firmware version prior to v8.3.4.0 SIO- MB04ADS, firmware version prior to v8.4.3.0 SIO-MB04THMS, firmware version prior to v8.5.4.0 SIO-MB08ADS-1, firmware version prior to v8.6.3.0 SIO-MB08ADS-2, firmware version prior to v8.7.3.0 SIO-MB08THMS, firmware version prior to v8.8.4.0 SIO-MB04DAS, firmware version prior to v8.11.3.0 SIO-MB12CDR, firmware version prior to v8.0. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-2485
AutomationDirect C-More EA9 Programming Software | CVE-2024-11609 |  | AutomationDirect reports that the following versions of C-more EA9 series programming software are affected: C-More EA9 Programming Software: version 6.78 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2024-11609
AutomationDirect C-more EA9 HMI | CVE-2025-0960 |  | The following Automation Direct products are affected: C-more EA9 HMI EA9-T6CL: v6.79 and prior C-more EA9 HMI EA9-T7CL-R: v6.79 and prior C-more EA9 HMI EA9-T7CL: v6.79 and prior C-more EA9 HMI EA9-T8CL: v6.79 and prior C-more EA9 HMI EA9-T10CL: v6.79 and prior C-more EA9 HMI EA9-T10WCL: v6.79 and prior C-more EA9 HMI EA9-T12CL: v6.79 and prior C-more EA9 HMI EA9-T15CL-R: v6.79 and prior C-more EA9 HMI EA9-T15CL: v6.79 and prior C-more EA9 HMI EA9-RHMI: v6.79 and prior. | HMI | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-0960
AutomationDirect CLICK PLUS | CVE-2025-54855 |  | The following AutomationDirect products are affected: CLICK PLUS C0-0x CPU firmware: Versions prior to v3.71 CLICK PLUS C0-1x CPU firmware: Versions prior to v3.71 CLICK PLUS C2-x CPU firmware: Versions prior to v3.71. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-54855
AutomationDirect Productivity Suite | CVE-2025-58078 |  | The following AutomationDirect Productivity PLCs are affected: Productivity Suite: v4.4.1.19 and prior Productivity 3000 P3-622 CPU: SW v4.4.1.19 and prior Productivity 3000 P3-550E CPU: SW v4.4.1.19 and prior Productivity 3000 P3-530 CPU: SW v4.4.1.19 and prior Productivity 2000 P2-622 CPU: SW v4.4.1.19 and prior Productivity 2000 P2-550 CPU: SW v4.4.1.19 and prior Productivity 1000 P1-550 CPU: SW v4.4.1.19 and prior Productivity 1000 P1-540 CPU: SW v4.4.1.19 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-58078
AutomationDirect DirectLOGIC with Ethernet (Update A) | CVE-2022-2004 |  | The following versions of DirectLOGIC with Ethernet communication modules, a PLC Ethernet module, are affected: All versions of H0-ECOM and H0-ECOM100 when installed in the following D0-06 series CPUs versions prior to v2.72: D0-06DD1 D0-06DD2 D0-06DR D0-06DA D0-06AR D0-06AA D0-06DD1-D D0-06DD2-D D0-06DR-D --------- Begin Update A part 1 of 2 --------- All versions of H0-ECOM and H0-ECOM100 when installed in the following D0-05 series CPUs versions prior to v5.41 D0-05DD D0-05DR D0-05DA D0-05AR | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-2004
AutomationDirect MB-Gateway | CVE-2025-36535 |  | The following AutomationDirect product is affected: MB-Gateway: All Versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-36535
AutomationDirect DirectLOGIC with Serial Communication (Update A) | CVE-2022-2003 |  | The following versions of DirectLOGIC with serial communication, a programmable controller, are affected: The following D0-06 series CPUs, prior to v2.72: D0-06DD1 D0-06DD2 D0-06DR D0-06DA D0-06AR D0-06AA D0-06DD1-D D0-06DD2-D D0-06DR-D D0-06DD2-D D0-06DR-D --------- Begin Update A part 1 of 2 --------- D0-05DD: All versions prior to V5.41 D0-05DR: All versions prior to V5.41. D0-05DA: All versions prior to V5.41 D0-05AR: All versions prior to V5.41 D0-05AA: All versions prior to V5.41 D0-05AD: | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-2003
AutomationDirect C-More EA9 HMI | CVE-2022-2006 | AutomationDirect | The following versions of C-more EA9, an industrial touch screen HMI, are affected: C-more EA9 with the following part numbers, all versions prior to 6.73: EA9-T6CL EA9-T6CL-R EA9-T7CL EA9-T7CL-R EA9- |  | High | https://nvd.nist.gov/vuln/detail/CVE-2022-2006