## Medtronic
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Medtronic MiniMed MMT-500/MMT-503 Remote Controllers (Update A) | CVE-2018-10634 |  | The following supported Medtronic products are affected: MMT - 508 MiniMed insulin pump ¦ MMT - 522 / MMT - 722 Paradigm REAL-TIME ¦ MMT - 523 / MMT - 723 Paradigm Revel ¦ MMT - 523K / MMT - 723K Paradigm Revel and MMT - 551 / MMT - 751 MiniMed 530G. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-10634
Medtronic Conexus Radio Frequency Telemetry Protocol (Update C) | CVE-2019-6540 |  | MyCareLink Monitor, Versions 24950 and 24952 CareLink Monitor, Version 2490C CareLink 2090 Programmer Amplia CRT-D (all models) Claria CRT-D (all models) Compia CRT-D (all models) Concerto CRT-D (all models) Concerto II CRT-D (all models) Consulta CRT-D (all models) Evera ICD (all models) Maximo II CRT-D and ICD (all models) Mirro ICD (all models) Nayamed ND ICD (all models) Primo ICD (all models) Protecta ICD and CRT-D (all models) Secura ICD (all models) Virtuoso ICD (all models) Virtuoso II I | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-6540
Medtronic MyCareLink 24950 Patient Monitor (Update A) | CVE-2018-10626 |  | Medtronic 24950 MyCareLink Monitor: vers:all/*, Medtronic 24952 MyCareLink Monitor: vers:all/* | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-10626
Medtronic N'Vision Clinician Programmer (Update A) | CVE-2018-8849 |  | The N'Vision Clinician Programmer is a small portable device that offers a single programming platform for Medtronic Neurological implantable therapy devices such as Medtronic neurostimulators and drug pumps. The following products are affected: 8840 N'Vision Clinician Programmer ¦ all versions and 8870 N'Vision removable Application Card ¦ all versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-8849
Medtronic MyCareLink Patient Monitor | CVE-2018-8868 |  | The following MyCareLink Monitors are affected: 24950 MyCareLink Monitor ¦ all versions ¦ 24952 MyCareLink Monitor ¦ all versions. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2018-8868
Medtronic MiniMed 508 and Paradigm Series Insulin Pumps | CVE-2019-10964 |  | Versions of Medtronic MiniMed Insulin Pumps affected: MiniMed 508 pump - All versions MiniMed Paradigm 511 pump - All versions MiniMed Paradigm 512/712 pumps - All versions MiniMed Paradigm 712E pump - All versions MiniMed Paradigm 515/715 pumps - All versions MiniMed Paradigm 522/722 pumps - All versions MiniMed Paradigm 522K/722K pumps - All versions MiniMed Paradigm 523/723 pumps - Software versions 2.4A or lower MiniMed Paradigm 523K/723K pumps - Software versions 2.4A or lower MiniMed Parad | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2019-10964
Medtronic MyCareLink Smart | CVE-2020-25183 |  | The following versions of the Medtronic MyCareLink Smart Patient Reader are affected: Smart Model 25000 Patient Reader; all versions. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-25183
Medtronic NGP 600 Series Insulin Pumps | CVE-2022-32537 |  | The following versions of the Medtronic NGP 600 Series Insulin Pumps and accessory components are affected: MiniMed 620G: MMT-1710 MiniMed 630G: MMT-1715, MMT-1754, MMT-1755 MiniMed 640G: MMT-1711, MMT-1712, MMT-1751, MMT-1752 MiniMed 670G: MMT-1740, MMT-1741, MMT-1742, MMT-1760, MMT-1762, MMT-1762, MMT-1780, MMT-1781, MMT-1782. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2022-32537
Medtronic Micro Clinician and InterStim Apps | CVE-2023-25931 |  | The following versions of Medtronic Clinician App are affected: Micro Clinician (A51200) InterStim X Clinician (A51300). | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-25931
Medtronic Paceart Optima System | CVE-2023-31222 |  | The following Medtronic products are affected: Paceart Optima: Versions 1.11 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-31222
Medtronic MyCareLink Patient Monitor | CVE-2018-8870 | Medtronic | The following MyCareLink Monitors are affected: 24950 MyCareLink Monitor ¦ all versions ¦ 24952 MyCareLink Monitor ¦ all versions. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2018-8870
Medtronic Valleylab FT10 and LS10 | CVE-2019-13531 | Medtronic | Medtronic Valleylab energy and electrosurgery products affected: Valleylab FT10 Energy Platform (VLFT10GEN) Version 2.1.0 and lower Version 2.0.3 and lower Valleylab LS10 Energy Platform (VLLS10GEN”no |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2019-13531
Medtronic Valleylab FT10 and FX8 | CVE-2019-13539 | Medtronic | Medtronic Valleylab energy products affected: Valleylab Exchange Client, Version 3.4 and below Valleylab FT10 Energy Platform (VLFT10GEN) software Version 4.0.0 and below Valleylab FX8 Energy Platform |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2019-13539
Medtronic Conexus Radio Frequency Telemetry Protocol (Update C) | CVE-2019-6538 | Medtronic | MyCareLink Monitor, Versions 24950 and 24952 CareLink Monitor, Version 2490C CareLink 2090 Programmer Amplia CRT-D (all models) Claria CRT-D (all models) Compia CRT-D (all models) Concerto CRT-D (all |  | Critical | https://nvd.nist.gov/vuln/detail/CVE-2019-6538
Medtronic MyCareLink Patient Monitor (Update A) | CVE-2025-4394 | Medtronic | Medtronic MyCareLink Patient Monitor model 24950: vers:all/*, Medtronic MyCareLink Patient Monitor model 24952: vers:all/* |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2025-4394