## Opto
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Opto 22 SoftPAC Project | CVE-2020-10612 |  | The following versions of Opto 22 SoftPAC Project - a virtual PLC are affected: SoftPAC Project Version 9.6 and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2020-10612
Opto 22 GRV-EPIC and GRV-RIO | CVE-2025-13087 |  | The following versions of GRV Programmable Logic Controllers are affected: GRV-EPIC-PR1 Firmware: Versions prior to 4.0.3 GRV-EPIC-PR2 Firmware: Versions prior to 4.0.3 groov RIO GRV-R7-MM1001-10 Firmware: Versions prior to 4.0.3 groov RIO GRV-R7-MM2001-10 Firmware: Versions prior to 4.0.3 groov RIO GRV-R7-I1VAPM-3 Firmware: Versions prior to 4.0.3. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13087
Opto 22 groov View | CVE-2025-13084 |  | The following versions of groov View are affected: groov View Server for Windows: Versions R1.0a to R4.5d GRV-EPIC-PR1 Firmware: Versions prior to 4.0.3 GRV-EPIC-PR2 Firmware: Versions prior to 4.0.3. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2025-13084
Opto 22 Multiple Product Vulnerabilities | CVE-2015-1006 |  | Opto 22 products versions affected: PAC Project Professional and versions prior to Version R9.4006 ¦PAC Project Basic and versions prior to Version R9.4006 ¦PAC Dplay Basic and versions prior to Version R9.4f ¦PAC Dplay Professional and versions prior to Version R9.4f ¦OptoOPCServer and versions prior to Version R9.4c ¦ OptoDataLink ¦ Version R9.4d and prior versions that were installed by PAC Project installer and versions prior to Version R9.4006. Opto 22 that contain the Stack-buffer overflow | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2015-1006
Opto 22 PAC Control Basic and PAC Control Professional | CVE-2018-14807 |  | The following versions of PAC Control - control programing software are affected: PAC Control Basic Versions R10.0a and prior and PAC Control Professional Versions R10.0a and prior. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2018-14807
Opto 22 SNAP PAC S1 | CVE-2023-40706 |  | The following version of SNAP PAC S1, an industrial programmable automation controller, is affected:SNAP PAC S1 Firmware: Version R10.3b | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2023-40706