## Sensormatic
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Sensormatic Electronics C-CURE 9000 (Update A) | CVE-2021-27660 |  | Johnson Controls reports the vulnerability affects the following product: C-CURE 9000: All versions prior to 2.80. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-27660
Sensormatic Electronics iSTAR | CVE-2022-21941 |  | The following versions of Sensormatic iSTAR Ultra, a network-ready door controller, are affected: iSTAR Ultra: All versions prior to 6.8.9. CU01. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2022-21941
Sensormatic Electronics VideoEdge | CVE-2020-11023 | Sensormatic | The following versions of VideoEdge, a network video recorder, are affected: VideoEdge: All versions prior to v5.7.1. |  | Medium | https://nvd.nist.gov/vuln/detail/CVE-2020-11023
Sensormatic Electronics iSTAR | CVE-2023-3127 | Sensormatic | Johnson Controls reports this vulnerability affects the following versions of Sensormatic Electronics iSTAR products: iSTAR Ultra and iSTAR Ultra LT: Firmware after version 6.8.6 and prior to 6.9.2 CU |  | High | https://nvd.nist.gov/vuln/detail/CVE-2023-3127