## Trane
漏洞名称 | CVE编号 | 厂商 | 产品 | 漏洞类型 | 危害等级 | 参考链接
Trane Symbio (Update B) | CVE-2021-38448 |  | The following Trane building automation products deployed on the following HVAC equipment are affected: Symbio 700: Odyssey Split Systems: All versions prior to v1.00.0023 Symbio 800: IntelliPak Rooftop Air Conditioner: All versions prior to v1.30.0008 Ascend Air-Cooled Chiller Model ACR: All versions prior to v1.10.0010 Agility Water-Cooled Chiller Model HDWA: All versions prior to v1.00.0010. | 工控系统漏洞 | 高危 | https://nvd.nist.gov/vuln/detail/CVE-2021-38448
Trane HVAC Systems Controls | CVE-2021-42534 |  | The following versions of Trane building automation products, a device used to coordinate building controls, is affected: Tracer SC: Firmware v3.8 and prior. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2021-42534
Trane Tracer SC Sensitive Information Exposure Vulnerability | CVE-2016-0870 |  | Tracer SC versions affected: Versions 4.2.1134 and below. | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2016-0870
Trane Thermostats | CVE-2023-4212 |  | Trane reports this vulnerability affects the following thermostats:Trane Technologies XL824 Thermostat: Firmware versions 5.9.8 and earlierTrane Technologies XL850 Thermostat: Firmware versions 5.9.8 and earlierTrane Technologies XL1050 Thermostat: Firmware versions 5.9.8 and earlierTrane Technologies Pivot Thermostat: Firmware versions 1.8 and earlier | 工控系统漏洞 | 中危 | https://nvd.nist.gov/vuln/detail/CVE-2023-4212